REEF RESCUE

Marine Monitoring

Program

Quality Assurance

and Quality Control 
Manual

2013-14

2013-14

2013-14

REEF RESCUE Marine Monitoring Program Quality Assurance and Quality Control Manual

2013-14

© Commonwealth of Australia 2014

Published by the Great Barrier Reef Marine Park Authority

ISSN  2200 4084

ISBN  978 1 922126 53 5 (ebook; pdf)

This work is copyright. Apart from any use as permitted under the Copyright Act 1968,  
no part may be reproduced by any process without the prior written permission of the  
Great Barrier Reef Marine Park Authority.

National Library of Australia Cataloguing-in-Publication entry

Reef rescue marine monitoring program quality assurance and quality control manual. 2013/14 
[electronic resource] / Great Barrier Reef Marine Park Authority.

ISBN  978 1 922126 53 5 (ebook; pdf)

Environmental monitoring--Queensland--Great Barrier Reef

Great Barrier Reef (Qld.)--Environmental aspects.

Great Barrier Reef Marine Park (Qld.)--Management.

Great Barrier Reef Marine Park Authority.

577.78909943

The Great Barrier Reef Marine Park Authority gratefully acknowledges the contributions of the MMP providers and their institutions to the Marine Monitoring Program Quality Assurance and Quality Control Manual.

Cover photographs courtesy of: far left, James Cook University (credited to NASA), top AIMS, 2nd down Queensland 
Government 3rd down AIMS, bottom CSIRO, background ENTOX (UQ).

This publication should be cited as:

Great Barrier Reef Marine Park Authority 2014, Reef rescue marine monitoring program quality assurance and quality control manual. 2013/14, GBRMPA, Townsville.

Requests and inquiries concerning reproduction and rights should be addressed to:

Director, Communication and Parliamentary

2-68 Flinders Street 	
PO Box 1379 	
TOWNSVILLE QLD 4810 	
Australia 	
Phone: (07) 4750 0700 	
Fax: (07) 4772 6093 	
info@gbrmpa.gov.au

Comments and inquiries on this document are welcome and should be addressed to:

Director, Reef 2050

info@gbrmpa.gov.au

www.gbrmpa.gov.au

Table of Contents

1	Introduction	9

1.1	Threats to the Great Barrier Reef from poor water quality	9

1.2	Halting and reversing the decline in water quality	9

1.3	The Reef Rescue Marine Monitoring Program	10

1.3.1	Inshore Marine Water Quality Monitoring	12

1.3.2	Pesticide monitoring	12

1.3.3	Remote sensing of water quality	13

1.3.4	Marine flood plume monitoring	13

1.3.5	Inshore seagrass monitoring	14

1.3.6	Inshore coral monitoring	14

1.3.7	Synthesis of data and integration	15

1.4	Reef Rescue Marine Monitoring Program Quality Assurance and Quality Control Methods and Procedures	15

2	Inshore marine water quality monitoring	17

2.1	Introduction	17

2.2	Methods	18

2.2.1	Sampling locations	18

2.2.2	Sample collection, preparation and analysis	19

2.2.3	Autonomous environmental water quality loggers	21

2.3	Data management	22

2.4	Summary	23

3	Pesticide monitoring	24

3.1	Introduction	24

3.2	Methods	26

3.2.1	Sampling design - Passive sampling for routine monitoring	26

3.2.2	Sampling design - Passive sampling for flood monitoring	28

3.2.3	Target Pesticides in the different passive samplers	28

3.2.4	Passive Sampling Techniques	30

3.2.5	QA/QC procedures in the pesticide monitoring program	39

3.3	Data Management & Security	40

3.4	Summary	41

4	Remote sensing of water quality	42

4.1	Introduction	42

4.2	Methods	42

4.2.1	Acquisition and processing of satellite data	42

4.2.2	Field sampling	43

4.2.3	Determination of Spectroradiometric Properties to Apparent Optical Properties (AOP)	43

4.2.4	Measurement of Spectral Inherent Optical Properties (IOP) in situ	43

4.2.5	Discrete optical and biogeochemical measurements	44

4.2.6	Laboratory analysis	44

4.2.7	Data processing	45

4.3	Data Management	46

4.4	Summary of Quality Control measures	47

5	Flood plume water quality monitoring	48

5.1	Introduction	48

5.2	Methods	49

5.2.1	Field sampling design	49

5.2.2	Field protocols	50

5.2.3	Water quality sampling techniques	51

5.2.4	Water quality analysis/processing techniques	54

5.3	Methods for remotely sensed data acquisition	57

5.4	Remotely sensed plume water types, extent and duration	58

5.4.1	Satellite data: downloading and processing	58

5.5	Data management	59

5.6	Summary of Quality Control measures	60

6	Inshore coral reef monitoring	1

6.1	Introduction	1

6.2	Methods	2

6.2.1	Sampling design	2

6.2.2	Site selection	3

6.2.3	Depth selection	3

6.2.4	Field survey methods	3

6.2.5	Observer training	8

6.2.6	Foraminiferal abundance and community composition from sediment samples	9

6.2.7	Sediment quality	9

6.2.8	Temperature monitoring	10

6.3	Data management	10

6.4	Summary	11

7	Intertidal seagrass monitoring	12

7.1	Introduction	12

7.2	Methods	12

7.2.1	Sampling design	12

7.2.2	Field survey methods - Intershore seagrass meadow abundance, community structure and reproductive health	13

7.2.3	Observer training	15

7.2.4	Laboratory analysis - Inshore seagrass meadow abundance, community structure and reproductive health	18

7.2.5	Sampling design - Inshore seagrass meadow boundary mapping	20

7.2.6	Sampling design - Within seagrass canopy temperature loggers	21

7.2.7	Sampling design and logistics - Seagrass meadow canopy light loggers	22

7.2.8	Calibration procedures - Seagrass meadow canopy light loggers	24

7.2.9	Sampling design and logistics - Turbidity loggers	25

7.3	Data management	25

7.3.1	Inshore seagrass meadow abundance, community structure and reproductive health	25

7.3.2	Inshore seagrass meadow boundary mapping	26

7.3.3	Within seagrass canopy temperature loggers	26

7.3.4	Seagrass meadow canopy light loggers	26

7.4	Summary of Quality Control measures	27

7.4.1	Inshore seagrass meadow abundance, community structure and reproductive health	27

7.4.2	Inshore seagrass meadow boundary mapping	27

7.4.3	Within seagrass canopy temperature loggers	27

7.4.4	Seagrass meadow canopy light loggers	27

8	References	28

List of Figures

Figure 2.1. Sampling locations under the MMP inshore marine water quality task.	19

Figure 3.1. Locations of current inshore GBR routine monitoring sites where time-integrated sampling of pesticides occurred in 2013-2014	26

Figure 3.2. An Empore disk (ED) being loaded into the Teflon Chemcatcher housing (LHS) and an assembled housing ready for deployment (RHS).	31

Figure 3.3. Passive flow monitors (PFMs) prior to deployment (LHS) and post-deployment (RHS)	32

Figure 3.4. The relationship between flow and the sampling rates of specific herbicides indicating a shift from aqueous boundary layer control to diffusion limiting membrane control under higher flow conditions	32

Figure 3.5. PDMS passive samplers loaded onto stainless steel sampler supports which sits within the deployment cage and is sealed in place with wing nuts	34

Figure 3.6.  Relationship between logKOW and logKSW for pesticides in the PDMS-water system in an unpublished calibration study in collaboration with DERM, 2010.	36

Figure 3.7. PDMS and SPMD sampling rates (Rs) as a function of water velocity rPFM	37

Figure 3.8. A schematic for the deployment of passive samplers (Empore disc in Chemcatcher housings, and SPMD/PDMS cages) together with the passive flow monitors for in-situ calibration of flow effects, in the field.	39

Figure 5.1. Design of sampling program for high flow conditions. Further details can be found in Devlin and Brodie 200583	49

Figure 5.2 The evolution of remote sensed imagery in the mapping and monitoring of plume waters in the Great Barrier Reef.	57

Figure 6.1. Sampling design for coral reef benthic community monitoring. Terms within brackets are nested within the term appearing above.	2

Figure 6.2. Sampling locations under the MMP coral monitoring task.	5

Figure 7.1. Inshore seagrass monitoring sites for the Reef Rescue Marine Monitoring Program	13

Figure 7.2. Form and size of reproductive structure of the seagrasses collected: Halophila ovalis, Halodule uninervis and Zostera muelleri subsp. capricorni	18

List of Tables

Table 1.1. MMP current monitoring themes, objectives, sub-programs and monitoring providers. Note that a project may contribute to more than one sub-program.	11

Table 2.1. Locations selected for inshore water quality monitoring (water sampling during 3 research cruises per year and continuous deployment of autonomous water quality instruments).	19

Table 3.1. Types of passive sampling which was conducted at each of the routine monitoring sites in 2013-2014 during either the dry (May – October) or wet (November – April) periods	28

Table 3.2. Per cent CV comparing analysis of PSII herbicides by Entox and Queensland Health.	30

Table 3.3. Pesticides specified under the MMP for analysis in different passive sampler extracts and the Limits of Reporting (LOR) for these analytes	30

Table 3.4. Results of PRC uploading procedure in PDMS samplers (n=6)	36

Table 5.1. Summary of the field sampling protocols with identification of post-sampling procedures needed, laboratory containers required, and storage technique.	54

Table 5.2. Analysis technique associated with each water quality parameter in the TropWATER laboratory.	57

Table 6.1. Sites selected for inshore reef monitoring. Sites in bold are core reefs; those in standard font are cycle reefs.	6

Table 6.2. Distribution of sampling effort	6

Table 6.3. Observer training methods and quality measures	8

Table 7.1. Reef Rescue MMP inshore seagrass long-term monitoring sites.	16

Table 7.2. Monitoring sites selected for light logger data collection in the Reef Rescue Marine Monitoring Program	23

List of Appendices

I: 	Great Barrier Reef Report Card – Description of indicators and metric calculation process

A:	Detailed AIMS Manuals and Standard Operational Procedures

B1:	ACTFR Water Sampling Procedures

B2:	ACTFR Water Sampling Field Sheet - Example

B3:	Metadata for flood plume data entered into ACTFR flood database

B4:	ACTFR Water Sampling Input Sheet

B5:	ACTFR Auto-analysis methods – Nitrogen – Ammonia

B6:	ACTFR Auto-analysis methods – Phosphorus

B7:	ACTFR Auto-analysis methods – Nitrogen – Nitrate and Nitrite

B8:	ACTFR Auto-analysis methods – Nitrogen – Total Alkaline Persulfate

B9:	ACTFR Auto-analysis methods – Phosphorus – Total Alkaline Persulfate

B10:	ACTFR Auto-analysis methods – Chlorophyll

B11:	ACTFR Auto-analysis methods – Total Suspended Solids

B12:	NASA Ocean Optics Protocols for Satellite Ocean Color Sensor Validation, Revision 4, Volume IV:  Inherent Optical Properties:  Instruments, Characterizations, Field Measurements and Data Analysis Protocols

C1:	NASA QA/QC procedures for MODIS products

C2:	Brando, V. E. and Dekker, A. G., Satellite hyperspectral remote sensing for estimating estuary and coastal water quality

C3:	Wettle, M., Brando, V. E. and Dekker, A. G. (2004) A methodology for retrieval of environmental noise equivalent spectra applied to four Hyperion scenes of the same tropical coral reef. Remote Sensing of Environment 93: 188-197

C4:	Cook book for RAMSES

C5:	Dekker et al. Chapter 11: Imaging Spectrometry of Water

C6:	Protocols for the validation of MERIS water products

D1:	Seagrass-Watch monitoring methods

D2:	Sediment herbicide sampling protocol

D3:	Summary of precision criteria for environmental nutrient parameters

D4:	Seagrass-Watch example data error report

These appendices are available from the Great Barrier Reef Marine Park Authority on request.

List of Acronyms

AIMS	Australian Institute of Marine Science

agency	Great Barrier Reef Marine Park Authority

ANZECC	Australian and New Zealand Environment and Conservation Council

AOP	Apparent Optical Properties

ARMCANZ	Agriculture and Resource Management Council of Australia and New Zealand

CDOM	Coloured dissolved organic matter

CRC	Cooperative Research Centre

CSIRO	Commonwealth Scientific and Industrial Research Organisation

CTD	Conductivity Temperature Depth profiler

DEEDI	Department of Employment, Economic Development and Innovation

DON	Dissolved Organic Nitrogen

DOP	Dissolved Organic Phosphorus

QF	Queensland Fisheries

ED	Empore Disk

Entox	National Research Centre for Environmental Toxicology, 
The University of Queensland

GBROOS	Great Barrier Reef Ocean Observing System

GBRWHA	Great Barrier Reef World Heritage Area

GC	Gas Chromatography

GPC	Gel Permeation Chromatography

HCl	Hydrochloric acid

HPLC	High Performance Liquid Chromatography

IOP	Inherent Optical Properties

JCU	James Cook University

LCMS	Liquid Chromatography-Mass Spectrography

MMP	Reef Rescue Marine Monitoring Program

MODIS	Moderate-resolution Imaging Spectroradiometer

MS	Mass Spectroscopy

MTSRF	Marine and Tropical Sciences Research Facility

NASA	National Aeronautics and Space Administration

NATA	National Association of Testing Authorities

NH4	Ammonia

NO2	Nitrogen dioxide

NO3	Nitrate

NRM	Natural Resource Management

PAH	Polyaromatic Hydrocarbons

PDMS	Polydimethylsiloxane

PN	Particulate Nitrogen

PO4	Phosphate

PP	Particulate Phosphorus

PRC	Performance Reference Compounds

QA	Quality Assurance

QC	Quality Control

QHFSS	Queensland Health Forensic & Scientific Service

QSIA	Queensland Seafood Industry Association

RRRC	Reef & Rainforest Research Centre Ltd

Si(OH)4	Silicate

SIOP	Spectral Inherent Optical Properties

SOPs	Standard Operating Procedures

SPMD	Semipermeable Membrane Devices

TDN	Total Dissolved Nitrogen

TDP	Total Dissolved Phosphorus

TSS	Total Suspended Solids

UQ	The University of Queensland

VPIT	Video Point Interception Method

# Introduction

Katherine Martin

Great Barrier Reef Marine Park Authority

## Threats to the Great Barrier Reef from poor water quality

The Great Barrier Reef is renowned internationally for its ecological importance and beauty. It is the largest and best known coral reef ecosystem in the world, extending over 2,300 kilometres along the Queensland coast and covering an area of 350,000 km2. It includes over 2,900 coral reefs, as well as extensive seagrass meadows, mangrove forests and diverse seafloor habitats. It is a World Heritage Area and protected within the Great Barrier Reef Marine Park in recognition of its diverse, unique and outstanding universal value. The Great Barrier Reef is also critical for the prosperity of Australia, contributing about $5.4 billion annually to the Australian economy.1

The Great Barrier Reef receives runoff from 35 major catchments, which drain 424,000 km2 of coastal Queensland. The Great Barrier Reef catchment is relatively sparsely populated; however, there have been extensive changes in land-use since European settlement, driven by increased urban, agricultural and industrial development particularly in areas adjacent to the coast.2,3 Unfortunately, the combination of expanding catchment development and modification of land-use has resulted in a significant decline in the quality of water flowing into the Reef lagoon over the past 150 years.4,5,6,7

Flood events in the wet season deliver low salinity waters and loads of nutrients, sediments and pesticides from the adjacent catchments into the Great Barrier Reef lagoon that are well above natural levels and many times higher than in non-flood waters.8,9

Numerous studies have shown that nutrient enrichment, turbidity, sedimentation and pesticides all affect the resilience of the Great Barrier Reef ecosystem, degrading coral reefs and seagrass beds at local and regional scales.8,10,11 Pollutants may also interact to have a combined negative effect on reef resilience that is greater than the effect of each pollutant in isolation.10,12 For example, differences in tolerance to nutrient enrichment and sedimentation between species of adult coral can lead to changes in community composition.11,13

Generally, reef ecosystems decline in species richness and diversity with water quality from outer reefs distant from terrestrial inputs to near-shore coastal reefs more frequently exposed to flood waters.13,14  The area at highest risk from degraded water quality is the inshore area, which makes up approximately 8 per cent of the Great Barrier Reef Marine Park and is generally within 20 kilometres of the shore. The inshore area supports significant ecological communities and is also the area of the Great Barrier Reef most utilised by recreational visitors and commercial tourism operations and commercial fisheries.

## Halting and reversing the decline in water quality

Substantial investment is being undertaken to halt and reverse the decline of water quality entering the Great Barrier Reef lagoon under the joint Australian and Queensland Government Reef Water Quality Protection Plan (Reef Plan; http://www.reefplan.qld.gov.au/index.aspx). Reef Plan was released in 2003 and updated in 2009 with the addition of the Australian Government's Caring for Our Country Reef Rescue initiative (http://www.nrm.gov.au/funding/reef-rescue/index.html). The Reef Rescue initiative is a $200 million dollar, five-year commitment by the Australian Government to tackle climate change and improve water quality in the Great Barrier Reef.

The focus of Reef Plan is on identifying and implementing solutions to improve water through sustainable natural resource management, with the goal to ‘halt and reverse the decline in water quality entering the Great Barrier Reef within ten years' (by 2013).

The update of Reef Plan in 2009 added the long-term goal "to ensure that by 2020 the quality of water entering the Great Barrier Reef from adjacent catchments has no detrimental impact on the health and resilience of the Great Barrier Reef", with specific targets for reduction in end of catchment pollutant loads. Progress towards Reef Plan goals and targets is assessed through an annual Report Card http://www.reefplan.qld.gov.au/measuring-success/report-cards.aspx, which is produced through the Paddock to Reef Integrated Monitoring, Modelling and Reporting Program. The Reef Plan Report Card is a collaborative effort involving governments, industry, regional natural resource management bodies and research organizations.

As part of the Reef Rescue initiative, $22 million is allocated to a Water Quality Monitoring and Reporting Program to expand existing monitoring and reporting of water quality in the Great Barrier Reef.

The Reef Rescue Marine Monitoring Program (MMP) receives $2 million per annum to monitor water quality and ecological health in inshore areas of the Great Barrier Reef Marine Park. The funding for the MMP is delivered to the Great Barrier Reef Marine Park Authority (agency) through a Memorandum of Understanding with the Department of Sustainability, Environment, Water, Population and Communities. The MMP was established in 2005 to:

- Monitor the condition of water quality in the coastal and mid-shelf (inshore) waters of the Reef lagoon.

- Monitor the long-term health of key marine ecosystems (inshore coral reefs and seagrasses).

The MMP is a key component in the assessment of long-term improvements in inshore water quality and marine ecosystem health that are expected to occur with the adoption of improved land management practices in the Great Barrier Reef catchments under Reef Plan and Reef Rescue.

## The Reef Rescue Marine Monitoring Program

The MMP is a collaborative effort that relies on effective partnerships between governments, industry, community, scientists and managers. A conceptual model15 was used to identify appropriate indicators linking water quality and ecosystem health and these indicators were further refined in consultation with monitoring providers and independent experts. The GBRMPA is responsible for the management of the MMP in partnership with four monitoring providers:

- Australian Institute of Marine Science (AIMS).

- University of Queensland (UQ).

- James Cook University (JCU).

- Commonwealth Scientific and Industrial Research Organisation (CSIRO).

The five monitoring providers work together to deliver the four sub-programs of the MMP, the broad objectives of which are:

Inshore Marine Water Quality Monitoring: To assess temporal and spatial trends in marine water quality in inshore areas of the Reef lagoon.

Inshore Seagrass Monitoring: To quantify temporal and spatial variation in the status of intertidal and subtidal seagrass meadows in relation to local water quality changes.

Inshore Coral Reef Monitoring: To quantify temporal and spatial variation in the status of inshore coral reef communities in relation to local water quality changes.

Assessment of Terrestrial Run-off Entering the Reef: To assess trends in the delivery of pollutants to the Great Barrier Reef lagoon during flood events and to quantify the exposure of Great Barrier Reef ecosystems to these pollutants.

Each monitoring provider has a different responsibility in the delivery of the sub-programs that make up the four monitoring theme of the MMP (Table 1.1.). This manual details the Quality Assurance/Quality Control (QA/QC) methods and procedures for the sub-programs projects of the MMP.

Water quality parameters are assessed against the Water Quality Guidelines for the Great Barrier Reef Marine Park16 that were established under and consistent with the Australian and New Zealand Guidelines for Fresh and Marine Water Quality and the Australian National Water Quality Management Strategy.17,18

Table 1.1. MMP current monitoring themes, objectives, sub-programs and monitoring providers. Note that a project may contribute to more than one sub-program.

| Monitoring theme | Monitoring objective | Sub-program | Provider |
| --- | --- | --- | --- |
| Terrestrial run-off entering the World Heritage Area (or Great Barrier Reef lagoon) | To assess trends in the delivery of pollutants to the Great Barrier Reef lagoon during flood events and to quantify the exposure of reef ecosystems to these pollutants | Marine flood plume monitoring | JCU |
|  |  | Pesticide monitoring | UQ |
| Inshore Marine Water Quality | To assess temporal and spatial trends in marine water quality in inshore areas of the Great Barrier Reef lagoon | in situ marine water quality monitoring | AIMS |
|  |  | Pesticide monitoring | UQ |
|  |  | Remote sensing of water quality | CSIRO* |
| Inshore seagrass monitoring | To quantify temporal and spatial variation in the status of inshore seagrass meadows in relation to local water quality changes | Inshore seagrass monitoring | JCU |
| Inshore coral monitoring | To quantify temporal and spatial variation in the status of inshore coral reef communities in relation to local water quality changes | Inshore coral monitoring | AIMS |

*Note that in 2013 the CSIRO provided the Bureau of Meteorology (the Bureau) with their remote sensing algorithm through the e-Reefs initiative. Operational production of remotely sensed water quality is now provided by the Bureau through the Marine Water Quality Dashboard.

The reporting framework of the MMP was revised in 2010 to integrate with the Reef Plan Paddock-to-Reef Integrated Monitoring, Modelling and Reporting Program. This Program was set up to address Reef Plan goals and evaluate the long-term effectiveness of Reef Plan in reversing the decline in the quality of water entering the Reef from adjacent catchments. The data from the MMP is combined with monitoring data collected at the paddock and catchment scales to produce an annual report card summary of the health of the Great Barrier Reef and its catchments.

### Inshore Marine Water Quality Monitoring

Long-term in situ monitoring of spatial and temporal trends in the inshore water quality of the Great Barrier Reef lagoon is essential to assess improvements in regional water quality that will occur as a result of reductions in pollutant loads from adjacent catchments.

Monitoring includes assessment of dissolved and particulate nutrients and carbon, suspended solids, chlorophyll a, salinity, turbidity and temperature. Techniques used to monitor water quality include automated high-frequency data loggers and the collection of water samples from research vessels for standard laboratory analysis. Key points include:

- Monitoring of site-specific water quality by data loggers and direct water sampling is primarily conducted at the 14 inshore coral monitoring sites, two to three times per year, to allow for correlation with the Great Barrier Reef ecosystem condition.

- Six open water sites off Cairns are also monitored to extend an existing long-term data series initiated in 1989 by the AIMS.

Water quality parameters are assessed against the Water Quality Guidelines for the Great Barrier Reef Marine Park.16

### Pesticide monitoring

The off-site transport of pesticides from land-based applications has been considered a potential risk to the Great Barrier Reef. Of particular concern is the potential for compounding effects that these chemicals have on the health of the inshore reef ecosystem, especially when delivered with other water quality pollutants during flood events (this project is also linked to flood plume monitoring and the collection of water samples directly from research vessels, section 1.3.4).

Passive samplers are used to measure the concentration of pesticides in the water column integrated over time, by accumulating chemicals via passive diffusion.19,20 Monitoring of specific pesticides during flood events and throughout the year is essential to evaluate long-term trends in pesticide concentrations along inshore waters of the Great Barrier Reef. Key points include:

- Pesticide concentrations are measured with passive samplers at 12 sites (some of which were newly established in 2009/10) at monthly intervals in the wet season and bi-monthly intervals in the dry season.

Pesticide concentrations are assessed against the Water Quality Guidelines for the Great Barrier Reef Marine Park 16 and reported as categories of sub-lethal stress defined by the published literature and taking into account mixtures of herbicides that affect photosynthesis.

- The continual refinement of techniques that allow a more sensitive, time-integrated and relevant approach for monitoring pollutant concentrations in the lagoon and assessment of potential effects that these pollutants may have on key biota.

### Remote sensing of water quality

Remote sensing provides estimates of spatial and temporal changes in near surface concentrations of suspended solids (as non-algal particulate matter), turbidity (as the vertical attenuation of light coefficient, Kd), chlorophyll a (Chl) and coloured dissolved organic matter (CDOM) for the Great Barrier Reef. This is achieved through acquisition, processing with regionally valid algorithms, validation and transmission of geo-corrected ocean colour imagery and data sets derived from Moderate-resolution Imaging Spectroradiometer (MODIS) imagery.

Monitoring of water quality using remote sensing is essential for generating water quality information across the whole Great Barrier Reef. Key points include:

Water quality parameters are assessed against the Water Quality Guidelines for the Great Barrier Reef Marine Park.16

- The development of new analytical tools for detecting trends, specifically wet season to dry season variability, river plume composition and extent and algal blooms, based on the characteristics of optical satellite remote sensing data.

- The application of improved algorithms for water quality and atmospheric correction for the waters of the Great Barrier Reef.

### Marine flood plume monitoring

Riverine flood plumes are of significant ecological importance to the Great Barrier Reef as river runoff is the principal carrier of eroded soil (sediment), nutrients and contaminants from the land into the coastal and inshore lagoon waters. Indeed, the majority of the annual pollutant load is delivered to the Great Barrier Reef in the wet season.

Assessing trends in the concentration and delivery of pollutants to the Reef lagoon by flood waters is essential to quantify the exposure of inshore ecosystems to these pollutants.

Monitoring of water quality during flood events and throughout the wet season includes measurements of salinity, concentrations of nutrients, chlorophyll, suspended solids (water turbidity) and pesticides from water samples collected directly from research vessels. The movement of flood plumes across inshore waters of the Great Barrier Reef is assessed using images from aerial flyovers and remote sensing. Key points include:

- Monitoring is carried out in marine waters adjacent to targeted catchments along a north-east transect away from the river mouth, in the wet and dry tropics depending on flood conditions.

- Remote sensing of water quality utilises satellite images acquired on a daily basis across the Great Barrier Reef, except on overcast days.

Water quality parameters are assessed against the Water Quality Guidelines for the Great Barrier Reef Marine Park.16

### Inshore seagrass monitoring

Seagrasses are an important component of the marine ecosystem of the Great Barrier Reef. They form highly productive habitats that provide nursery grounds for many marine and estuarine species, including commercially important fish and prawns. Monitoring temporal and spatial variation in the status of inshore seagrass meadows in relation to changes in local water quality is essential in evaluating long-term ecosystem health. The seagrass monitoring project is closely linked to the Seagrass-Watch monitoring program (http://www.seagrasswatch.org/home.html).

Monitoring includes seagrass cover (%) and species composition, macroalgal cover, epiphyte cover, canopy height, mapping of the meadow edge and assessment of seagrass reproductive effort, which provide an indication of the capacity for meadows to regenerate following disturbances and changed environmental conditions. Tissue nutrient composition is assessed in the laboratory as an indicator of potential nutrient enrichment. Key points include:

- Monitoring occurs at 45 sites across 21 locations, including 13 nearshore (coastal and estuarine) and eight offshore reef locations. Three transects are monitored per site in both the late dry and late monsoon seasons; additional sampling is conducted at more accessible locations in the dry and monsoon.

- Monitoring includes in situ within canopy temperature and light levels.

### Inshore coral monitoring

Reefs in inshore areas of the Great Barrier Reef are areas frequently exposed to runoff.21 Monitoring temporal and spatial variation in the status of inshore coral reef communities in relation to changes in local water quality is essential in evaluating long-term ecosystem health.

Monitoring covers a comprehensive set of community attributes including the assessment of hard and soft coral cover, macroalgae cover, the density of juvenile hard coral colonies, richness of hard coral genera, coral settlement and the rate of change in coral cover as an indication of the recovery potential of the reef following a disturbance.22 Comprehensive water quality measurements are also collected at many of the coral reef sites (this project is linked to inshore water quality monitoring, section 1.3.1). Key points include:

- Monitoring of 32 inshore coral reefs in the Wet Tropics, Burdekin, Mackay Whitsunday and Fitzroy regions along gradients of exposure to runoff from regionally important rivers. At each reef, two sites are monitored at two depths (2m and 5m) across five replicate transects. Reefs are designated as either ‘core’ or ‘cycle’ reefs. The 15 core reefs are surveyed annually and the 17 cycle reefs are surveyed every second year.

- In addition to the monitoring of benthic community attributes, monitoring includes sea temperature, sediment quality and assemblage composition of benthic foraminifera as indicators of environmental conditions at inshore reefs.

### Synthesis of data and integration

The reporting framework of the MMP was revised in 2010 to integrate with the Reef Plan Paddock-to-Reef Integrated Monitoring, Modelling and Reporting Program. This Program was set up to address Reef Plan goals and evaluate the long-term effectiveness of Reef Plan in reversing the decline in the quality of water entering the Great Barrier Reef from adjacent catchments. The data from the MMP is combined with monitoring data collected at the paddock and catchment scales to produce the Reef Plan Annual Report Card summary of the health of the Great Barrier Reef and its catchments.

A comprehensive list of water quality and ecosystem health indicators are measured under the MMP (sections 1.3.1 to 1.3.6) and a sub-set of these were selected to calculate Water quality, Seagrass and Coral scores for the Report Card, based on expert opinion. These scores are expressed on a five point scale using a common colour scheme and integrated into an overall score that describes the status of the Great Barrier Reef and each region, where:

- 0-20 per cent is assessed as ‘very poor’ and coloured red.

- >20-40 per cent equates to ‘poor’ and coloured orange.

- >40-60 per cent equates to ‘moderate’ and coloured yellow.

- >60-80 per cent equates to ‘good’, and coloured light green.

- >80 per cent is assessed as ‘very good’ and coloured dark green.

An overview of the methods used to calculate the Great Barrier Reef wide and regional scores is given in Appendix A. More detailed information on the scores, including site-specific assessment of water quality and pesticides, is available from the annual science reports on the GBRMPA website: http://www.gbrmpa.gov.au/resources-and-publications/publications/scientific-and-technical-reports

## Reef Rescue Marine Monitoring Program Quality Assurance and Quality Control Methods and Procedures

Appropriate QA/QC procedures are an integral component of all aspects of sample collection and analysis. The QA/QC procedures have been approved by an expert panel convened by the GBRMPA.

The GBRMPA set the following guidelines for implementation by MMP Program Leaders:

- Appropriate methods must be in place to ensure consistency in field procedures to produce robust, repeatable and comparable results, including consideration of sampling locations, replication and frequency.

- All methods used must be fit for purpose and suited to a range of conditions.

- Appropriate accreditation of participating laboratories or provision of standard laboratory protocols to demonstrate that appropriate laboratory QA/QC procedures are in place for sample handling and analysis.

- Participation in inter-laboratory performance testing trials and regular exchange of replicate samples between laboratories.

- Rigorous procedures to ensure ‘chain of custody’ and tracking of samples.

- Appropriate standards and procedures for data management and storage.

In addition to the QA/QC procedures outlined above, the MMP employs a proactive approach to monitoring through the continual development of new methods and the refinement of existing methods, such as the:

- Operation and validation of autonomous environmental loggers.

- Validation of algorithms used for the remote sensing of water quality.

- Improvement of passive sampling techniques for pesticides.

- Introduction of additional monitoring sub-programs to evaluate the condition of inshore reefs, specifically coral recruitment.

The monitoring providers for the MMP have a long-standing culture of QA/QC in their monitoring activities. Common elements across the providers include:

- Ongoing training of staff (and other sampling providers) in relevant procedures.

- Standard Operating Procedures (SOPs), both for field sampling and analytical procedures.

- Use of standard methods (or development of modifications).

- Publishing of methods and results in peer-reviewed publications

- Maintenance of equipment.

- Calibration procedures including participation regular inter-laboratory comparisons.

- Established sample custody procedures.

- QC checks for individual sampling regimes and analytical protocols.

- Procedures for data entry, storage, validation and reporting.

This manual and its appendices detail the QA/QC methods and procedures for the sub-programs projects that feed into the four monitoring themes of the MMP (Table 1), including a description of the process for calculating Reef Plan Report Card scores.

The manual summarises the monitoring methods and procedures for each project. Detailed sampling manuals, standard operating procedures, analytical procedures and other details are provided as appendices. The full list of appendices is on page 6 and these are grouped by monitoring provider (Appendices A-D).

# Inshore marine water quality monitoring

Britta Schaffelke, Miles Furnas, Michele Skuza, Irena Zagorskis

Australian Institute of Marine Science

## Introduction

The biological productivity of the Great Barrier Reef is supported by nutrients (e.g. nitrogen, phosphorus, silicate, iron), which are supplied by a number of processes and sources.6   These include upwelling of nutrient-enriched subsurface water from the Coral Sea, rainwater, fixation of gaseous nitrogen by cyanobacteria and freshwater runoff from the adjacent catchment. Land runoff is the largest source of new nutrients to the Great Barrier Reef.6  However, most of the inorganic nutrients used by marine plants and bacteria on a day-to-day basis come from recycling of nutrients already within the Great Barrier Reef ecosystem.23

Extensive water sampling throughout the Great Barrier Reef over the last 25 years has established the typical concentration range of nutrients, chlorophyll a and other water quality parameters and the occurrence of persistent latitudinal, cross-shelf and seasonal variations in these concentrations (summarised in Furnas, M. 200524 and De’ath and Fabricius 200825). While concentrations of most nutrients, suspended particles and chlorophyll a are normally low, water quality conditions can change abruptly and nutrient levels increase dramatically for short periods following disturbance events (e.g. wind-driven re-suspension, cyclonic mixing, and river flood plumes). Nutrients introduced, released or mineralised into Great Barrier Reef lagoon waters during these events are generally rapidly taken up by pelagic and benthic algae and microbial communities26, sometimes fuelling short-lived phytoplankton blooms and high levels of organic production.23

The longest and most detailed time series of a suite of water quality parameters has been measured by the AIMS at 11 coastal stations in the Great Barrier Reef lagoon between Cape Tribulation and Cairns since 1989; and has been continued under the MMP. Concentrations of nutrients and suspended solids show significant long-term patterns, generally decreasing since the early 2000s.27 This trend is not seen in chlorophyll a data. The understanding of the causes of the observed fluctuations is incomplete.

Regional-scale monitoring of surface chlorophyll a concentrations in Great Barrier Reef waters since 1992 shows consistent regional (latitudinal), cross-shelf and seasonal patterns in phytoplankton biomass, which is regarded as a proxy for nutrient availability.28 In the mid and southern Great Barrier Reef, higher chlorophyll a concentrations are usually found in shallow waters (within 20 metres depth) close to the coast (less than 25 km offshore). Overall, however, no long-term net trends in chlorophyll a concentrations were found (CRC Consortium 2006). 28

This project has the following key objectives:

- To describe spatial patterns and temporal trends in marine water quality (suspended sediments and nutrients) in high risk (inshore) areas of the Great Barrier Reef lagoon.

- To determine local water quality by autonomous instruments for high-frequency measurements at selected inshore reef sites where coral monitoring is carried out.

## Methods

This chapter provides an overview of the sample collection, preparation and analyses methods. Most individual methods have a reference to a section at the end of the report with a detailed standard operational procedure document for comprehensive information.

### Sampling locations

The 14 fixed sampling locations at inshore coral reefs (Table 2.1., Figure 2.1.) are congruent with the 14 ‘core’ sites of the inshore coral reef monitoring (see Chapter 6). At these sites, detailed manual and instrumental water sampling is undertaken (see Table 2.1). Manual water sampling is also conducted at six open water stations along the ‘AIMS Cairns Coastal Transect’ (Table 2.1., Figure 2.1.).

Table 2.1. Locations selected for inshore water quality monitoring (water sampling during 3 research cruises per year and continuous deployment of autonomous water quality instruments).

The six locations of the ‘AIMS Cairns Transect’ (open water sampling) are in italics. Shaded cells indicate locations in the mid-shelf water body, as designated by the Water Quality Guidelines for the Great Barrier Reef Marine Park16 ; all other locations are in the “open coastal” water body

| NRM Region | Primary Catchment | Water quality monitoring locations |
| --- | --- | --- |
| Wet Tropics | Daintree, Barron | Cape Tribulation |
|  |  | Snapper Island North |
|  |  | Port Douglas |
|  |  | Double Island |
|  |  | Yorkey’s Knob |
|  |  | Fairlead Buoy |
|  |  | Green Island |
|  | Russell-Mulgrave, Johnstone | Fitzroy Island West |
|  |  | High Island West |
|  |  | Frankland Group West (Russell Island) |
|  | Tully | Dunk Island North |
| Burdekin | Herbert, Burdekin | Pelorus & Orpheus Is West |
|  | Burdekin | Pandora Reef |
|  |  | Geoffrey Bay |
| Mackay Whitsunday | Proserpine | Double Cone Island |
|  |  | Daydream Island |
|  |  | Pine Island |
| Fitzroy | Fitzroy | Barren Island |
|  |  | Pelican Island |
|  |  | Humpy & Halfway Island |

Figure 2.1. Sampling locations under the MMP inshore marine water quality task.

Red symbols indicate the 14 locations where autonomous water quality instruments (temperature, chlorophyll and turbidity) were deployed and regular water sampling was undertaken; these locations are also “Core reef locations” under the inshore coral reef monitoring task (see Chapter 6). Yellow symbols are the locations of the “AIMS Cairns Coastal Transect”, which have been sampled by AIMS since 1989. NRM region boundaries are represented by coloured catchment areas and the black line for marine boundaries.

### Sample collection, preparation and analysis

At each location, vertical profiles of water temperature and salinity were measured with a Conductivity Temperature Depth profiler (CTD) (Seabird SBE25 or SBE19). The CTD was fitted with an in situ fluorometer for chlorophyll a (WET Labs) and a beam transmissometer (Sea Tech, 25 cm, 660 nm) for turbidity (Appendix A1).

Immediately following the CTD cast, discrete water samples were collected from two to three depths through the water column with Niskin bottles. Sub-samples taken from the Niskin bottles were analysed for dissolved nutrients and carbon (NH4, NO2, NO3, PO4, Si(OH)4), DON, DOP, DOC), particulate nutrients and carbon (PN, PP, POC), suspended solids (SS) and chlorophyll a. Subsamples were also taken for laboratory salinity measurements using a Portasal Model 8410A Salinometer (Appendix A2). Temperatures were measured with reversing thermometers from at least two depths.

In addition to the ship-based sampling, water samples were collected by diver-operated Niskin bottle sampling both, (a) close to the autonomous water quality instruments (see below) and (b) within the adjacent reef boundary layer. These samples were otherwise processed in the same way as the ship-based samples.

The sub-samples for dissolved nutrients were immediately filtered through a 0.45 µm filter cartridge (Sartorius Mini Sart N) into acid-washed, screw-cap plastic test tubes and stored frozen (-18ºC) until later analysis ashore. Separate sub-samples for DOC analysis were acidified with 100 μl of AR-grade HCl and stored at 4ºC until analysis. Separate sub-samples for Si(OH)4 were filtered and stored at room temperature until analysis.

Inorganic dissolved nutrients (NH4, NO2, NO3, PO4, Si(OH)4) concentrations were determined by standard wet chemical methods29  implemented on a segmented flow analyser30 after return to the AIMS laboratories (Appendix A3). Analyses of total dissolved nutrients (TDN and TDP) were carried using persulphate digestion of water samples31 (Appendix A3), which are then analysed for inorganic nutrients, as above. DON and DOP were calculated by subtracting the separately measured inorganic nutrient concentrations (above) from the TDN and TDP values.

To avoid potential contamination during transport and storage, analysis of ammonium concentrations in triplicate subsamples per Niskin bottle were also immediately carried out onboard the vessel using a fluorometric method bases on the reaction of ortho-phthal-dialdehyde with ammonium.32 These samples were analysed on fresh unfiltered seawater samples using specially cleaned glassware, because the experience of AIMS researchers shows that the risk of contaminating ammonium samples by filtration, transport and storage is high. If available, the NH4 values measured at sea were used for the calculation of DIN (Appendix A4).

Dissolved organic carbon (DOC) concentrations were measured by high temperature combustion (680ºC) using a Shimadzu TOC-5000A carbon analyser. Prior to analysis, CO2 remaining in the sample water is removed by sparging with O2 carrier gas (Appendix A5).

The sub-samples for particulate nutrients and plant pigments were collected on pre-combusted glass fibre filters (Whatman GF/F). Filters were wrapped in pre-combusted aluminium foil envelopes and stored at -18ºC until analyses.

Particulate nitrogen (PN) is determined by high-temperature combustion of filtered particulate matter on glass fibre filters using an ANTEK 9000 NS Nitrogen Analyser (Appendix A6).33 The analyser is calibrated using AR Grade EDTA for the standard curve and marine sediment BCSS-1 as a control standard.

Particulate phosphorus (PP) is determined spectrophotometrically as inorganic P (PO4: Parsons et al. 198434) after digesting the particulate matter in 5% potassium persulphate (Appendix A7).33 The method is standardised using orthophosphoric acid and dissolved sugar phosphates as the primary standards.

The particulate organic carbon content of material collected on filters is determined by high temperature combustion (950ºC) using a Shimadzu TOC-V carbon analyser fitted with a SSM-5000A solid sample module (Appendix A8). Filters containing sampled material are placed in pre-combusted (950ºC) ceramic sample boats. Inorganic C on the filters (e.g. CaCO3) is removed by acidification of the sample with 2M hydrochloric acid. The filter is then introduced into the sample oven (950ºC), purged of atmospheric CO2 and the remaining organic carbon is then combusted in an oxygen stream and quantified by IRGA. The analyses are standardised using certified reference materials (e.g. MESS-1).

Chlorophyll a concentrations are measured fluorometrically using a Turner Designs 10AU fluorometer after grinding the filters in 90% acetone (Appendix 9).34 The fluorometer is calibrated against chlorophyll a extracts from log-phase diatom cultures (chlorophyll a and c). The extract chlorophyll concentrations are determined spectrophotometrically using the wavelengths and equation specified by Jeffrey and Humphrey (1975).

Sub-samples for suspended solids were collected on pre-weighed 0.4 µm polycarbonate filters. SS concentrations are determined gravimetrically from the difference in weight between loaded and unloaded 0.4 µm polycarbonate filters (47 mm diameter, GE Water & Process Technologies) after the filters had been dried overnight at 60oC (Appendix A10).

### Autonomous environmental water quality loggers

Instrumental water quality monitoring is undertaken using WETLabs Eco FLNTUSB Combination Fluorometer and Turbidity Sensors. The Eco FLNTUSB instruments perform simultaneous in situ measurements of chlorophyll fluorescence, turbidity and temperature (Appendix A11). The fluorometer monitors chlorophyll concentration by directly measuring the amount of chlorophyll a fluorescence emission, using blue LEDs (centred at 455 nm and modulated at 1 kHz) as the excitation source. The fluorometer measures fluorescence from a number of chlorophyll pigments and their degradation products which are collectively referred to as “chlorophyll”, in contrast to data from the direct water sampling which specifically measures “chlorophyll a”. Optical interference, and hence an overestimation of the true “chlorophyll” concentration, can occur if fluorescent compounds in dissolved organic matter are abundant35, for example in waters affected by flood plumes. In the following the instrument data are referred to as “chlorophyll”, in contrast to data from the direct water sampling which measures specifically “chlorophyll a”. A blue interference filter is used to reject the small amount of red light emitted by the LEDs. The blue light from the sources enters the water at an angle of approximately 55-60 degrees with respect to the end face of the unit. The red fluorescence emitted (683 nm) is detected by a silicon photodiode positioned where the acceptance angle forms a 140-degree intersection with the source beam. A red interference filter discriminates against the scattered blue excitation light.

Turbidity is measured simultaneously by detecting the scattered light from a red (700 nm) LED at 140 degrees to the same detector used for fluorescence. The instruments were used in ‘logging’ mode and recorded a data point every ten minutes for each of the three parameters, which was a mean of 50 instantaneous readings (see Appendix A11 for detailed procedures).

Pre- and post-deployment checks of each instrument included measurements of the maximum fluorescence response, the dark count (instrument response with no external fluorescence, essentially the ‘zero’ point) and of a dilution series of a 4000 NTU Formazin turbidity standard in a custom-made calibration chamber (see Appendix A11 for detailed procedures). Additional calibration checks, as recommended by the manufacturer, are performed less frequently (see Appendix A11 for details).

After retrieval from the field locations, the instruments were cleaned and data downloaded and converted from raw instrumental records into actual measurement units (µg L-1 for chlorophyll fluorescence, NTU for turbidity, ºC for temperature) according to standard procedures by the manufacturer. Deployment information and all raw and converted instrumental records were stored in an Oracle-based data management system developed by the AIMS. Records are quality-checked using time-series data editing software (WISKI-TV, Kisters) and unreliable data caused by instrument problems were removed (see Appendix A11 for detailed data download and quality-checking procedures).

## Data management

Data Management practices are a major contributor to the overall quality of the data collected; poor data management can lead to errors, lost data and can reduce the value of the Reef Plan MMP data. Data from the AIMS MMP inshore water quality monitoring are stored in a custom-designed Reef Rescue MMP data management system in Oracle 9i databases to allow cross-referencing and access to related data. Once data are uploaded into the oracle databases after the quality assurance and validation processes, they are consolidated in an Access Database via oracle views. The Access Database product was chosen as the delivery mechanism for its simplicity and because most users are familiar with the software (see Appendix A15 for details about general AIMS in-house procedures for data security, data quality checking and backup).

It is AIMS policy that all data collected have a metadata record created for it. The metadata record is created using a Metadata Entry System where the metadata is in the form of ISO19139 XML. This is the chosen format for many agencies across Australia and the International Community that deal with spatial scientific data. You can visit the AIMS Metadata System at:

http://data.aims.gov.au/geonetwork/srv/en/main.home

Several specific data systems have been developed for the MMP water quality monitoring to improve data management procedures (details on these are in Appendix A15)

- The Field Data Entry System (FDES) with an import Web Application.

- The Filter Weight Management web application.

- The Environmental Logger Data Management’ J2EE based web application.

## Summary

- Unique sample identifiers.

- Training of field personnel, including deployment guidelines & records.

- Analytical Quality Control measures including inclusion of QA/QC samples (replication of sampling and procedural blanks).

- Continual evaluation, method development and improvement of methods.

- Advanced data management and security procedures.

# Pesticide monitoring

Jochen Mueller, Christie Gallen, Chris Paxman, Kristie Thompson

National Research Centre for Environmental Toxicology (Entox)

## Introduction

The inshore waters of the Great Barrier Reef are impacted by the water quality of discharges from a vast catchment area which can include inputs of pesticides (i.e. insecticides, herbicides and fungicides).  The need for a long-term monitoring program on the Reef, which provides time-integrated data to assess temporal changes in environmentally relevant pollutant concentrations, was identified as a priority to address the information deficiencies regarding risks to the ecological integrity of this World Heritage Area in 2000.36 The aim of this component of the MMP is to assess spatial and temporal trends in the concentrations of specific organic chemicals using time-integrated passive sampling techniques primarily through routine monitoring at specific sites.

Passive sampling techniques offer cost effective, time-integrated monitoring of both temporal and spatial variation in exposure in the often remote locations encountered on the Reef.37 These techniques are particularly suited to large scale studies with frequently recurring pollution events38 to ensure these events are captured and to allow the assessment of temporal trends in concentrations in systems over the long term.39,40

Passive samplers accumulate organic chemicals such as pesticides from water in an initially time-integrated manner until equilibrium is established between the concentration in water (CW ng.L-1) and the concentration in the sampler (CS ng.g-1). The concentration of the chemical in the water can be estimated from the amount of organic chemical accumulated within a given deployment period using calibration data obtained under controlled laboratory conditions.19 This calibration data consists of either sampling rates (RS L.day-1) for chemicals which are expected to be in the time-integrated sampling phase or sampler-water equilibrium partition coefficients (KSW L.g-1) for chemicals which are expected to be in the equilibrium sampling phase. The calibration of these samplers is described in detail under sampling techniques below.

Equation 1

Time-Integrated Stage Sampling

Equation 2

Equilibrium Stage Sampling

Where:

CW = the concentration of the compound in water (ng.L-1)

CS = the concentration of the compound in the sampler (ng.g-1)

MS = the mass of the sampler (g)

NS = the amount of compound accumulated by the sampler (ng)

RS = the sampling rate (L.day-1)

t  = the time deployed (days)

KSW = the sampler –water partition coefficient (L.g-1)

Different types of organic chemicals need to be targeted using different passive sampling phases. The passive sampling techniques which are utilized in the MMP include:

- SDB-RPS EmporeTM Disk (ED) based passive samplers for relatively hydrophilic organic chemicals with relatively low octanol-water partition coefficients (log Kow) such as the PSII herbicides (example: atrazine - a triazine herbicide). These are also referred to as polar organic chemical samplers.

- Polydimethylsiloxane (PDMS) and Semipermeable Membrane Devices (SPMDs) passive samplers for organic chemicals which are relatively more hydrophobic (higher log Kow) (example: dieldrin - an organochlorine insecticide). These are also referred to as non-polar organic chemical samplers.

Figure 3.1. Locations of current inshore GBR routine monitoring sites where time-integrated sampling of pesticides occurred in 2013-2014

## Methods

### Sampling design - Passive sampling for routine monitoring

Twelve sites (Figure 3.1) were monitored across four Natural Resource Monitoring Regions (Wet Tropics, Burdekin, Mackay Whitsunday and Fitzroy) in the current monitoring year from May 2013 to April 2014.  The types of sampling which occurred at each site in either the dry (May – October) or wet (November – April) season sampling periods are indicated in Table 3.1. Samplers were deployed for two months during the dry season and one month during the wet season.

Table 3.1. Types of passive sampling which was conducted at each of the routine monitoring sites in 2013-2014 during either the dry (May – October) or wet (November – April) periods

| NRM Region | Sites | Polar Samplers (Empore discs) |  | Non-Polar Samplers (PDMS/SPMDa ) |  | Volunteer deployment staff | Year Sampling Commenced |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Drya | Wetb | Dry | Wet |  |  |
| Wet Tropics | Low Isles |  |  |  |  | Low Isles Caretakers/ Quicksilver Cruises | Aug 2005 |
|  | Green Island |  |  |  |  | Green Island Resort | June 2009 |
|  | Fitzroy Island |  |  |  |  | Fitzroy Island Resort | Jul 2005 |
|  | Normanby Island |  |  |  |  | Frankland Island Cruise and Dive | Jul 2005 |
|  | Dunk Island |  |  |  |  | MBDI Water Taxi | Sept 2008 |
| Burdekin | Orpheus Island |  |  |  |  | Orpheus Island Research Station | Jul 2005 |
|  | Cape Cleveland (AIMS) |  |  |  |  | AIMS | Dec 2007 |
|  | Magnetic Island |  |  |  |  | Reef Safari Diving | Aug 2005 |
| Mackay Whitsunday | Pioneer Bay |  |  |  |  | Whitsunday Moorings | Jun 2009 |
|  | Outer Whitsunday |  |  |  |  | Hamilton Island Resort | Nov 2006 |
|  | Sarina Inlet |  |  |  |  | Sarina Inlet Bait and Tackle |  |
| Fitzroy | North Keppel Island |  |  |  |  | North Keppel Island Education Centre | Aug 2005 |

aSPMDs are only deployed at Normanby Island

The scientific criteria for selection of sampling sites include:

- The site must be representative of an inshore reef location (as outlined by the initial tender document).

- The site is co-located in proximity to sites used by MMP bio-monitoring activities such as seagrass monitoring.

- The site should not be impacted by specific local point sources such as anti-foulants from boats or inlets of treated or untreated wastewater.

- The sampling site can be maintained for a long period.

In addition to the scientific requirements of the project, the selection of passive sampling deployment sites is governed by practicalities which include safety, security, site access, and the availability of a responsible community representative to take responsibility for the maintenance of the site. Site establishment has been a collaborative effort between the agency, AIMS and Entox.

The participation of volunteers (Table 3.1.) from various community groups, agencies and tourist operations is a key feature of the routine pesticide monitoring program and integral to the success of maintaining the program in often remote locations. These volunteers assist by receiving, deploying, retrieving and returning the passive samplers to Entox for subsequent extraction and analysis. This active participation of volunteers within the program is made possible by training from the agency and/or Entox staff in Standard Operating Procedures to ensure a high level of continuous sampling and high quality usable data is obtained from these deployments.  The agency has taken a lead role in ensuring community involvement and establishing contact with tourism operators and community and regional managers of water quality.

### Sampling design - Passive sampling for flood monitoring

Pesticides and herbicides were monitored during the wet season between November 2013 and April 2014 using both 1 L grab samples and passive sampling (EDs). These different techniques should provide both ‘point in time’ estimates of concentrations, along with time-integrated concentration estimates, respectively. During this flood monitoring period, passive samplers were deployed for longer periods (up to 18 days) or as ‘event’ samplers for shorter periods (3 days). Spatial variation of PSII herbicides in flood plumes was examined by deploying the passive samplers at four sites in a transect extending from the Tully River, and also at a single site at the mouth of the Russell-Mulgrave River, both located in the Wet Tropics region. Grab samples were taken at the beginning and end of each passive sampling period. A total of 45 grab samples were returned to Entox for analysis of PSII herbicides.

### Target Pesticides in the different passive samplers

The chemicals targeted for analysis in the different passive samplers and the limits of reporting (LOR) are indicated in Table 3.2. This list of target chemicals was derived through consultation with GBRMPA with the criteria being:

- Detected in recent studies.

- Recognised as a potential risk.

- Analytical affordability and within the current analytical capabilities of Queensland Health Forensic and Scientific Services (QHFSS).

- Likelihood of accumulation in one of the passive samplers (exist as neutral species in the environment).

Prior to the 2013-14 monitoring year, ED sampler extracts were analysed by Queensland Health using liquid chromatography mass spectrometry (LC-MS) run in positive analysis mode. From the beginning of the 2013 monitoring year, analysis of these extracts was transferred to Entox. A sub-set of extracts were analysed by both laboratories as an inter-laboratory comparison to validate the Entox analysis. Mean %CV of PSII herbicides detected in a random selection of samples by both laboratories fell within a very acceptable range of 1.9% - 36% (see Table 3.2).

Table 3.2. Per cent CV comparing analysis of PSII herbicides by Entox and Queensland Health.

|  | Desisopropyl Atrazine | Imidacloprid | Desethyl Atrazine | Tebuthiuron | Ametryn | Hexazinone | Simazine | Atrazine | Diuron | Metolachlor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample 1 | n.d. | 26.9 | 41.8 | 16.9 | 6.9 | 18.4 |  | 2.8 | 18.9 | 2.0 |
| Sample 2 |  | n.d. | 36.8 | 15.0 |  | 13.7 | 13.9 | 0.3 | 16.4 | 2.6 |
| Sample 3 |  | n.d. | 34.6 | 11.7 |  | 11.2 |  | 0.8 | 17.2 | 1.0 |
| Sample 4 |  | n.d. | 41.3 | 14.3 |  | 19.1 | 15.7 | 0.2 | 13.0 | 1.7 |
| Sample 5 | n.d. | n.d. |  | 14.2 |  | 10.7 |  | 4.6 | 4.4 | 0.7 |
| Sample 6 | n.d. | n.d. | 35.5 | 17.5 |  | 18.5 |  | 6.7 | 6.0 | 5.7 |
| Sample 7 |  | n.d. | 28.9 | 10.2 |  | 10.9 | 18.7 | 2.4 | 15.2 | 1.3 |
| Sample 8 | n.d. | n.d. | 39.7 | 21.5 |  | 19.6 |  | 0.8 | 25.7 | 0.6 |
| Sample 9 | 31.2 | n.d. | 30.0 | 11.7 |  | 15.2 | 15.0 | 1.2 | 19.6 | 1.1 |
| Mean %CV | 31.2 | 26.9 | 36.1 | 14.8 | 6.9 | 15.3 | 15.8 | 2.2 | 15.1 | 1.9 |

Blank cells indicate analyte was detected by Entox only, and excluded from CV calculation. N.d. = no detected by either laboratory

Due to differences in instrumental sensitivity, Entox reported several analytes (at very low concentrations below the limits of reporting) that were not reported by Queensland Health. Both Queensland Health and Entox use the same lower limit of 1 ppb for their lowest calibration standard and thus, there is no real change in the approximate LORs for the water concentration estimates (Table 3.3).

PDMS and SPMD sampler extracts are analysed for pesticides using gas chromatography mass spectrometry (GCMS) by Queensland Health. However, Entox is currently developing pesticide GCMS methods with a view to completing all analysis ‘in house’ by the end of 2014.

Prior to the 2013-14 monitoring year, SPE extraction and analysis of PSII herbicides in grab samples was also carried out by Queensland Health. Entox has subsequently developed a very sensitive online SPE method that avoids the need for a costly and time consuming traditional SPE extraction and concentration of the sample. LORs are approximately 2 ng/L which exceed those of Queensland Health (10 ng/L). Analysis of grab samples for PSII herbicides has now been transferred to Entox. An inter-laboratory comparison between the two methods has not yet been performed. Frozen aliquots of the water samples have been archived to do this comparison retrospectively.

Table 3.3. Pesticides specified under the MMP for analysis in different passive sampler extracts and the Limits of Reporting (LOR) for these analytes

| Pesticide | Description | LOR |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | SPMD | PDMS | EDa | GRAB |
| Bifenthrin | Pyrethroid insecticide |  | <1 |  |  |
| Fenvalerate | Pyrethroid insecticide |  | <0.5 |  |  |
| Bromacil | PSII herbicide-uracil |  |  | <0.04 - 2 | <10 |
| Tebuthiuron | PSII herbicide-thiadazolurea |  | <25 | <0.04 - 2 | <10 |
| Terbutryn | PSII herbicides-methylthiotriazine |  |  | <0.04 – 0.4 | <10 |
| Flumeturon | PSII herbicide-phenylurea |  | <30 | <0.08 - 2 | <10 |
| Ametryn | PSII herbicide-methylthiotriazine |  | <10 | <0.04 – 2 | <10 |
| Prometryn | PSII herbicide-methylthiotriazine |  | <5 | <0.04 - 2 | <10 |
| Atrazine | PSII herbicide-chlorotriazine |  | <10 | <0.04 - 2 | <10 |
| Propazine | PSII herbicide-chlorotriazine |  | <10 |  |  |
| Simazine | PSII herbicide-chlorotriazine |  | <30 | <0.04 - 2 | <10 |
| Hexazinone | PSII herbicide- triazinone |  | <25 | <0.04 - 2 | <10 |
| Desethylatrazine | PSII herbicide breakdown product (also active) |  |  | <0.04 - 2 | <10 |
| Desisopropylatrazine | PSII herbicide breakdown product (also active) |  | <25 | <0.08 - 2 | <10 |
| Diuron | PSII herbicide - pheynylurea |  | <25 | <0.04 - 2 | <10 |
| Oxadiazon | Oxadiazolone herbicide |  | <0.5 |  |  |
| Chlorfenvinphos | Organophosphate insecticide |  | <2 |  |  |
| Chlorpyrifos | Organophosphate insecticide | <0.03 | <0.5 |  |  |
| Diazinon | Organophosphate insecticide | <5 | <5 |  |  |
| Fenamiphos | Organophosphate insecticide |  | <5 |  |  |
| Prothiophos | Organophosphate insecticide | <0.09 | <0.5 |  |  |
| Chlordane | Organochlorine insecticide | <0.1 | <0.5 |  |  |
| DDT | Organochlorine insecticide | <0.08 | <0.5 |  |  |
| Dieldrin | Organochlorine insecticide | <0.2 | <0.5 |  |  |
| Endosulphan | Organochlorine insecticide | <1.9 | <5 |  |  |
| Heptachlor | Organochlorine insecticide | <0.07 | <0.5 |  |  |
| Lindane | Organochlorine insecticide | <0.5 | <5 |  |  |
| Hexachlorobenzene | Organochlorine fungicide | <0.09 | <0.5 |  |  |
| Imidaclopridc | Nicotinoid insecticide |  |  | <0.04 - 4 | <10 |
| Trifluralin | Dintiroaniline |  | <0.5 |  |  |
| Pendimethalin | Dinitroaniline herbicide | <0.4 | <0.5 |  |  |
| Propiconazole | Conazole fungicide |  | <2 |  |  |
| Tebuconazole | Conazole fungicide |  | <5 |  |  |
| Metolachlor | Chloracetanilide herbicide |  | <10 | <0.04 - 2 | <10 |
| Propoxur | Carbamate insecticide |  | <25 |  |  |

The limits of reporting (LOR) for the LCMS and GCMS instrument data have been defined by Queensland Health Forensic and Scientific Services laboratory as follows: The LORs are determined by adding a very low level amount of analyte to a matrix and injecting 6-7 times into the analytical instrument. The standard deviation of the resultant signals is obtained and a multiplication factor of 10 is applied to obtain the LOR. A further criterion for the LOR is that the analyte value should exceed 3 times the mass detected in the blank. Actual LOR for a given deployment may vary from those indicated in Table 3.2 with any confirmed result converted to a concentration in water estimate and reported. It should be noted that the analysis of bromacil by LC-MS was specifically requested from 2009-2010. Being run only in positive analysis mode the detection of specific hydrophilic organic chemicals such as 2,4-D, MCPA, mecoprop, and picloram which would only be detected in negative analysis mode, are excluded.

### Passive Sampling Techniques

SDB-RPS Empore discs

- 3MTM EmporeTM Extraction Disks (SDB-RPS) –Phenomenex

Deployed in a Teflon “Chemcatcher” housing41 (Figure 3.2).

- Routine time integrated monitoring:

  - Deployed with a diffusion limiting 47 mm, 0.45 µm polyether sulfone membrane for either one month or two months. From January 2012 onwards, Phenomenex membranes of the same specifications were used.

  - Deployed in a two disk configuration to extend the time integrated monitoring period when deployed for two months.

- Event monitoring during flood plume events:

  - Deployed without a diffusion limiting membrane (i.e. “naked”) for 3 – 6 days.

- Preparation:

  - Condition in methanol 5 minutes (HPLC grade, Merck).

  - Condition in milliQ water (Membranes were conditioned in milliQ water).

  - Load into acetone rinsed Chemcatcher housing.

  - Cover with membrane and solvent rinsed wire mesh.

  - Fill housing with MilliQ water.

  - Seal for transport.

  - Store in fridge and transport with ice packs.

- Extraction:

  - Remove membrane and wipe surface of disk with kimwipe to remove excess water.

  - Spike disk with deuterated simazine (labelled internal standard).

  - Extract disk using acetone and methanol in a solvent rinsed 15 mL centrifuge tube in an ultrasonic bath.

  - Filter (0.22 µm PFTE) and concentrate to 0.5 mL using evaporation under purified N2.

  - Add ultra-pure water to a final volume of 1 ml.

  - Spike sample with deuterated atrazine (labelled recovery standard)

- Analyse using LCMS (Table 3.3).

- Convert to concentration in water using compound specific in situ sampling rates.

Figure 3.2. An Empore disk (ED) being loaded into the Teflon Chemcatcher housing (LHS) and an assembled housing ready for deployment (RHS).

In-situ calibration of chemicals accumulated in Empore Disks

Compound specific sampling rates have been determined for a broad suite of herbicides and are applied to the estimation of concentrations in water. Sampling rates are influenced by in situ environmental conditions such as flow.  A passive flow monitor (PFM), comprised of dental plaster cast into a plastic holder (Figure 3.3.), has been developed during the PhD of Dominique O’Brien at Entox as a means of flow-adjusting sampling rates using an in situ calibration device.42 The elimination rate of dental plaster from the PFM during the deployment is proportional to flow velocity, and the influence of ionic strength (salinity) on this process has been quantified.43 The sampling rates of reference chemicals in the ED, such as atrazine have subsequently been cross-calibrated to the loss of plaster from the PFM under varying flow conditions (Figure 3.4).44

Figure 3.3. Passive flow monitors (PFMs) prior to deployment (LHS) and post-deployment (RHS)

Figure 3.4. The relationship between flow and the sampling rates of specific herbicides indicating a shift from aqueous boundary layer control to diffusion limiting membrane control under higher flow conditions

The in situ calibration procedure of Empore disks employed at Entox is:

- PFMs are co-deployed alongside EDs.

- Deployment in:

      - Wet season (one month).

      - Dry season (two months) – with a flow-limiting cap (reduce loss rate by  15%).

- The loss rate of plaster is determined while accounting for the influence of ionic strength.

- The sampling rates of atrazine and prometryn are directly predicted from the PFM loss rate using models.

The sampling rates of other individual herbicides are predicted based on the average ratio of the Rs of atrazine to the individual herbicide RS across multiple calibration studies.20,43,45,46

If the ED is deployed without a membrane these rates are adjusted using factors determined for individual herbicides (“naked” – no membrane: membrane RS) in a laboratory calibration study.47

Presentation and assessment of photosystem II herbicide concentrations (mixtures)

Photosystem II herbicides sampled by the SDB-RPS ED are a priority focus of the MMP pesticide monitoring due to the requirements of the Reef Water Quality Protection Plan.48 The concentrations of individual Photosystem II herbicides (ametryn, atrazine, diuron, hexazinone, flumeturon, prometryn, simazine and tebuthiuron) and atrazine transformation products (desethyl- and desiso-propyl – atrazine) are also expressed as a photosystem II herbicide equivalent concentration (PSII-HEq Equation 3) and assessed against a PSII-HEq Index described previously40 for reporting purposes.  PSII-HEq provides a quantitative assessment of PSII herbicide mixture toxicity and assumes that these herbicides act additively.49

Equation 3

Where:

(ng.L-1) is the concentration of the individual PSII herbicide in water

(Dimensionless) is the average relative potency of the individual

PSII herbicide with respect to the reference PSII herbicide diuron.

Polydimethylsiloxane (PDMS) samplers

- Silicone rubber 92 cm x 2.5 cm x 410 µm strips.

- Deployed in a marine grade stainless steel deployment cage (Figure 3.5).

- Routine time-integrated (and equilibrium) monitoring:

      - Deployed for approximately one month during the wet season at specific sites only (Table 3.1.) and for 2 months in the dry season at one site only.

- Preparation:

      - Dialysis with acetone (2 x 24 hours) and then hexane (2 x 24 hours) in solvent rinsed glass jars in batches on a shaker.

      - Strips are loaded with performance reference compounds (PRCs) see following section.

      - Stored in solvent rinsed glass jars, with Teflon-lined lids, under purified N2.

      - Individual strips are wound around stainless steel spikes within the deployment cage (acetone rinsed) in a standard configuration.

      - The cage is assembled and sealed inside a metal can, stored at 4oC and transported with ice packs.

- Extraction & purification:

      - Biofouling is removed from each strip by scrubbing with water.

      - Each strip is then dried with kimwipes and spiked a surrogate standard.

      - Each strip is dialysed with 200 mL of hexane (2 x 24 hours).

      - Sample extracts are rotary evaporated, further evaporated under purified N2, dried using Na2SO4 columns and filtered (0.45 µm PTFE).

      - Samples are made up to 10 ml using dichloromethane and subjected to gel permeation chromatography (GPC).

      - The collected fraction is evaporated to 1 ml and submitted for chemical analysis.

- Chemical analysis – GCMS (Table 3.2.).

Figure 3.5. PDMS passive samplers loaded onto stainless steel sampler supports which sits within the deployment cage and is sealed in place with wing nuts

Uploading performance reference compounds (PRCs) into PDMS and the in situ calibration of PDMS

The dissipation of performance reference compounds (PRCs) to estimate sampling rates of chemicals accumulated in non-polar samplers is an in situ calibration technique that has been extensively discussed.50,51,52 A method based on the work of Booji51 to uniformly upload PRCs into PDMS strips is now routinely used. Previously, a solution of the PRCs was spiked onto the surface of the PDMS using a syringe.

PDMS strips are incubated in a solution of methanol containing the PRCs on a shaker at room temperature. Water is added daily to bring the final methanol/water ratio to 80:20 over several days. PDMS strips are removed from the solution, wiped with kimwipes and stored in the freezer until use.  The following (Equation 4) is used to upload a desired amount of PRCs into the PDMS:

Equation 4

Where:

Nt is the amount of chemical to be added to the loading solution

Nm is the target amount of chemical per sampler

Vs is the volume of the loading solution

mm is the mass of a sampler in g

n is the number of samplers

Kms is the sampler-water partition coefficient (also referred to as Ksw)

The results of a recent test of the upload procedure are presented in Table 3.4 below, and demonstrate the method is very reproducible.

Table 3.4. Results of PRC uploading procedure in PDMS samplers (n=6)

| Performance reference compounds (PRCs) | Target amount (ng) | Mean amount uploaded (ng) | %CV |
| --- | --- | --- | --- |
| Anthracene-D10 | 500 | 486 | 5.0 |
| Pyrene -D10 | 200 | 210 | 4.6 |
| Dibenzo[ah]anthracene-D14 | 100 | 100 | 10.8 |

The procedure to determining Cw estimates of accumulated chemicals of Log Kow >4 using the PRC-adjusted Rs approach is:

- GCMS analysis of blank and exposed samplers to determine extent of PRC depletion in the field.

- Log ke (exchange rate constant) of each PRC is determined using Equation 5.

Equation 5

Ke = -ln(Nt/N0)/t

Where:

Nt is amount of PRC remaining at the end of the exposure time

N0 is the amount of PRC spiked into the sampler prior to exposure

t is the exposure time

- Relationship between Log Ke and Log Kow of PRCs is plotted.

- Log Ke of accumulated chemicals are extrapolated from this relationship by their Log Kow.

- Log Ksw of accumulated chemical is determined using either measured value (unpublished calibration study in collaboration with DERM, 2010) or extrapolated using equation described in Figure 3.6.

- Sampling rate of each accumulated chemical is determined by Equation 6.

Equation 6

Rs = Ke.Ksw.Ms

Where:

Ke is the exchange rate constant determined

Ksw is the sampler-water partition coefficient (measured or estimated)

Ms is the mass of the sampler

- Cw of each accumulated chemical is then determined using Equation

Figure 3.6.  Relationship between logKOW and logKSW for pesticides in the PDMS-water system in an unpublished calibration study in collaboration with DERM, 2010.

Alternative method of in situ calibration of PDMS and SPMDs using PFMs

O’Brien et al42,44 have previously demonstrated the usefulness of the PFM for the in situ calibration of herbicides in the ED. Furthermore, O’Brien et al53 has demonstrated that the loss of plaster from the PFM can be applied to predict changes in Rs dependant on flow and turbulence, when deploying PDMS and SPMD samplers.

The uptake of bifenthrin, dieldrin, oxadiazon, pendimethalin, permethrin, prothiophos and trifluralin were investigated as a function of water velocity (determined from rPFM) at flows between 0 and 24cm s-1 (figure 3.7). A one phase association describing this relationship between Rs and flow for each chemical is below (Equation 7).

Equation 7

Rs= Rs(0 cm/s) + (Rs(max)- Rs(0 cm/s))*(1-exp(-KrPFM *rPFM))

Where:

Rs(0 cm/s) is the Rs of the chemical of interest when exposed to still waters.

Rs(max) is the maximum Rs for the chemical of interest

KrPFM is a rate constant expressed in reciprocal of the units of rPFM

rPFM is the loss rate of the PFM in g/day.

Figure 3.7. PDMS and SPMD sampling rates (Rs) as a function of water velocity rPFM

The in situ calibration procedure of PDMS using PFMs employed at Entox is:

- PFMs are co-deployed alongside marine cages containing PDMS/ SPMDs.

- Deployment in:

      - Wet season (one month) – without caps.

      - Dry season (two months) – with a flow limiting cap (reduces plaster loss rate by 15 %).

- The loss rate of plaster is determined while accounting for the influence of ionic strength.

- Chemical analysis (GCMS) of samplers.

- Rs of ‘reference’ chemicals - bifenthrin, dieldin, oxadizon, pendimethalin and permethrin (prothiophos and trifluralin were excluded) - are calculated for each site at their specifc rPFM using Equation 7.

- Log Kow of the 7 reference chemicals are plotted against their Rs

- Rs of accumulated chemicals predicted using relationship between Log Kow

and Rs of 7 reference chemicals.

- Using Rs, estimate Cw using Equation 1.

- For accumulated chemicals with Log Kow < 4.

  - Equilibrium phase sampling is assumed.

  - Measured Log Ksw (from unpublished collaborative experiment with DERM, 2010) will be used to estimate a Cw using Equation 2.

  - If no measured log Ksw value is available, the Log Ksw will be predicted from the relationship between Log Kow and Log Ksw (Figure 3.6) and the Cw estimated using Equation 2.

- For accumulated chemicals with Log Kow > 4, unless otherwise specified, PFM-adjusted Rs will be used to estimate Cw.

The PFM method to predict Rs of chemicals accumulated by PDMS samplers is now routinely used.

Semipermeable membrane devices (SPMDs)

Methods employed in the preparation, deployment and analysis of SPMDs are based on United States Geological Survey protocols50,54 and have been adopted with slight modification over the last nine years since SPMDs were first deployed for monitoring polyaromatic Hydrocarbons (PAHs) and organochlorines as part of the Brisbane River Moreton Bay Study.55

Standard dimension SPMDs50 92cm length x 2.5cm width consisting of 60 – 80 µm thick low density polyethylene (LDPE) lay-flat tubing filled with 99 % pure triolein spike with performance reference compounds (PRCs)56

- Marine grade stainless steel deployment chambers (acetone rinsed) with sacrificial anode, normally co-deployed with PDMS strips.

- Deployed only at Normanby Island site in Wet Tropics each month in the wet season and every 2 months in the dry season.

- Preparation:

      - LDPE strips pre-extracted using (9:1 hexane: acetone) accelerated solvent extraction (ASE) using a program derived through method development.

      - Dried under purified N2.

      - Inject 1 ml of PRC loaded triolein into tube and disperse to remove air, heat seal each end while forming a loop to attach SPMDs to deployment “spiders” making a loop so SPMD is standard dimension between seals (i.e. 92 cm).

      - Load each strip onto spiders inside deployment cages and assemble cage.

      - Seal cage in an acetone rinsed can, refrigerate prior to transport and transport on ice.

- Extraction & sample processing:

      - Remove SPMD from deployment cage and remove bio-fouling

      - Check for damage to the membrane and heat seal where appropriate:

    - Scrub with water.

    - Dry with kimwipes.

    - Dip in 0.1 M HCL for 20 seconds.

    - Dip in n-hexane for 30 seconds.

    - Rinse with water and dry with kimwipes.

    - Rinse surface briefly with acetone and isopropanol and allow to air dry.

      - Cut off deployment loops and inject QHFSS surrogate standard into the interior of the SPMD using a syringe, reseal the SPMD.

      - Extract (9:1 hexane: acetone) with accelerated solvent extraction (ASE) using program developed by Entox.

      - Proceed as per sampler evaporation and purification (GPC) described for PDMS.

      - Evaporate to a final volume of 1 mL.

- Analysis – GCMS.

Concentrations of pesticides in water were previously determined using a calibration spreadsheet provided by Jim Huckins of the USGS who developed this sampler. This spreadsheet accounts for the influence of water temperature during the deployment period. The sampling rates for pesticides in SPMDs within this spreadsheet range from 1.0 – 6.9 L.day-1 with an average of 3.5 L.day-1.

A comparison of Cw estimation using both the Huckins spreadsheet and the PFM approach will be presented.

Deployment of passive samplers in the field

Figure 3.8. A schematic for the deployment of passive samplers (Empore disc in Chemcatcher housings, and SPMD/PDMS cages) together with the passive flow monitors for in-situ calibration of flow effects, in the field.

### QA/QC procedures in the pesticide monitoring program

The development, calibration, field application and validation of passive sampling for monitoring  water has been a research focus of Entox over many years 55;57; 58;49; 59; 47,60,47,61; 42;62; 20;63; 43,44; 39. The methods described above have been developed as a result of this work in collaboration with analytical method development by QHFSS. These methods are formalized as Standard Operating Procedures (SOPs) which describe the preparation, extraction and analysis of each type of passive sampler used in the MMP.

QA/QC procedures routinely employed by Entox in the MMP include:

- SOPs for the preparation, deployment, extraction and analysis of passive samplers.

- Staff training in these SOPs (laboratory) and a record of this training is maintained.

- Deployment guides for the training of field staff & volunteers.

- Generation of a unique alphanumeric identifier code for each passive sampler.

- Preparation, extraction, storage (4oC or -20oC) and subsequent analysis of procedural blank passive samplers with each batch of exposed passive samplers.

- The use of labelled internal standards or other surrogate standards to evaluate or correct for recovery or instrument sensitivity throughout the extraction and within the analysis process respectively.

- The exposure of replicate samplers during each deployment which are extracted and archived in our specimen bank @ -80oC.

- A proportion of exposed replicate sample extracts are subsequently analysed, to determine the reproducibility of the sampling of organic chemicals across the program in that year (mean normalized difference).

QHFSS laboratories are accredited by the National Association of Standards Testing. Details of QHFSS accreditation can be found at the National Association of Testing Authorities (NATA) website http://www.nata.asn.au/). Sample receipting, handling, analysis and data reporting at QHFSS will be based on NATA certified methods. The NATA accreditation held by the QHFSS includes a wide variety of QA/QC procedures covering the registration and identification of samples with specific codes and the regular calibration of all quantitative laboratory equipment required for the analysis.

## Data Management & Security

The data management protocols for Entox are outlined below and include documentation of all steps within the sampling program: passive sampler identification, transport, deployment, transfer of samples to QHFSS for chemical analysis, analytical results, data manipulation, storage and access. This protocol may be summarized as:

- The unique alphanumeric identifier code attached to each passive sampler is applied to all subsequent daughter samples and results, ensuring a reliable link with the original sample.

- Deployment Records are sent with the sampling devices, and includes information on: the unique sampling device identifier, deployment identifier, name of the staff/volunteer who performed the operation, storage location, destination site, important dates, details of sample treatment and any problems that may have occurred. When returned, the information is entered into Excel spreadsheets and stored on the Entox main server with a back-up on one local hard drive.

- Detailed Chain of Custody records are kept with the samplers at all times. Devices are couriered directly to the tourism operators/community member and monitored via a tracking system. Delivery records are maintained by Entox to ensure traceability of samples.

- Hard copy records maintained of all sample submission forms provided to QHFSS for analysis.

- Results files provided by QHFSS along with a unique identifier code are transferred from the instrumentation computer to the Entox server and archived on the QHFSS network using an established data management system.

- Excel spreadsheets used for data manipulation and a summary results file (concentration in water estimates) are stored on the Entox server. Access to the Entox server is restricted to authorised personnel only via a password protection system. Provision of data to a third party only occurs at the consent or request of the Program Manager.

## Summary

- Unique sample identifiers.

- Comprehensive Records and Chain of Custody paperwork across all components.

- Training of field personnel, including deployment guidelines & records.

- Analytical Quality Control measures.

- Procedural QA/QC for the preparation, extraction and analysis of passive samplers including SOPs.

- Inclusion of QA/QC samples (replication of sampling and procedural blanks)

- Continual evaluation, method development and improvement of methods for sampler processing & estimation of concentration in water.

# Remote sensing of water quality

Vittorio Brando, Arnold Dekker, Thomas Schroeder

Commonwealth Scientific and Industrial Research Organisation

## Introduction

This component will provide satellite-based information on near-surface chlorophyll and suspended solids concentrations, water column turbidity and Secchi-disk depth in lagoonal and coastal waters of the Great Barrier Reef. In order to achieve this goal the CSIRO (with support from the AIMS and JCU) will acquire, process, validate, interpret, archive and transmit geo-corrected ocean colour imagery and required information data sets derived from MODIS satellite imagery data.

In the field of remote sensing and the use of global datasets such as those from MODIS, there are a lot of publications and proposals for standardisation. However, these protocols are currently not agreed upon. As this field of applications is still developing, some of the methodology, including QA/QC procedures still needs standardisation. There is some convergence going on, and in several parts of the processing and measurement chain, there are established and agreed protocols.

As part of this project, the CSIRO will describe every step of the process of obtaining the final water quality products from MODIS for the Great Barrier Reef lagoon to ensure that a complete account of methods used for this project is available for future reference.

## Methods

### Acquisition and processing of satellite data

The MODIS instrument is carried by two different satellites - Terra (providing the morning overpass ~ 10.30am) and Aqua (providing the afternoon overpass ~ 1.30pm). Working in tandem to see the same area of the earth in the morning and the afternoon, the two satellites help to ensure MODIS and other instruments measurement accuracy by optimising cloud-free remote sensing of the surface and minimising any optical effects—like shadows or glare—that are unique to morning or afternoon sunlight. Having morning and afternoon sensors also permits investigation of changes that occur over the course of the day, such as the build-up or dissipation of clouds and changes in sea temperature or tidal conditions. MODIS data will be acquired for the entire Great Barrier Reef area.

The National Aeronautics and Space Administration (NASA) provide operational processing of the daily coverage of the MODIS data to different levels of calibration. Quality assurance is an important element in the sequential data reduction from Level 0 (L0) raw counts to Level 1B (L1B) calibrated radiance, and continually to Level 2 (L2) orbital swath granules and Level 3 (L3) global gridded products. Radiometrically calibrated data and the geolocation information (Level 1B) are the input to retrieve ‘higher levels’ of information (beyond grey levels and colours of pixels) such as chlorophyll concentration, or suspended solid concentrations (Level 2 products). The CSIRO may need to process from Level 1B onwards if the NASA Level 1B to Level 2 processing is found to be insufficiently accurate in the Great Barrier Reef lagoon waters. NASA will complete processing to Level 2A (water leaving radiance or reflectance).

Documents related to MODIS data quality control are included in Appendix C1.

The CSIRO will complete processing of MODIS data to Level 2B: chlorophyll, total suspended matter and transparency. The methods for this process are outlined in Brando and Dekker 200364 (Appendix C2). Wettle et al. 200465 (Appendix C3) provide an overview of the estimation of noise levels in the satellite data.

### Field sampling

In situ data collection to be undertaken by the CSIRO includes:

- Determination of spectroradiometric properties to apparent optical properties.

- Biogeochemical validation.

- Measurement of spectral inherent optical properties in situ.

- Spectral inherent optical properties on samples.

### Determination of Spectroradiometric Properties to Apparent Optical Properties (AOP)

The measurement methodology for the determination of Spectroradiometric Properties to Apparent Optical Properties is at Appendix C4. A thorough description of the UW light field and terminology is provided in Dekker et al. 200166 (Appendix C5). In addition, the measurement protocols as stated in Chapter 3 of the MERIS Validation Protocols (Appendix C6) are followed as closely as possible.

### Measurement of Spectral Inherent Optical Properties (IOP) in situ

Inherent Optical Properties are the properties of the medium itself (i.e. water plus constituents) and depend on the concentration and type of optically-significant constituents present in the water, namely phytoplankton, non-algal particles and Coloured Dissolved Organic Material (CDOM or gelbstoff). Note that the term ‘non-algal particles’ include biogenous detritus, heterotrophic organisms, and minerals.

Together with water, their contribution to total absorption and scattering coefficients (at() and bt(), respectively,  is the wavelength) is additive such that:

at() = aw() + ag() + a() + anap()		(1)

bt() = bw() + b() + bnap()			(2)

Where the subscripts w, g,  and nap stand for pure water, CDOM, phytoplankton and non-algal particles, respectively.

Scattering by CDOM is usually considered as negligible.67 The attenuation coefficient corresponds to the sum of absorption and scattering coefficients [ct() = at() + bt()]. The particle single-scattering albedo (ωp(λ)), an important parameter in radiative transfer models, is defined through the ratio of scattering to particle attenuation (bp(λ)/(ap(λ)+bp(λ)) and used to quantify the scattering properties of particles relatively to their absorption properties.

The absorption and scattering coefficients of optically-significant constituents display specific spectral signatures that might be used in turn to estimate the contribution of each constituent to a bulk measurement. For that purpose, deconvolution procedures (experimental or numerical) are required and have been developed, to our knowledge, only for absorption measurements e.g. Schofield et al. 2004.68 Once deconvolved, the partial optical coefficients can be converted into meaningful biogeochemical quantities if specific optical coefficients are known.

The measurement methodology for the in situ optical measurements required for parameterising the optical model used for algorithm inversion has been described in detail in Oubelkheir et al. 2006.69 The variability of total (dissolved plus particulate) absorption and scattering spectral coefficients [a() and b()] will be monitored using a WETLabs ac-9 with nine wavelengths [412, 440, 488, 510, 532, 555, 650, 676 and 715 nm], with a 10 cm pathlength. The ac-9 is calibrated before the field campaigns with optically pure water obtained from a Milli-Q system (Elga Maxima) to quantify instrumental offsets in pure water. Correction for the in situ temperature and salinity effects on the optical properties of water will applied according to Pegau et al.1997.70 Correction for incomplete recovery of the scattered light in the absorption tube of the ac-9 will be performed by using the proportional method described in Zaneveld et al. 199471. The particle scattering coefficient (b()) is computed as the difference between attenuation and absorption coefficients measured by the ac-9 (c() - a()).

The backscattering coefficient is measured at six wavelengths [442, 488, 555, 589, 676 and 852 nm] using a Hydroscat-6 (HOBILabs). A correction for incomplete recovery of backscattered light in highly-attenuating waters (i.e. sigma correction, Maffione and Dana 1997) is applied using absorption and attenuation coefficients measured in situ simultaneously using the ac-9. The Hydroscat-6 is calibrated in the laboratory, prior to the field campaign, using the calibration device provided by HOBILabs: the signal response is measured through the sample volume (Milli-Q water) over a Lambertian reflective (TeflonTM) plaque.72

### Discrete optical and biogeochemical measurements

For validation of data derived from satellite imagery, water sampling for analyses of plant pigments, Total Suspended Matter (TSM) and CDOM is undertaken. TSM and plant pigment samples will be analysed by AIMS, with cross validation to be undertaken by the CSIRO Division of Marine and Atmospheric Research.

For the purposes of validating the information from the MODIS sensors (and also SeaWiFS and MERIS) it is advisable to measure many surface samples, at least at two-kilometre spacing, across gradients of optical water quality during 09:00 and 14:30 hours as that would create most match-up data. Final sampling design will depend on the conditions during the field cruises.

Discrete samples of water will be collected for validation of remote sensing of plant pigments and TSM with Niskin bottles (as above, Appendix A13) or 10L High Density Polyethylene containers during satellite overpasses. Duplicate sub-samples are filtered and plant pigment filters stored in liquid nitrogen until analyses. Samples have unique identifiers (Appendix B1 for standard labelling).

### Laboratory analysis

Phytoplankton pigments: Water samples are filtered through a Whatman 47 mm GF/F glass-fibre filter and stored in liquid nitrogen until analysis. Phytoplankton pigments are analysed by AIMS using High Performance Liquid Chromatography (Appendix B10). The CSIRO uses a different approach. An index of the size structure of the algal population will be derived by the CSIRO from individual pigments which are specific to a given phytoplankton group (diagnostic pigments). The contribution of small (pico, < 2 µm), medium (nano, 2-20 µm) and large (micro, 20-200 µm) cells to the algal population will be computed as described in detail in Uitz et al. 200673.

Total suspended matter: Total suspended matter filters are analysed by AIMS as described in Appendix B11.  Within the CSIRO, water samples are filtered through 47 mm pre-weighed Millipore Durapore membrane filters or Pall Tuffryn filters (pore size of 0.45 µm), and the filter paper then rinsed with distilled water to flush dissolved salts, and stored flat in a petrislide (Millipore). After collection, the filter papers are oven-dried at 60oC, and weighed to constant weight.

Particulate (algal and non-algal) absorption: Water samples are filtered through a 25 mm GF/F glass-fibre filter (Whatman) stored flat in liquid nitrogen until analysis by the CSIRO. The optical density spectrum was measured over the 200-900 nm spectral range in 1.3 nm increments, using a GBC 916 UV/VIS dual beam spectrophotometer equipped with an integrating sphere. The pigmented material on the sample filter is then extracted using the method of Kishino et al.198574 to determine the optical density of the non-algal particles. The optical density due to phytoplankton was obtained by the difference between the optical density of the particulate and non-algal fractions. The path length amplification effect due to the filter (so-called ‘-factor’) was corrected by using the algorithm of Mitchell 199075. Note that comparisons between particulate absorption results corrected for the pathlength amplification effect using the Tassan and Ferrari 199576  algorithm instead of the Mitchell 199075 algorithm on samples collected in various areas (including turbid waters) showed no significant difference. A more detailed description of the method can be found in Clementson et al. 200177.

CDOM absorption: Water samples are collected in glass bottles and kept cool and dark until analysis by the CSIRO, which occurs within 24 hours of collection generally (on occasion up to 72 hours). Beyond this period, there might be a slight effect of biological activity on the CDOM concentrations, however provided that the material is cooled this effect will be minimal and compared to other measurement issues, negligible. Samples are allowed to come to room temperature before filtering through a 0.22 µm polycarbonate filter (Millipore) into a 10 cm pathlength quartz cell. The CDOM absorption coefficient (m-1) of each filtrate is measured from 200 to 900 nm using a GBC 916 UV/VIS spectrophotometer, and Milli-Q water (Millipore) used as a reference. CDOM absorption spectra are finally normalised to zero at 680 nm and an exponential function fitted over the range 350 to 680 nm (Appendix B12).

### Data processing

Spectral Inherent Optical Properties on samples (SIOPs)

A prerequisite for the accurate inversion of optical properties (measured in situ or using remote sensing) into biogeochemical quantities (e.g. concentrations, chemical composition, size) relies on an estimation of the extent of variability in:

- Some key optical parameters used in the inversion of AOP into IOP through radiative transfer models (e.g. particles backscattering efficiency, single scattering albedo)

- The relationships between IOP and the desired biogeochemical properties (e.g. SIOPs), i.e. optical properties normalized by the constituent concentration.

Once the SIOPs are established it is possible to generate any spectra that are a combination of naturally occurring concentrations of chlorophyll, TSM and CDOM. This family of representative spectra can then be inverted using specifically developed algorithms.

Previous work has clearly demonstrated that the global MODIS algorithms as available in SeaWiFS Data Analysis System (SeaDAS) 4.8 are invalid in near shore Great Barrier Reef lagoonal waters (based on previous work in the Fitzroy Estuary and the Mossman-Daintree region). The level of disagreement is at least twofold and can run up to tenfold or more. Therefore it will be necessary to develop and implement a different type of algorithm that can cope with the significant variability in the specific inherent optical properties encountered in these waters. Similar problems were encountered in developing algorithms for Moreton Bay, Port Curtis and the Fitzroy Estuary using the Landsat sensor. The new algorithms (inversion-optimisation) performed well and have been published.78,79,80,81

The CSIRO intends to port these algorithms to MODIS and apply them to twelve months of MODIS data.

In order to parameterise and validate these new algorithms it is planned to take additional measurements of surface and water column apparent and inherent optical properties and associated concentrations (algal pigments, TSM, CDOM) necessary for parameterization and validation of algorithm performance during the four planned AIMS cruises for the MMP.

The new inversion-optimisation algorithms will be based on water-leaving radiances in the MODIS spectral bands. They will estimate simultaneously the concentration of chlorophyll, TSM and CDOM as well as calculate Secchi Disk Transparency and vertical attenuation coefficient Kd.  If a bottom effect is visible they will also estimate the bottom depth. The accuracy of the calculated normalised water leaving radiances is dependent on the accuracy of the atmospheric correction. It is known that the standard atmospheric correction in SeaDAS 4.8 fails (especially in the blue region of the spectrum) in natural waters that reflect significantly above zero in the nearby infrared (as the nearby infrared is used in SeaDAS 4.8 to estimate the aerosol contents). The CSIRO intends to test and implement one out of two to three published SeaDAS code adaptations that improve the atmospheric correction over highly-reflecting waters.

## Data Management

The validation of remote sensing for water quality concentrations in the Great Barrier Reef is a substantial task that has not been undertaken before to this extent. Appropriate data entry systems will be developed during the lifetime of the contract. Existing data storage standards at the CSIRO will be utilised. Data is managed depending on the value/importance of the data, volume and format, but in general, file systems are backed up according to a regular four week backup schedule. A full backup is created and archived every month with a weekly incremental backup made and rotated every four weeks. Databases are managed according to the rate of change of data volume each day. The present schedule is a full monthly backup and daily incremental backups. The database is also replicated to another server offsite and the full backup is archived on LTO tape.

The analysis data generated by AIMS will be incorporated into the MMP Data Management System.

## Summary of Quality Control measures

- Training of staff.

- Processing protocols.

- Analytical quality control measures.

- Parallel plant pigment analyses by AIMS and CSIRO.

- Sample custody.

- Data entry quality control.

# Flood plume water quality monitoring

Michelle Devlin

Catchment to Reef Research Group, Australian Centre for Tropical Freshwater Research, James Cook University

## Introduction

The Great Barrier Reef is the largest coral reef system in the world, spanning almost 350,000 km2 along the northeast Australian coast.9 During the last century coastal anthropogenic land clearing, agriculture, urban development and industrial activities have occurred adjacent to the reef.9 As such, there is presently much research being conducted to evaluate the impact of human activities upon water quality and coral health in the region.

During the northern Australian monsoon season (December-March), rainfall events cause flooding in local rivers. The resulting flood plumes act as a transport mechanism for terrestrial sediment and contaminants from the local catchments into the marine environment. Excessive sediment loads and dissolved substances within freshwater have been identified as potential stressors of corals and can lead to disease and coral bleaching.11 Therefore, monitoring projects are required to assess the extent and impact of terrestrial runoff.

The Centre for Tropical Water and Aquatic Ecosystem Research (TropWATER) manages an extensive flood plume monitoring project in collaboration with AIMS, UQ and CSIRO. The aim of this project is to assess the concentrations and transport of terrestrially derived components, with a focus on the movement of pollutants (total suspended sediments, cholorphyll-a and dissolved nutrients) into the Great Barrier Reef. Current sampling methods include discrete water profile sampling combined with fixed water quality logger sites and the implementation of MODIS imagery as a tool for qualitatively assessing flood plume extent within the Reef.

This subprogram of the MMP will collect water quality data in flood plumes emanating from rivers into the Great Barrier Reef lagoon and coastal waters. Monitoring will consist of a campaign style grab-sampling program in flood waters originating from major rivers flowing into the World Heritage Area (e.g. Burdekin, Fitzroy and rivers in the Mackay-Whitsunday and Wet Tropics regions). Manual sampling will occur over the ‘wet season’ (November to May) and will be correlated with water quality information collected using remote sensing and data loggers (AIMS ambient water quality program). Parameters measured as part of this project include nutrient species, suspended particulates, chlorophyll a, phytoplankton, trace metals, salinity and pesticides. There will be a continuation of the existing remote sensing work and further exploration of the value of remote sensing as a future water quality monitoring technique for flood plume monitoring. The long-term goals of this task are to:

- Assess the concentrations and transport of major land sourced pollutants to the Great Barrier Reef lagoon.

- Assess spatial and temporal variation in near surface concentrations of suspended solids, turbidity and CDOM and chlorophyll a during available river plumes in the Great Barrier Reef catchment using remote sensing.

- Assess the quantity of chemical pollutants that are transported to the Great Barrier Reef from selected rivers during ambient and flood events.

- Quantify the exposure of reef ecosystems to these land-based contaminants.

## Methods

### Field sampling design

Water samples are collected from multiple sites within the flood plume. Location of samples were dependent on which rivers were flooding and the areal extent of the plume but generally samples were collected in a series of transects heading out from the river mouth, with additional samples taken in between river mouths if more than one river was in flood. Timing of sampling is also dependent on the type of event and how quickly boats were mobilised. Sampling in flood plumes requires rapid response sampling protocols as a detailed pre-planned schedule is not possible due to the unpredictability of the river flood events. The need for a responsive, event-driven sampling strategy to sample plumes from flowing rivers is essential to capture the high flow conditions associated with these rivers.82 The majority of samples were collected inside the visible area of the plume, though some samples were taken outside the edge of the plume for comparison. Samples were collected along the plume salinity gradient, moving from the mouth of the river to the edge of the plume (Figure 5.1).

High flow conditions

Plume transects

Event 1

Event 2

Event 3

Day 1

Day 2

Site 1

Site 2

Site 3

Sample 1

Sample 2

Figure 5.1. Design of sampling program for high flow conditions. Further details can be found in Devlin and Brodie 200583

### Field protocols

The guidelines for water quality sampling listed in this document are based on the protocols required by the TropWATER laboratory for the collection and storage of samples.

Safety always comes first. Staff must always be accompanied by at least one other person. Staff must have conducted a risk assessment of the sampling area, as well as current weather conditions and have an up-to-date emergency plan. Staff must be aware of their vessel and work through the safety protocols with the ship master. Also the following must be observed:

- PVC disposable gloves must be worn by stuff during all time of sample collection and manipulation. Before sampling, staff must clean their hands thoroughly with fresh water. Grease, oils, soap, fertilisers, sunscreen, hand creams and smoking can all contribute to contamination.

- Sampling bucket and boat bilge pump and rose must be well rinsed before sampling. Bottles must be rinsed if required as by the TropWATER laboratory.

- Follow the filling instructions (contained in the following sections) thoroughly when filling containers.

- On each sampling run record the date, time, unique sampling identification on the field data sheet. Each sampling kit for each site contains sets of sampling bottles and vials.

- Note any significant change of conditions in the comments section of the record sheet.

- If possible, take a few photos at each sampling site.

At each sampling station, vertical profiles of water temperature, salinity, dissolved oxygen, and light are taken with a CTD from the SeaBird Instruments (SBE-19Plus). CTD must be deployed by the sunny side of the boat to avoid boar shadow interference on light data. The CTD must be kept for three minutes at surface before performing downcast to allow senores stabilization. Immediately following the CTD cast, water samples are collected from discrete depths for other analyses.

Surface samples are collected up to 0.5 m below the surface, with a rinsed clean sampling container. Secchi disk clarity is determined at each station, getting the average of depth determined on the downcast and upcast deployment. Secchi disk must be deployed by the shady side of the boat by a person not wearing sun glasses.

Due to the high frequency of sampling during a plume event and the use of smaller vessels for sampling, the majority of the post processing (filtering and storage) takes place at the end of each day. Field sampling on the vessel typically consists of surface sample collection and filtering and collection of water samples on ice. Each site within a plume event has a basic number of water quality parameters taken within that site. They include:

- Dissolved nutrients.

- Total nutrients.

- Chlorophyll a.

- Total suspended solids (TSS).

- Coloured dissolved organic matter (CDOM).

Additional samples can be taken at any site, dependent on the site location and the frequency of sampling decided prior to the event. Additional water quality sampling includes:

- Phytoplankton enumeration.

- Pesticides.

Samples are labelled with station name, depth, and parameter to be analysed. Flood plume samples are identified by the precursor of FPMP.

### Water quality sampling techniques

Water samples are collected for nutrients, chlorophyll, total suspended sediment, Coloured Dissolved Organic Matter (CDOM), pesticides and phytoplankton. Surface seawater is collected using a bucket and/or pumped using a bilge pump and rose, if vessel is equipped with one for sampling proposal. Pumped water is placed in a well rinsed clean bucket for samples extraction.

Total and dissolved nutrient and CDOM samples are collected from the bucket using sterile 60 ml syringes. For total nitrogen and total phosphorus samples are transferred from the 60 ml syringes into the 30 ml sampling tubes without filtering. For dissolved nutrients a 0.45 m disposable membrane filter is fitted to the syringe and a 10 ml sample collected in sampling tubes. All sampling tubes are placed in a clean plastic bag and stored on ice in an insulated container. CDOM is collected passing water through a 0.22 m disposable membrane filter into 100/200 ml amber glass bottle.

Chlorophyll-a and TSS samples are collected in pre-rinsed 1,000 ml plastic containers using the boat bilge pump and rose (both must be well flushed with local water before sampling). Each container is rinsed at least twice with the sample water, taking care to avoid contact with the sample (gloves must be worn all the time). Chlorophyll-a bottles are dark to reduce the effect of sunlight on the phytoplankton species in the interim between collection and filtration. Both samples are stored on ice on the sampling vessel. For phytoplankton samples and pesticides the procedure is the same used for chlorophyll and TSS, except that bottles are not rinsed before filling.

Total Nitrogen / Total Phosphorus (TN/TP)

- Requires one 60 ml plastic vial.

- Filtering not required.

- Do not rinse the vial with the water to be sampled.

- Fill the vial leaving a ~3 cm air-gap from the top.

- Do not overfill, this may cause the vial to split when frozen – destroying the sample.

- To minimise contamination please keep fingers away from all tops and lids.

- If possible, freeze samples before sending to the laboratory.

- Otherwise, store in the dark on ice for transport the laboratory as soon as possible.

- To minimise contamination please keep fingers away from all tops and lids (wear gloves all the time).

- Note: Once syringe has been rinsed with the bucket water, fill and empty syringe three-four times to well mixed the water in the bucket before taking the 60 ml sample.

Dissolved nutrients

- Requires six 10 ml vials, yellow lids for nitrogen and a 60 ml vial for silica (SiO2).

- Firstly, rinse out syringe three times with the water to be sampled.

- Discard rinse water away from sampling area.

- Attach Ministart 0.45 m filter to tip of syringe.

- Fill syringe with sample water.

- Minimise the air gap between water sample and black syringe plunger to prevent contamination.

- Prime the filter paper (often done while fitting the plunger).

- DO NOT collect this rinse water.

- DO NOT rinse vessel.

- Fill the vials to the line (10 ml or 60 ml) (Prefer to be just below the mark to avoid loss of sample).

- Do not overfill, this may cause the vials to split when frozen – destroying the sample.

- To minimise contamination please keep fingers away from all tops and lids (wear gloves all the time).

- If possible, freeze samples before sending to the laboratory. Note: 60 ml vile for silica analysis is not frozen, just kept on fridge or ice.

- Otherwise, store in the dark on ice for transport the laboratory as soon as possible.

CDOM (Coloured Dissolved Organic Matter)

- Requires 100 ml Amber (Glass) Bottle with 0.5 ml 1% sodium azide (NaN3) for 100 ml sample. Sodium azide ensures the preservation of the sample prior to analysis. Note: Care MUST be taken with sodium azide (NaN3), it is a severe poison and may fatal in contact with skin or if swallowed.

- Collected sample (taken from the bucket used for nutrients) is to be filtered down to 0.2 m for the analysis of CDOM (defined as the fraction of organic matter <0.2m).

- Gloves must be worn and sterile syringes only (no used and washed)

- Fill up the syringe with bucket water, attach 0.45 m (yellow filter) to syringe; air contact must be minimised so before filtering, filter needs to be removed to expel any trapped air.

- Place filter back onto syringe and push some sample through to prime the filter.

- A 0.2 m filter (blue filter) is then placed onto the yellow filter; ensure they are locked together and onto the syringe by turning them until there are ‘locked’ together – at this point you syringe should have two filters attached with the yellow next to the syringe.

- If syringes and filters aren’t fitted together correctly there may be a risk of contamination.

- Sample should then be pushed through both filters into the glass amber bottle provided – minimum 100 ml filtered sample is required.

- When there is too much back pressure on the syringe the yellow filter would need replacing first – if this does not alleviate the back pressure, blue one also needs replacing; always replace yellow filter first.

Chlorophyll a and Total Suspended Solids

- Chlorophyll-a sampling requires a one-litre black plastic bottle.

- Fill to overflowing and seal. Do not leave an air gap.

- Once sample is taken it should be kept in the dark on ice.

- Chlorophyll sampling requires filtering after sampling (see details in later section).

Phytoplankton sampling for enumeration (Lugol/Iodine samples)

- Wear gloves and avoid fumes.

- Fill a one-litre container, containing 10 ml of Lugol, with ~990 ml of sample. Do not overfill.

- Rotate the bottle to mix the sample together (no need to vigorously shake).

- Leave the sample in a cool shady place for thirty minutes and then place in esky (do not place directly on ice but place newspaper on ice and then sample on top).

- Store sample in dark and keep refrigerated/cold before transport to laboratory.

Pesticide sampling

- Collect sea surface water in a one-litre brown glass bottle (available from Queensland laboratory).

- Do not rinse bottles, and fill them to the neck of the bottle leaving an air gap.

- Place samples in fridge, preferably dark location until collection, and after collection in esky on ice until returned to laboratory.

- Do not freeze bottle.

- The field sampling protocols described in this section are summarized on Table 5.1.

Table 5.1. Summary of the field sampling protocols with identification of post-sampling procedures needed, laboratory containers required, and storage technique.

| WQ parameter | Field processing | Post field processing | Laboratory container | Storage |
| --- | --- | --- | --- | --- |
| DIN | Filtered sample | n/a | 10 ml plastic tube | Frozen |
| TDN | Filtered sample | n/a | 10 ml plastic tube | Frozen |
| PN | Filtered sample | n/a | 10 ml plastic tube | Frozen |
| PP | Filtered sample | n/a | 10 ml plastic tube | Frozen |
| DIP | Filtered sample | n/a | 10 ml plastic tube | Frozen |
| TDP | Filtered sample | n/a | 10 ml plastic tube | Frozen |
| TN and TP | Unfiltered sample | n/a | 30 ml plastic tube | Frozen |
| Chlorophyll-a | Unfiltered sample (1,000 ml) in dark bottle | Filtered onto Whatman GF/F | GF/F filter paper wrapped in aluminium foil | Frozen |
| Total suspended solids | Unfiltered sample (1,000 ml) in clear bottle | n/a | 1,000 ml white bottle | Stored at 4°C |
| CDOM | Filtered sample | n/a | 100 ml dark bottle | Stored at 4°C |
| Pesticides | Unfiltered sample | n/a | 1,000 ml dark bottle | Stored at 4°C |
| Phytoplankton | Unfiltered sample | n/a | 1,000 ml bottle stored in dark | Stored at 4°C |

### Water quality analysis/processing techniques

All the analyses are performed at the TropWATER laboratory using standard techniques. TropWATER laboratory takes part on an inter-calibration program. All processed data is stored in a MS Access data base (procedure described in a latter section).

Total and dissolved nutrients

All nutrients are analysed using colorimetric method on OI Analytical Flow IV Segmented Flow Analysers. Total nitrogen and phosphorus and total filterable nitrogen and phosphorus are analysed using nitrogen and phosphorous methods simultaneously after alkaline persulphate digestion, following methods as presented in ‘Standard Methods for the Examination of Water and Wastewater, 4500-NO3- F. Automated Cadmium Reduction Method’ and in ‘Standard Methods for the Examination of Water and Wastewater, 4500-P F. Automated Ascorbic Acid Reduction Method’. Nitrate, Nitrite and Ammonia are analysed using the methods ‘Standard Methods for the Examination of Water and Wastewater, 4500-NO3- F. Automated Cadmium Reduction Method’, ‘Standard Methods for the Examination of Water and Wastewater, 4500-NO2- B. Colorimetric Method.’, and ‘Standard Methods for the Examination of Water and Wastewater, 4500-NH3 G. Automated Phenate Method’, respectively. Filterable Reactive Phosphorous is analysed following the method presented in ‘Standard Methods for the Examination of Water and Wastewater, 4500-P F. Automated Ascorbic Acid Reduction Method’.

Coloured dissolved organic matter

Coloured dissolved organic matter (CDOM) is an important optical component of coastal waters defined as the fraction of light absorbing substances that pass through a filter of 0.2 μm pore size. CDOM is typically comprised of humic and fulvic substances which are sourced from degradation of plant matter, phytoplankton cells and other organic matter. Waters dominated by CDOM often appear yellow/orange in colour and less often black. This is a consequence of strong absorption exhibited by CDOM in the blue and ultra-violet (UV) regions of the electromagnetic spectrum. CDOM has been known to contaminate chlorophyll satellite algorithms and also has been examined as a tracer estuarine/river transport into the marine environment. Thus, knowledge of CDOM variability within the Great Barrier Reef is extremely useful.

Water samples are collected in glass bottles and kept cool and dark until analysis by TropWATER laboratory, which should occur within 24 hours of collection generally (on occasion up to 72 hours). Beyond this period, there might be a slight effect of biological activity on the CDOM concentrations, however provided that the material is cooled this effect will be minimal and compared to other measurement issues, negligible.

Samples are allowed to come to room temperature before placement into a 10 cm path-length quartz cell. The CDOM absorption coefficient (m-1) of each filtrate is measured from 250-800 nm using a GBC 916 UV/VIS spectrophotometer. Milli-Q water (Millipore) is used as a reference and Milli-Q water (Millipore) with 1% sodium azide (NaN3) to correct for its interference.

CDOM absorption is measured using a dual beam Shimadzu UV1700 spectrophotometer. The instrument is baselined with a pure MilliQ water reference cuvette and a 0.2 μm filtered MilliQ water as the sample. After baselining the instrument the reference remains in the machine and a field sample is then placed into the sample cuvette. The optical density (OD) of the sample is then measured over 250-800 nm at 0.5 nm resolution. To obtain the absorption spectrum, the mean value from 680 nm where absorption is deemed to be zero is subtracted from spectrum. For a complete description of the method refer to ‘Ocean Optics Protocols for Satellite Ocean Color Sensor Validation, Revision 4, Volume IV’ (NASA/TM-2003-211621/Rev4-Vol.IV). The resultant is multiplied by 2.303/L (where L is the path-length of the cuvettes, ca. 0.1 m) to give the absorption in units of inverse metres (m-1). CDOM absorption spectra are fitted to an exponential function over the range 370-600 nm. Not only the nominal value for CDOM at 443 nm is stored in the data base, but also the fitting coefficients, allowing the CDOM determination at any wave-length between 370-600 nm as required.

Chlorophyll-a

The concentration of photosynthetic pigments is used extensively to estimate phytoplankton biomass. All green plants contain chlorophyll-a which constitutes approximately 1-2% of the dry weight of planktonic algae. Other pigments that occur in phytoplankton include chlorophylls b and c, xanthophylls, phycobilins and carotens. The important chlorophyll degradation products found in the aquatic environment are the chlorophyllides, pheophorbides and pheophytins. The presence or absence of the various photosynthetic pigments is used, among other features, to separate the major algal groups.

Pigment collection: Water from the 1-litter dark bottle is filtered through a Whatman 47 mm GF/F glass-fibre filter. Filtration is carried out preferable in the same day of the sampling. Filter using manifolds, provided – ensure manifold cups are washed with deionised water between samples to avoid contamination. Rinse cups with 0.45 µm filtered seawater to ensure the capture of the entire sample. 0.2 ml of magnesium carbonate must be added at the first 500 ml of sample placed on the filtration cup to preserve/fix pigments. Filter papers are to be folded in half and wrapped in aluminium foil to avoid loss of sample on the filter paper. Place wrapped filter paper in envelope with site reference number. Filters are stored frozen and not in water (kept dry) or as cold as possible prior to analysis in the laboratory. Between samples filtering cup and filter supporting base must be rinsed with distilled water to avoid contamination.

Pigment extraction and determination: The pigments are extracted from the plankton cell retained on the filter by mechanical disruption of cells with a tissue grinder in aqueous acetone, and the optical density (absorbance) of the extract is determined with a spectrophotometer. Chlorophyll-a and pheophytin-a (after acidification) are determined and stored in the data base. For a complete description of the method refer to ‘Standard Methods for the Examination of Water and Wastewater, 10200 H. Chlorophyll’.

Total suspended solids (TSS)

A suspended solid refers to any matter suspended in water or wastewater. Total suspended solids, or TSS, comprise the portion of total solids retained by a filter. Suspended solids concentrations are determined gravimetrically from the difference in weight between loaded and unloaded 0.45 µm polycarbonate filters after the filters had been dried to a constant weight at 103-105ºC. The increase in weight of the filter represents the total suspended solids. All the processing of filtering, drying and weighting is performed at the TropWATER laboratory. For a complete description of the method refer to ‘Standard Methods for the Examination of Water and Wastewater, 2540 D. Total Suspended Solids Dried at 103–105°C’.

CTD data

Depth profiles for temperature, salinity, Photosynthetically Active Radiation (PAR), and dissolved oxygen are obtained using a calibrated CTD from Sea-Bird Electronics (SBE-19Plus) equipped with Satlantic light sensor (PAR Log 600m) and SBE-43 DO sensor.

On deployment, CTD is kept 3 minutes into the water for sensors stabilization before starting downcast. Downcast and upcast seeds are about 0.5 m/sec. Data is sampled at 25 Hz and and stored in the internal logger for posterior uploading and processing.

Data processing includes a general test of the data integrity with visual removal of outliers, and storing in a data base. Light extinction coefficient is also calculated based on the Photosynthetically Active Radiation (PAR) readings using the Lambert-Beer Equation.84 CTD and its sensors are checked for calibration at the beginning of every wet season sampling campaign, and send for service at every two years or when required.

Table 5.2. Analysis technique associated with each water quality parameter in the TropWATER laboratory.

| Parameters | Analysis technique |
| --- | --- |
| Nutrients | Analysed on OI Analytical Flow IV Segmented Flow Analysers |
| Total Nitrogen and Phosphorus and Total Filterable Nitrogen and Phosphorus | Simultaneous APHA 4500-NO3- F and APHA 4500-P F analyses after alkaline persulfate digestion |
| Nitrate | APHA 4500-NO3- F |
| Nitrite | APHA 4500-NO2- F |
| Ammonia | APHA 4500- NH3 G |
| Filterable Reactive P | APHA 4500-P F |
| Chlorophyll-a/Phaeophytin-a | APHA 10200 H |
| Total Suspended Solids | APHA 2540 D |

## Methods for remotely sensed data acquisition

This component provides remote sensed-based information on river plume areas, frequencies and composition in the Great Barrier Reef. A joined effort has been applied among CSIRO, AIMS and TropWATER in order to acquire, process, validate, interpret, archive and transmit geo-corrected ocean colour imagery and required information data sets derived from MODIS satellite imagery data.

There have been a number of different methods within the flood plume program to characterize, map and monitor flood events in the Reef over last 20 years (Figure 5.2). These techniques and their resulting products evolved in complexity with time, from basic aerial photography in combination with in-situ monitoring to the application of advanced regional parameterized ocean colour algorithms.

In the following, the methods currently applied to work with remote sensed data obtained from satellite imagery will be presented.

Figure 5.2 The evolution of remote sensed imagery in the mapping and monitoring of plume waters in the Great Barrier Reef.

## Remotely sensed plume water types, extent and duration

River plumes are characterised and mapped using remote sensing techniques supported by water quality parameters sampled in situ. Moderate Resolution Imaging Spectroradiometer (MODIS) imagery, obtained from the NASA web page (http://oceancolor.gsfc.nasa.gov), is used for spatial water quality characterization of the water plumes. Two level of satellite data are used on plumes characterization: true colour images and Level-2 satellite data.

True colour images allow the determination of the plume extension, marked as brown to greenish turbid water masses contrasting with cleaner seawater, A set of analysis is based on supervised classification using GIS of spectrally enhanced quasi-true colour MODIS images to classify “plume” and “non-plume” areas in the GBR (e.g., Alvarez-Romero et al., 201385).

In addition, supervised classification using GIS, allows the characterization of difference in colour existing between respective water types inside plume in function of their dominant composition. Where individual rivers flood simultaneously, as often happens in the wet tropics, adjacent plumes merge into a continuous area. In these cases efforts are made to distinguish the edge of the individual river plumes through colour differences (for methodology see Alvarez-Romero et al., 201385).

Level-2 satellite data is also used to characterize water types within coastal plumes working with specific parameters such as, proxies for suspended sediment, chlorophyll, and colored dissolved organic matters (for methodology see Petus et al. 201486). A set of analysis uses satellite images calibrated into relevant water quality values or proxies and threshold values for delineating surface plume external boundaries and water types inside plume (e.g. Devlin et al., 2012,87 Petus et al., 201486).

The results of each mapping exercise are transferred to a GIS on which subsequent processing and spatial analysis is based. This analysis results in annual and multi-annual composite images of plume and plume water type exposure for the whole GBR. Moreover, satellite imagery is used to examine historical spatial and temporal variability of flood plumes within the Great Barrier Reef to assist in hydrodynamic modelling, and to further validation of regionally based algorithms suited to inshore turbid coastal waters to understand exposure of GBR coastal-marine ecosystems to river plumes and corresponding changes in ecosystem health.

### Satellite data: downloading and processing

The Moderate Resolution Imaging Spectroradiometer (MODIS) instrument is carried by two different satellites, Terra (providing the morning overpass at approximately 10:30 am) and Aqua (providing the afternoon overpass at approximately 1:30 pm). Working in tandem to see the same area of the Earth in the morning and the afternoon, the two satellites help to ensure MODIS’ and other instruments’ measurement accuracy by optimizing cloud-free remote sensing of the surface and minimizing any optical effects—like shadows or glare—that are unique to morning or afternoon sunlight. Having morning and afternoon sensors also permits investigation of changes that occur over the course of the day, such as the build-up or dissipation of clouds and changes in sea temperature or tidal conditions. For specific works, such as to produce local/regional algorithms relating satellite data and field data, image from both sensors have been used. However, due to the time required for the downloading and processing of the images, only images from MODIS-Aqua sensor have been comprehensive downloaded and processed for mapping current and historical plume conditions, MODIS imagery covers the entire Great Barrier Reef area (extreme coordinates: -10.5, -27.0, 142.3 and 154.0) since March 2002 (the beginning of MODIS mission).

MODIS remote sensing L0 data are ordered from the NASA Ocean Colour website: http://oceancolor.gsfc.nasa.gov/ and a routine written in R is used for the downloading of the images. SeaDAS routines have been implemented to process Level-0 MODIS Aqua  into quasi-true colour images and L2 products covering the whole period of MODIS Aqua mission (in progress), and coincident with field sampling days for MODIS Aqua. The current Level-2 products that  are processed include 'chlor_oc3' for chlorophyll, 'nLw_645' and 'bbp_555_qaa' as proxies for suspended sediment, 'Kd_488_lee' for underwater light extinction, and 'rhot_869' for cloud masking. Images are processed at 1000 m resolution or higher.

The colour or spectral reflectance of the water is according to Gordon (1988) directly proportional to the backscattering and inversely proportional to the sum of backscattering and absorption. These inherent optical properties can be translated by an appropriate algorithm into concentrations of water constituents. The most common approach for the retrieval of water constituents from ocean colour observations is composed of two main processing or algorithm steps. First, an atmospheric correction procedure is applied to the satellite data to remove the disturbing effects of atmospheric absorption and scattering and to obtain the water-leaving radiance or reflectance. In a second step the obtained reflectance spectra is used to retrieve the water quality parameters.

The highly turbid nature of the study region and close proximity to the coastal zone means that standard near-infrared (NIR) atmospheric corrections are inaccurate and as such, the quality of the retrieved product may be reduced (Wang, 2007) To counter this effect, the NIR-SWIR combined atmospheric correction described by Wang and Shi (2007) was implemented in SeaDAS. Other considerations in processing were to switch off cloud and stray light masking as during processing attempts these lead to regions of interest containing high sediment loads being masked.

All images downloaded and processed are stored in external media. Intermediary outputs from image processing such as L1B data are discarded, and only the original unzipped Level-0 data, Level-2 data and true colour images are stored. We are currently implementing an algorithm to join all images of a specific parameter (e.g., chlor-a) from a single day together in a single file. We are also implementing a series of Python and R codes to get quasi true-colour images from NASA (Rapid Response – LANCE, http://lance-modis.eosdis.nasa.gov/imagery/subsets/?project=other) and process them to plume water types (i.e., Primary, Secondary and Tertiary water type) and their frequency of occurrence over the GBR at weekly basis.

## Data management

Station description and details (e.g., geographical position, date, time, and depth) are recorded on weather proof field sheets (Appendix B2) and transferred at the end of each sampling day into Microsoft® Excel spreadsheets. All excel spreadsheets are collated and inputted into the TropWATER Flood Plume Monitoring database (Microsoft® Access database, see Appendix B3 for metadata details).

Details of measurements at each station (sampling depths, Secchi depth, temperature readings and filter numbers) are recorded on the field sheets and transferred at end of day into Microsoft® Excel spreadsheets.

All water samples and filters are labelled with unique sample identifiers. The TropWATER laboratory put a flood sampling kit together for each site which has the unique identifier for all dissolved nutrients and total nutrients (10 mL plastic tubes), chlorophyll bottles.

The spreadsheet data is then transferred into the TropWATER Flood Plume Monitoring database. Data is also relayed onto the TropWATER laboratory input sheets (See Appendix B4). Both input data sheets, filtered samples and nutrient tubes are transferred to the laboratory for final processing and analysis Data are checked before and after transfer for completeness (e.g., agreement of station and sample numbers, all samples that were collected have been analysed) and correct data entry (comparison with previous data, cross-checking of data outside typical ranges with archived raw data records, for example, as hard copies or instrument files). Data are independently checked after entering them into the database.

## Summary of Quality Control measures

- Training of samplers.

- Periodic servicing of hydrolab sensors by manufacturer.

- Sample custody.

- Field blanks and replicates.

- Overlap of manual and instrumental sampling.

- Document control.

- Metadata updates.

# Inshore coral reef monitoring

Angus Thompson, Johnston Davidson, Britta Schaffelke

Australian Institute of Marine Science

## Introduction

The objective of the biological monitoring of inshore reefs is to document spatial and temporal trends in the benthic reef communities on selected inshore reefs. Changes in these communities may be due to acute disturbances such as cyclonic winds, bleaching and crown-of-thorns starfish as well as more chronic disturbances such as those related to runoff (e.g. increased sedimentation and nutrient loads), which disrupt processes of recovery such as recruitment and growth. The reef monitoring sites co-located with the sampling locations for lagoon water quality, enabling the assessment of relationship between reef communities and water quality as well as other, more acute impacts.

One salient attribute of a healthy ecological community is that it should be self-perpetuating and ‘resilient’, that is: able to recover from disturbance. One of the ways in which water quality is most likely to shape reef communities is through effects on coral reproduction and recruitment. Laboratory and field studies show that elevated concentrations of nutrients and other agrichemicals and levels of suspended sediment and turbidity can affect one or more of gametogenesis, fertilisation, planulation, egg size, and embryonic development in some coral species (reviewed by Fabricius 200511). High levels of sedimentation can affect larval settlement or net recruitment of corals. Similar levels of these factors may have sub-lethal effects on established adult colonies. Because adult corals can tolerate poorer water quality than recruits and colonies are potentially long-lived, reefs may retain high coral cover even under conditions of declining water quality, but have low resilience. Some high-cover coral communities may be relic communities formed by adult colonies that became established under more favourable conditions. Such relic communities would persist until a major disturbance, but subsequent recovery may be slow if recruitment is reduced or non-existent. This would lead to long term degradation of reefs, since extended recovery time increases the likelihood that further disturbances will occur before recovery is complete.88 For this reason, the surveys for the MMP estimate cover of various coral taxa and also collect information on the abundance of juvenile colonies as evidence for the extent of ongoing recruitment. In addition, settlement of corals is measured using settlement plates in all four Natural Resource Management (NRM) Regions. Assessments of sediment quality and assemblage composition of benthic foraminifera were added to the routine coral reef monitoring in 2007/08, to provide additional information about the environmental conditions at the individual survey reefs89 and have been added as an annual monitoring component since 2010.90

This component of the MMP aims to accurately quantify temporal and spatial variation in inshore coral reef community status in relation to variations in local reef water quality. A detailed report91 linked the consistent spatial patterns in coral community composition observed over the first three years of the project with environmental parameters. As temporal span of this project extends, it is intended to shift the focus toward understanding and documenting the differences in community dynamics (status) across the spatial extent of the sampling rather than reiterating spatial differences in composition.

In order to quantify inshore coral reef community status in relation to variations in local reef water quality, this project has several key objectives:

- Provide an annual time series of benthic community structure (viz. cover and composition of sessile benthos such as hard corals, soft corals and algae) for inshore reefs as a basis for detecting changes related to water quality and disturbances.

- Provide information about coral recruitment on Great Barrier Reef inshore reefs as a measure for reef resilience.

- Provide information about sea temperature and sediment quality as drivers of environmental conditions at inshore reefs.

- Provide an integrated assessment of coral community condition for the inshore reefs monitored to serve as a report card against which changes in condition can be tracked.

## Methods

### Sampling design

The sampling design was selected for the detection of change in benthic communities on inshore reefs in response to improvements in water quality parameters associated to specific catchments, or groups of catchments (Region), and to disturbance events. Within each Region, reefs are selected along a gradient in exposure to run-off, largely determined as increasing distance from a river mouth in a northerly direction. To account for spatial heterogeneity of benthic communities within reefs, two sites were selected at each reef (Figure 6.1).

Figure 6.1. Sampling design for coral reef benthic community monitoring. Terms within brackets are nested within the term appearing above.

Observations on a number of inshore reefs undertaken by AIMS in 2004 during the pilot study to the current monitoring program92 highlighted marked differences in community structure and exposure to perturbations with depth; hence sampling within sites is stratified by depth. Within each site and depth, fine scale spatial variability is accounted for by the use of five replicate transects. Reefs within each region are designated as either ‘core’ or ‘cycle’ reefs. At core reefs all benthic community sampling methods are conducted annually, however, at cycle reefs sampling is undertaken every other year and coral recruitment estimates are not included.

### Site selection

The reefs monitored were selected by the agency, using advice from expert working groups. The selection of reefs was based upon two primary considerations:

- To ensure sampling locations in each catchment of interest were spread along a perceived gradient of influence from river output.

- Those sites are selected where there was evidence (in the form of carbonate-based substrate) that coral reef communities had been viable (net positive accretion of a carbonate substrate) in the past.

Where well-developed reefs existed on more than one aspect of an island, two reefs are included in the design as although position relative to runoff exposure is similar, often quite different communities exist on windward compared to leeward reefs. A list of reefs selected is presented in Table 6.1. and map of the sampling locations in Figure 6.2.

### Depth selection

From observations of a number of inshore reefs undertaken by AIMS in 200492, marked differences in community structure and exposure to perturbations with depth were noted. The lower limit for the inshore coral surveys was selected at 5m below datum, because coral communities rapidly diminish below this depth at many reefs; 2m below datum was selected as the shallow depth as this allowed surveys of the reef crest. Shallower depths were considered but discounted for logistical reasons, including the inability to use the photo technique in very shallow water, site markers creating a danger to navigation and difficulty in locating a depth contour on very shallow sloping substrata typical of reef flats.

### Field survey methods

Site marking

Each selected reef sites are permanently marked with steel fence posts at the beginning of each twenty-metre transect and smaller (10 mm diameter) steel rods at the ten metre mark and end of each transect. Compass bearings coupled with distance along transects record the transect path between these permanent markers. Transects were set initially by running two sixty-metre fibreglass tape measures out along the desired five or two metre depth contour. Digital depth gauges are used along with tide heights from the closest location included in ‘Seafarer Tides’ electronic tide charts produced by the Australian Hydrographic Service. There are five-metre gaps between each consecutive 20 metre transect. The position of the first picket of each site is recorded by GPS.

Sampling methods

Five separate sampling methodologies are used to describe the benthic communities of inshore coral reefs. These are each conducted along the fixed transects identified in the sampling design though there are subtle differences in width or length of transect or spatial extent of the data sets as listed in Table 6.2.

Photo Point Intercept Method (PPIT)

This method is used to gain estimates of the per cent cover of benthic community components. The method follows closely the Standard Operational Procedure Number 10 of the AIMS Long Term Monitoring Program.93 In short, digital photographs are taken at 50-centimetre intervals along each 20-metre transect. Estimation of cover of benthic community components is derived from the identification of the benthos lying beneath points overlaid onto these images. For the majority of hard and soft corals at least genus level identification is achieved. The categories used for identification of benthos are listed in Jonker, M. et al 2008. 93

The primary difference in the application of the method in this project from that described in Jonker et al. 200893 is in the sampling design. Sampling for this project is based on 20-metre transects, rather than 50-metre transects. To compensate for transects being shorter than in the standard method, the density of frames per unit area of transect is doubled (images captured at 0.5 m rather than one-metre intervals). This alteration to the standard technique was adopted due to the limited size of some reefs sampled.

Figure 6.2. Sampling locations under the MMP coral monitoring task.

Core reef locations have annual coral reef benthos surveys, coral settlement assessments and water quality monitoring.

Exceptions are Snapper Island and Dunk Island North (water quality monitoring, annual coral surveys, but no coral settlement). Cycle reef locations (Non-core) have benthos surveys every two years and no water quality monitoring. NRM Region boundaries are represented by coloured catchment areas.

Table 6.1. Sites selected for inshore reef monitoring. Sites in bold are core reefs; those in standard font are cycle reefs.

| NRM Region | Catchment | Inshore reef monitoring sites | Team |
| --- | --- | --- | --- |
| Wet Tropics | Daintree | Snapper Island (North) Snapper Island (South) | Sea Research |
|  | Russell / Mulgrave Johnstone | Fitzroy Island (East) Fitzroy Island (West) Frankland Island Group (East) Frankland Island Group (West) High Island (East) High Island (West) | AIMS |
|  | Tully | Dunk Island (North) Dunk Island (South) King Reef Nth Barnard Island | AIMS |
| Burdekin | Herbert | Lady Elliot Reef Orpheus Island (East) Pelorus Is & Orpheus Is (West) | AIMS |
|  | Burdekin | Geoffrey Bay Middle Reef Pandora Reef Havannah Island | AIMS |
| Mackay / Whitsunday | Proserpine | Pine Island Shute Island Daydream Island Double Cone Island Seaforth Island Dent Island Hook Island | AIMS |
| Fitzroy | Fitzroy | Peak Island Pelican Island Humpy & Halfway Islands Middle Island Nth Keppel Island Barren Island | AIMS |

Table 6.2. Distribution of sampling effort

| Survey Method | Information provided | Transect coverage | Spatial coverage |
| --- | --- | --- | --- |
| Photo Point Intercept | Percentage cover of the substrate of major benthic habitat components. | Approximately 25 cm belt along upslope side of transect form which 160 points are sampled. | Full sampling design |
| Demography | Size structure of coral communities, density post settlement recruitment | 34 cm belt along the upslope side of the transect. | Full sampling design |
| Scuba Search | Incidence of factors causing coral mortality | Two-metre belt centred on transect | Full sampling design |
| Settlement Tiles | Larval supply | Clusters of six tiles in the vicinity of the start of the 1st, 3rd and 5th transects of five-metre deep sites. | 12 core reefs and five metres depth only |
| Sediment sampling | Grain size distribution and the chemical content of nitrogen, organic carbon and inorganic carbon. Community composition of Foraminifera | Sampled from available sediment deposits within the general area of transects. | Five metres depth only Forams on 14 core reefs |

Juvenile coral surveys

This survey aims to provide an estimate of the number of coral colonies that were successfully recruiting to and surviving early post-settlement pressures. In the first year of sampling under this program these juvenile coral colonies were counted as part of a demographic survey that counted the number of individuals falling into a broader range of size classes. As the focus narrowed to just juvenile colonies the number of size classes reduced allowing an increase in the spatial coverage of sampling.

Coral colonies less than ten centimetres in diameter are counted within a belt 34 cm wide (data slate length) along the upslope side of each 20-metre transect. Each colony is identified to genus and assigned to a size class of either, 0-2 cm, >2-5 cm, or >5-10 cm. Importantly this method aims at estimating the number of juvenile colonies that result from the settlement and subsequent survival and growth of coral larvae rather than small coral colonies resulting from fragmentation or partial mortality of larger colonies. With the exception of the transect dimension and the size classes used, this method is consistent with the Standard Operational Procedure Number 10 of the AIMS Long-term Monitoring Program93, Part 2, in which further detail relation to juvenile/fragment differentiation can be found.

Scuba Search Transects

Scuba search transects document the incidence of agents causing coral mortality or disease. Tracking of these agents of mortality is important as declines due to these agents must be carefully considered as covariates for possible trends associated with response to outcomes. The method used follows closely the Standard Operational Procedure Number 9 of the AIMS Long Term Monitoring Program94, Part 2. In short, a search is made of a two-metre wide belt (one metre either side of the transect midline) for any recent scars, bleaching, disease or damage to coral colonies. An additional category not included in the standard procedure is physical damage. This is recorded on the same five-point scale as coral bleaching and describes the proportion of the coral community that has been physically damaged, as indicated by toppled or broken colonies. This category may include anchor as well as storm damage.

### Observer training

The AIMS personnel collecting data in association with this project are without exception highly experienced in the collection of benthic monitoring data. Each observer was employed specifically for their skills in benthic monitoring and video analysis.

Ongoing standardisation of observers is achieved through in field and photo based comparisons that for the most mitigate inconsistencies in identification. As a final step in reducing bias in sampling all photo transect identifications are double checked by a single observer.

In the event that new observers enter the team, training in each sampling method is by direct tuition with an experienced observer. New observers must meet the standards listed in Table 6.3 prior to collecting data for the project.

Classification to genus level underwater is augmented by the use of a small digital camera to take images for post-dive scrutiny of difficult to identify colonies. We do note however that some small juvenile corals are difficult to differentiate in the field and while identified to genus level are typically merged with similar genera for analysis and reporting.

Sea Research is responsible for surveys in the Daintree catchment. The Sea Research observer, Tony Ayling, is the most experienced individual in Australia in surveying the benthic communities of near-shore coral reefs. He has 20-years experience surveying the sites in this catchment, amongst many others. His taxonomic skills are undoubted at genus level and as such observer standardisation for demography and scuba search surveys are limited to detailed discussion of methodologies with AIMS observers and explicit following of the protocols listed here. Sea Research will also use the same pre-printed datasheets and data entry programs. Analysis of video footage collected by Sea Research will be undertaken by AIMS.

Table 6.3. Observer training methods and quality measures

| Monitoring method | Training method | Quality measure |
| --- | --- | --- |
| Photo Point Intercept | In-field identification of benthic components. On screen classification of photo points. In-field tuition on photographic protocol. | All identifications double checked. |
| Juvenile counts | In-field identification of corals to genus level, and application of technique with experienced observer supervision.. | No greater than ten percent of colonies misidentified, overlooked or misclassified in size during supervised demographic surveys of two sites. |
| Scuba Search | In-field tuition in the classification of coral scars and damage. | Observation of at least ninety percent of damaged colonies and their correct classification during supervised surveys of two sites of damaged colonies. |
| Settlement Tiles | Laboratory identification to highest taxonomic levels. | No greater than ten percent difference in the identifications or numbers of recruits recorded from ten tiles between observers. |

### Foraminiferal abundance and community composition from sediment samples

The density and composition of foraminiferal assemblages were estimated from a subset of the surface sediment samples collected from 14 coral monitoring sites (see section 2.3).  Sediments were washed with freshwater over a 63 m sieve to remove small particles. After drying (>24 h, 60°C), haphazard subsamples (ca. 2 g) of the sediment were taken and, using a dissection microscope, all foraminifera present in these were collected. This procedure was repeated until about 200 foraminifera specimens were collected from each sediment sample. Only intact specimens which showed no sign of ageing were considered. Samples thus defined are a good representation of the present day biocoenosis95 although not all specimens may have been alive during the time of sampling. Species composition of foraminifera was determined in microfossil slides under a dissection microscope following Nobes and Uthicke 2008.96 The dry weight of the sediment and the foraminifera was determined to calculate foraminiferal densities per gram sediment.  These density values were used to calculate the FORAM index.

The FORAM index97 summarises foraminiferal assemblages based on the relative proportions of species classified as either symbiont bearing, opportunistic or heterotrophic and is used as an indicator of coral reef water quality in Florida and the Caribbean Sea.97 In general, a decline in the FORAM index indicates an increase in the relative abundance of heterotrophic species. Symbiotic relationships with algae are advantageous to foraminifera in clean coral reef waters low in dissolved inorganic nutrients and particulate food sources, whereas heterotrophy becomes advantageous in areas of higher turbidity and availability of inorganic and particulate nutrients.98 The FORAM index has been successfully tested in the Great Barrier Reef and corresponded well to water quality variables.99,100

To calculate the FORAM Index foraminifera are arranged into three groups: 1) Symbiont Bearing, 2) Opportunistic and 3) other small (or Heterotrophic).

The proportion of each functional group is then calculated as:

- Proportion Symbiont Bearing = PS= NS/T

- Proportion Opportunistic = PO= NO/T

- Proportion Heterotrophic = Ph= Nh/T

Where Nx = number of foraminifera in the respective group, T= total number of foraminifera in each sample.

The FORAM index is then calculated as FI = 10Ps + Po + 2Ph

The detailed Standard Operational Procedures for foraminiferan enumeration for FORAM index calculation are currently in press101 and included for reference in Appendix A12.

### Sediment quality

Sediment samples were collected from all reefs visited during 2008 for analysis of grain size and of the proportion of inorganic carbon, organic carbon and total nitrogen. At each five-metre deep site, six 30mm deep cores of surface sediment (representing 20 ml of material) were collected haphazardly using syringe tubes along the 120 metre length of the site from available deposits. On the boat, the excess sediment was removed to leave 10 ml in each syringe; this represents the top 10 ml of surface sediment. This sediment was transferred to the labelled sample jar, yielding a pooled sample of 10 ml sediment samples for each site. The sample jars were kept cold and dark in an ice box cooler to minimise bacterial decomposition and volatilisation of the organic compounds until transferred to a freezer at AIMS.

The sediment samples were defrosted and each sample was well-mixed before being sub-sampled (approximately half removed) to a second labelled sample jar for grain-size analysis. The remaining material was dried, ground and analysed for the composition of organic carbon, inorganic carbon, and nitrogen.

Grain size fractions were estimated by sieving larger fractions (>1.4 mm) and MALVERN laser analysis of smaller fractions (<1.4 mm). From 2010, the grain size distributions from sediment samples collected by this study were analysed by Geoscience Australia under a cooperative agreement with AIMS (see Section A13 for analytical details). In 2013 the sieving procedure changed to use of a 1mm sieve prior to laser analysis on the advice from Geoscience Australia.

Total carbon (carbonate carbon + organic carbon) was determined by combustion of dried and ground samples using a LECO Truspec analyser. Organic carbon and total nitrogen were measured using a Shimadzu TOC-V Analyser with a Total Nitrogen unit and a Solid Sample Module after acidification of the sediment with 2M hydrochloric acid. The carbonate carbon component was assumed to be CaCO3 and was calculated as the difference between total carbon and organic carbon values. Detailed procedures are in Appendix A14.

### Temperature monitoring

Temperature loggers are deployed at, or in close proximity to, all locations at both two-metre and five-metre depths and routinely exchanged at the time of the coral surveys (i.e. every 12 or 24 months). Two types of temperature loggers have been used for the sea surface temperature logger program.  The first type was the Odyssey temperature loggers (http://www.odysseydatarecording.com/) these have now been superseded by the Sensus Ultra Temperature logger (http://reefnet.ca/products/sensus/).  The Odyssey Temperature loggers were set to take readings every thirty minutes. The Sensus Temperature loggers were set to take readings every 10 minutes. Loggers were calibrated against a certified reference thermometer after each deployment and generally accurate to ± 0.2°C.

Detailed data download, quality checks and data management methods are described in Appendix A15.

## Data management

Data Management practices are a major contributor to the overall quality of the data collected; poor data management can lead to errors, lost data and can reduce the value of the Reef Plan MMP data. Data from the AIMS MMP inshore coral reef monitoring are stored in a custom-designed Reef Rescue MMP data management system in Oracle 9i databases to allow cross-referencing and access to related data. Once data are uploaded into the oracle databases after the quality assurance and validation processes, they are consolidated in an Access Database via oracle views. The Access Database product was chosen as the delivery mechanism for its simplicity and because most users are familiar with the software (see Appendix A15 for details about general AIMS in-house procedures for data security, data quality checking and backup).

It is AIMS policy that all data collected have a metadata record created for it. The metadata record is created using a Metadata Entry System where the metadata is in the form of ISO19139 XML. This is the chosen format for many agencies across Australia and the International Community that deal with spatial scientific data. You can visit AIMS Metadata System at:

http://data.aims.gov.au/geonetwork/srv/en/main.home.

All coral monitoring field data is recorded on pre-printed datasheets. The use of standard data sheets aids in ensuring standard recording of attributes, and ensures required data are collected.

On return from the field, all data is entered on the same day into database forms linked directly to an Oracle Lite database. Each field on these forms mirror those on pre-printed data sheets and include lookup fields to ensure data entered is of appropriate structure or within predetermined limits. For example, entry of genera to the demography data table must match a pre-determined list of coral genera.

On return to the office, the data is uploaded to an Oracle Database using the Oracle Lite synchronization process. All keyed data is printed and checked against field data sheets prior to final logical checking (ensuring all expected fields are included and tally with number of surveys). Photo images are also stored on a server that is included in a routine automatic back up schedule. Photo images are burnt to DVD prior to analysis as a second backup.

Image analysis of reef monitoring photos is performed within the AIMS monitoring data entry package “reefmon”. This software contains logical checks to all keyed data and is directly linked to a database to ensure data integrity. The directory path to transect images is recorded in the data base. This functionality allows the checking of benthic category identification. All photo transect data is checked by a second experienced observer prior to data analysis and reporting of results.

## Summary

- Use of published Standard Operational Procedures

- Prior to the field data collection staff are trained and assessed by experienced observers to ensure their identification skills are consistent with the resolution required

- Data entry via database forms that include logical checking on format and content of entered fields, and confirmation of data by second observer

- Continual evaluation, method development and improvement of methods

- Advanced data management and security procedures

# Intertidal seagrass monitoring

1Len McKenzie, 2Michelle Waycott, 3Richard Unsworth, 4Catherine Collier

1Fisheries Queensland (Department of Agriculture, Fisheries and Forestry)

2School of Marine and Tropical Biology, James Cook University

3Seagrass Ecosystem Research Group, College of Science, Wallace Building, Swansea University SA2 8PP, UK

4School of Marine and Tropical Biology, James Cook University

## Introduction

Approximately 3,063 square kilometres of inshore seagrass meadows has been mapped in Great Barrier Reef World Heritage Area (GBRWHA) waters shallower than 15 metres, relatively close to the coast, and in locations that can potentially be influenced by adjacent land use practices. Monitoring of the major marine ecosystem types most at risk from land-based sources of pollutants is being conducted to ensure that any change in their status is identified. Seagrass monitoring sites are associated with the river mouth and inshore marine water quality monitoring tasks in the MMP to enable correlation and concurrently collected water quality information.

The key aims of the inshore seagrass monitoring under the MMP are to:

- Understand the status and trend of Great Barrier Reef inshore seagrass (detect long-term trends in seagrass abundance, community structure, distribution, reproductive health, and nutrient status from representative inshore seagrass meadows).

- Identify response of seagrass to environmental drivers of change.

- Integrate reporting on Great Barrier Reef seagrass status including production of seagrass report card metrics for use in an annual Paddock to Reef report card.

## Methods

### Sampling design

The sampling design was selected to detect change in inshore seagrass community status to compare with seagrass environmental status (water quality) in relation to specific catchments or groups of catchments (NRM region). Within each region, a relatively homogenous section of a representative seagrass meadow is selected to represent each of the seagrass habitats present (estuarine, coastal, reef) (habitat (Region)). To account for spatial heterogeneity, two sites were selected within each location (Site [Habitat (Region)]). Subtidal sites were not replicated within locations. Within each site, finer scale variability is accounted for by using three 50-metre transects nested in each site. An intertidal site is defined as a 50mx50m area. The sampling strategy for subtidal sites was modified to sample along 50m transects 2-3 m apart (aligned along the depth contour) due to logistical purposes of SCUBA diving in often poor visibility. At each site, monitoring is conducted during the late-monsoon (April) and late-dry (October) periods each year; additional sampling is conducted at more accessible locations in the dry (July) and monsoon (January).

### Field survey methods - Intershore seagrass meadow abundance, community structure and reproductive health

Site marking

The sampling locations for this program are listed in Figure 7.1 and Table 7.1. Each selected inshore seagrass site is permanently marked with plastic star pickets at the 0 m and 50 m points of the centre transect. Labels identifying the sites and contact details for the program are attached to these pickets. Positions of 0 m and 50 m points for all three transects at a site are also noted using GPS (accuracy ±3 m). This ensures that the same site is monitored each event.

Figure 7.1. Inshore seagrass monitoring sites for the Reef Rescue Marine Monitoring Program

Seagrass cover and species composition

Survey methodology follows standard methodology102  (Appendix D1).  A site is defined as an area within a relatively homogenous section of a representative seagrass community/meadow.103

Monitoring at the 45 sites identified for the MMP long-term inshore monitoring in late-monsoon (April) and late-dry season (October) of each year is conducted by qualified and trained scientists who have demonstrated competency in the methods (see 7.2.3). Monitoring conducted outside these periods is conducted by a trained scientist assisted by volunteers.

At each site, during each survey, observers record the percent seagrass cover within a 50 cm × 50 cm quadrat every 5 m along three 50m transects, placed 25m apart. A total of 33 quadrats are sampled per site. Seagrass abundance is visually estimated as the fraction of the seabed (substrate) obscured by the seagrass species when submerged and viewed from above. This method is used because the technique has wider application and is very quick, requiring only minutes at each quadrat; yet it is robust and highly repeatable, thereby minimising among-observer differences. Quadrat percent cover measurements have also been found to be far more efficient in detecting differences in seagrass abundance than seagrass blade counts or measures of above- or below-ground biomass. To improve resolution and allow greater differentiation at very low percentage covers (e.g. <3%), shoot counts based on global species density maxima were used. For example: 1 pair of Halophila ovalis leaves in a quadrat = 0.1%; 1 shoot/ramet of Zostera in a quadrat = 0.2%. Additional information was collected at the quadrat level, including: seagrass canopy height of the dominant strap leaved species; macrofaunal abundance; abundance of burrows, as an measure of bioturbation; presence of herbivory (e.g. dugong and sea turtle); a visual/tactile assessment of sediment composition (see McKenzie 2007)104; and observations on the presence of superficial sediment structures such as ripples and sand waves to provide evidence of physical processes in the area (see Koch 2001)105.

Seagrass reproductive health

An assessment of seagrass reproductive health at locations identified in Table 7.1 via flower production and seed bank monitoring is conducted in late-dry season (October) of each year at each site. Additional collections are also conducted in late-monsoon (April) where possible.

In the field, 15 haphazardly placed cores (100mm diameter x 100mm depth) of seagrass are collected from an area adjacent, of similar cover and species composition, to each monitoring site. All samples collected are given a unique sample code/identifier providing a custodial trail from the field sample to the analytical outcome.

Seeds banks and abundance of germinated seeds were sampled according to standard methods 102 by sieving (2mm mesh) 30 cores (50mm diameter, 100mm depth) of sediment collected across each site and counting the seeds retained in each. For Zostera muelleri subsp. capricorni, where the seeds are <1mm diameter, intact cores (18) were collected and returned to the laboratory where they were washed through a 710µm sieve and seeds identified using a hand lens/microscope.

Seagrass tissue nutrients

Collection of seagrass leaf tissue (targeted foundation genus include Halodule, Zostera and Cymodocea) for analysis of tissue nutrients (C, N, P, δ15N, δ13C) is conducted in the late-dry season (October) sampling period at regions identified in Table 7.1. Approximately five to 10 grams wet weight of seagrass leaves is harvested from three to six haphazardly chosen plots (two to three m apart) in an area adjacent, of similar cover and species composition, to each monitoring site. All samples collected are given a unique sample code/identifier providing a custodial trail from the field sample to the analytical outcome.

Rhizosphere sediment herbicide (haphazard)

Sediment samples (approximately 250ml) for analysis of herbicide concentrations are collected in late-monsoon (April) at selected monitoring sites when funding is available. Rhizosphere herbicide samples are obtained using a stainless steel spoon and bowl rinsed with acetone between each sample collection. Approximately 20ml of sediment is collected every five metres along each transect to a depth approximately equal to the depth of the rhizome layer. Three homogenised samples (one per each transect) were collected per site. The samples are stored in acetone rinsed Teflon lidded jars provided by the QHFSS. Sediments are kept frozen until analyses by the NATA accredited commercial laboratory at the QHFSS.

### Observer training

The JCU personnel collecting data in association with this project are without exception highly experienced in the collection of seagrass monitoring data. The majority of observers have been involved in seagrass monitoring for at least a decade and were employed specifically for their skills associated with the tasks required.

All observers have successfully completed at Level 1 Seagrass-Watch training course (seagrasswatch.org/training.html) and have demonstrated competency across 7 core units: achieved 80% of formal assessment (classroom and laboratory) (5 units); and demonstrated competency in the field both during the workshop (1 unit) and post workshop (1 unit = successful completion of 3 monitoring events/periods within 12 months). Volunteers who assist JCU scientists have also successfully completed a Level 1 training course.

Technical issues concerning quality control of data are important and are resolved by: using standard methods which ensure completeness in the field (the comparison between the amounts of valid or useable data originally planned to collect, versus how much was collected); using standard seagrass cover calibration sheets to ensure precision (the degree of agreement among repeated measurements of the same characteristic at the same place and the same time) and consistency between observers and across sites at monitoring times. Ongoing standardisation of observers is achieved through routine comparisons during sampling events. Any discrepancy is used to identify and subsequently mitigate bias. For the most part however uncertainties in percentage cover or species identification are mitigated in the field via direct communication, or the collection of voucher specimens (to be checked under microscope and pressed in herbarium) and the use of a digital camera to record images (protocol requires at least 27% of quadrats are photographed) for later identification and discussion. Evidence of competency is securely filed on a secure server in Cairns at James Cook University

Howley Consulting is responsible for surveys in the Cooktown region. The Howley Consulting observer, Christina Howley, has been assessing seagrass resources in the Cape York region for over a decade and has successfully completed a Level 1 training course .

Table 7.1. Reef Rescue MMP inshore seagrass long-term monitoring sites.

NRM region from www.nrm.gov.au. * = intertidal, ^=subtidal.

| GBR region | NRM region (Board) | Catchment | Monitoring location | Site |  | Latitude |  | Longitude |  | Seagrass community type |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Far Northern | Cape York |  | Shelburne Bay coastal | SR1* | Shelburne Bay | 11° | 53.233 | 142° | 54.851 | H. ovalis with H. uninervis/T. hemprichii |
|  |  |  |  | SR2* | Shelburne Bay | 11° | 53.251 | 142° | 54.938 | H. ovalis with H. uninervis/T. hemprichii |
|  |  |  | Piper Reef reef | FR1* | Farmer Is. | 12° | 15.352 | 143° | 14.020 | T. hemprichii with C. rotundata/H. ovalis |
|  |  |  |  | FR2* | Farmer Is. | 12° | 15.448 | 143° | 14.185 | T. hemprichii with C. rotundata/H. ovalis |
|  |  | Normanby | Stanley Island reef | ST1* | Stanley Island | 14° | 8.576 | 144° | 14.680 | H. ovalis/H. uninervis with T. hemprichii/C. rotundata |
|  |  |  |  | ST2* | Stanley Island | 14° | 8.547 | 144° | 14.588 | H. ovalis/H. uninervis with T. hemprichii/C. rotundata |
|  |  |  | Bathurst Bay coastal | BY1* | Bathurst Bay | 14° | 16.082 | 144° | 13.961 | H. uninervis with H. ovalis/T. hemprichii/C. rotundata |
|  |  |  |  | BY2* | Bathurst Bay | 14° | 16.062 | 144° | 13.896 | H. uninervis with H. ovalis/T. hemprichii/C. rotundata |
|  |  | Endeavour | Cooktown reef | AP1* | Archer Point | 15° | 36.500 | 145° | 19.143 | H. univervis/ H. ovalis with Cymodocea/T. hemprichii |
|  |  |  |  | AP2* | Archer Point | 15° | 36.525 | 145° | 19.108 | H. univervis/H. ovalis with C. rotundata |
| Northern | Wet Tropics (Terrain NRM) | Mossman | Low Isles reef | LI1* | Low Isles | 16° | 23.11 | 145° | 33.88 | H.ovalis/H.uninervis |
|  |  |  |  | LI2^ | Low Isles | 16° | 22.97 | 145° | 33.85 | H.ovalis/H.uninervis |
|  |  | Barron Russell -Mulgrave Johnstone | Cairns coastal | YP1* | Yule Point | 16° | 34.159 | 145° | 30.744 | H. uninervis with H. ovalis |
|  |  |  |  | YP2* | Yule Point | 16° | 33.832 | 145° | 30.555 | H. uninervis with H. ovalis |
|  |  |  | Green Island reef | GI1* | Green Island | 16° | 45.789 | 145° | 58.31 | C. rotundata/T. hemprichii with H. uninervis/H. ovalis |
|  |  |  |  | GI2* | Green Island | 16° | 45.776 | 145° | 58.501 | C. rotundata/T. hemprichii with H. uninervis/H. ovalis |
|  |  |  |  | GI3^ | Green Island | 16° | 45.29 | 145° | 58.38 | C. rotundata/ H. uninervis/C.serrulata/S.isoetifolium |
|  |  | Tully | Mission Beach coastal | LB1* | Lugger Bay | 17° | 57.645 | 146° | 5.61 | H. uninervis |
|  |  |  |  | LB2* | Lugger Bay | 17° | 57.674 | 146° | 5.612 | H. uninervis |
|  |  |  | Dunk Island reef | DI1* | Dunk Island | 17° | 56.6496 | 146° | 8.4654 | H. uninervis with T. hemprichii/ C. rotundata |
|  |  |  |  | DI2* | Dunk Island | 17° | 56.7396 | 146° | 8.4624 | H. uninervis with T. hemprichii/ C. rotundata |
|  |  |  |  | DI3^ | Dunk Island | 17° | 55.91 | 146° | 08.42 | H. uninervis / H. ovalis/H.decipiens/C. serrulata |
| Central | Burdekin (NQ Dry Tropics) | Burdekin | Magnetic island reef | MI1* | Picnic Bay | 19° | 10.734 | 146° | 50.468 | H. uninervis with H. ovalis & Zostera/T. hemprichii |
|  |  |  |  | MI2* | Cockle Bay | 19° | 10.612 | 146° | 49.737 | C. serrulata/ H. uninervis with T. hemprichii/H. ovalis |
|  |  |  |  | MI3^ | Picnic Bay | 19° | 10.734 | 146° | 50.468 | H. uninervis with H. ovalis & Zostera/T. hemprichii |
|  |  |  | Townsville coastal | SB1* | Shelley Beach | 19° | 11.046 | 146° | 45.697 | H. uninervis with H. ovalis |
|  |  |  |  | BB1* | Bushland Beach | 19° | 11.028 | 146° | 40.951 | H. uninervis with H. ovalis |
|  |  |  | Bowling Green Bay coastal | JR1* | Jerona (Barratta CK) | 19° | 25.380 | 147° | 14.480 | H. uninervis with Zostera/H. ovalis |
|  |  |  |  | JR2* | Jerona (Barratta CK) | 19° | 25.281 | 147° | 14.425 | H. uninervis with Zostera/H. ovalis |
|  | Mackay Whitsunday (Reef Catchments) | Proserpine | Whitsundays coastal | PI2* | Pioneer Bay | 20° | 16.176 | 148° | 41.586 | H. uninervis/ Zostera with H. ovalis |
|  |  |  |  | PI3* | Pioneer Bay | 20° | 16.248 | 148° | 41.844 | H. uninervis with Zostera/H. ovalis |
|  |  |  | Whitsundays reef | HM1* | Hamilton Island | 20° | 20.7396 | 148° | 57.5658 | H. uninervis with H. ovalis |
|  |  |  |  | HM2* | Hamilton Island | 20° | 20.802 | 148° | 58.246 | Z. muelleri with H. ovalis/H. uninervis |
|  |  | Pioneer | Mackay estuarine | SI1* | Sarina Inlet | 21° | 23.76 | 149° | 18.2 | Z. muelleri with H. ovalis (H. uninervis) |
|  |  |  |  | SI2* | Sarina Inlet | 21° | 23.712 | 149° | 18.276 | Z. muelleri with H. ovalis (H. uninervis) |
| Southern | Fitzroy (Fitzroy Basin Association) | Fitzroy | Shoalwater Bay coastal | RC1* | Ross Creek | 22° | 22.953 | 150° | 12.685 | Zostera muelleri with H. ovalis |
|  |  |  |  | WH1* | Wheelans Hut | 22° | 23.926 | 150° | 16.366 | Zostera muelleri with H. ovalis |
|  |  |  | Keppel Islands reef | GK1* | Great Keppel Is. | 23° | 11.7834 | 150° | 56.3682 | H. uninervis with H. ovalis |
|  |  |  |  | GK2* | Great Keppel Is. | 23° | 11.637 | 150° | 56.3778 | H. uninervis with H. ovalis |
|  |  | Boyne | Gladstone Harbour estuarine | GH1* | Gladstone Hbr | 23° | 46.005 | 151° | 18.052 | Zostera muelleri with H. ovalis |
|  |  |  |  | GH2* | Gladstone Hbr | 23° | 45.874 | 151° | 18.224 | Zostera muelleri with H. ovalis |
|  | Burnett Mary (Burnett Mary Regional Group) | Burnett | Rodds Bay estuarine | RD1* | Rodds Bay | 24° | 3.4812 | 151° | 39.3288 | Zostera muelleri with H. ovalis |
|  |  |  |  | RD2* | Rodds Bay | 24° | 4.866 | 151° | 39.7584 | Zostera muelleri with H. ovalis |
|  |  | Mary | Hervey Bay estuarine | UG1* | Urangan | 25° | 18.053 | 152° | 54.409 | Zostera muelleri with H. ovalis |
|  |  |  |  | UG2* | Urangan | 25° | 18.197 | 152° | 54.364 | Zostera muelleri with H. ovalis |

### Laboratory analysis - Inshore seagrass meadow abundance, community structure and reproductive health

Seagrass reproductive health

In the laboratory, reproductive structures (spathes, fruit, female flower or male flowers; Figure 7.2.) of plants from each core are identified and counted for each sample and species. If Halodule uninervis seeds (brown green colour) are still attached to the rhizome, they are counted as fruits. Seed estimates are not recorded for Halophila ovalis due to time constraints (if time is available post this first pass of the samples, fruits will be dissected and seeds counted). For Zostera muelleri subsp. capricorni, the number of spathes is recorded, male and female flowers and seeds counted during dissection, if there is time after the initial pass of the samples. Apical meristems are counted if possible, however most are not recorded as they were too damaged by the collection process to be able to be identified correctly. The number of nodes for each species is counted, and for each species present in the sample, 10 random internode lengths and 10 random leaf widths are measured. Approximately 5% of samples are cross-calibrated between technicians (preferable from another centre). All samples, including flowers and spathes and fruits/fruiting bodies are kept and re-frozen in the site bags for approximately 2 years for revalidation if required.

Reproductive effort is calculated as the number of reproductive structures per core.

Figure 7.2. Form and size of reproductive structure of the seagrasses collected: Halophila ovalis, Halodule uninervis and Zostera muelleri subsp. capricorni

Seagrass tissue nutrients

Leaves are separated in the laboratory into seagrass species and epiphytic algae removed by gently scraping the leaf surface. Samples are oven dried at 60°C to weight constancy. Dried biomass samples of leaves are then homogenised by milling to fine powders prior to nutrient analyses and stored in sealed vials.

The ground tissue samples are sent to Chemcentre (Western Australia) for analysis. The Chemcentre holds NATA accreditation for constituents of the environment including soil, sediments, waters and wastewaters. (Note that details of Chemcentre accreditation can be found at the NATA website: http://www.nata.asn.au/). The NATA accreditation held by the ChemCentre includes a wide variety of QA/QC procedures covering the registration and identification of samples with unique codes and the regular calibration of all quantitative laboratory equipment required for the analysis. The ChemCentre has developed appropriate analytical techniques including QA/QC procedures and detection of nutrients. These procedures include blanks, duplicates where practical, and internal use of standards. In 2010, QA/QC also included an inter-lab comparison (using Queensland Health and Scientific Services – an additional NATA accredited laboratory) and an additional blind internal comparison.

Nitrogen and phosphorus are extracted using a standardized selenium Kjeldahl digest and the concentrations determined with an automatic analyser using standard techniques at Chemcentre in Western Australia (a NATA certified laboratory). Per cent C was determined using atomic absorption, also at Chemcentre. Elemental ratios (C:N:P) are then calculated on a mole:mole basis using atomic weights (i.e., C=12, N=14, P=31). Analysis of all seagrass tissue nutrient data is based upon the calculation of the atomic ratios of C:N:P.

To determine per cent carbon, dried and milled seagrass leaf tissue material is combusted at 1400°C in a controlled atmosphere (e.g. Leco). This converts all carbon containing compounds to carbon dioxide.  Water and oxygen is then removed from the system and the gaseous product is determined spectrophotometrically.

Total nitrogen and phosphorus content of dried and milled homogenous seagrass tissue material is determined by Chemcentre using a standardized selenium Kjeldahl digest. Samples are digested in a mixture of sulphuric acid, potassium sulphate and a copper sulphate catalyst (cf. Kjeldahl).  This converts all forms of nitrogen to the ammonium form and all forms of phosphorus to the orthophosphate form.  The digest is diluted and any potentially interfering metals present are complexed with citrate and tartrate. For the nitrogen determination an aliquot is taken and the ammonium ions are determined colorimetrically following reduction with hydrazine to the nitrate ion, followed by diazotisation of 1-naphthylenediamine and subsequent coupling with sulphanilamide. For total phosphorus an aliquot of the digest solution is diluted and the P determined as the phosphomolybdenum blue complex (modified Murphy and Riley106 procedure).

Seagrass leaf isotopes

A subset of each ground tissue sample was sent to Natural Isotopes (Western Australia) for δ15N and δ13C analysis. The samples were weighed into tin capsules and combusted by elemental analyser (ANCA-SL, SerCon Limited, Crewe, United Kingdom) to N2 and CO2.  The N2 and CO2 was purified by gas chromatography and the nitrogen and carbon elemental composition and isotope ratios were determined by continuous flow isotope ratio mass spectrometry (20-22 IRMS, SerCon Limited, Crewe, United Kingdom).  Reference materials of know elemental composition and isotopic ratios were interspaced with the samples for calibration.

Raw nitrogen and carbon elemental composition and isotope ratio data were corrected for instrument drift and blank contribution using Callisto software SerCon Limited, Crewe, United Kingdom).  A standard analysed at variable weights corrects for instrument linearity, IAEA-N-2 and IAEA-N-1 used to normalise the nitrogen isotope ratio, IAEA-CH-6 and IAEA-CH-7 to normalise the carbon isotope ratio, such that IAEA-N-2 (δ15N = 20.32‰), IAEA-N-1 (δ15N = 0.43‰), IAEA-CH-6 (δ13C = -10.45‰) and IAEA-CH-7 δ13C = -32.15‰).

Nitrogen isotope ratios were reported in parts per thousand (per mil) relative to N2 in air.  The nitrogen bearing internationally distributed isotope reference material N2 in air had a given value of 0‰ (exactly).  Carbon isotope ratios were reported in parts per thousand (per millilitre) relative to V-PDB.  The carbon bearing internationally distributed isotope reference materials NBS19 and L-SVEC, had a given value of +1.95‰ (exactly) and -46.6‰ (exactly). Compositional values were reported as percent nitrogen and percent carbon present in the sample analysed.

Rhizosphere sediment herbicide (haphazard)

Extraction, clean-up and analysis of the sediments for herbicides is conducted according to NATA approved methods developed by the QHFSS. Approximately 50 grams of sediment is extracted overnight on an orbital shaker using a mixture of acetone and hexane (50:50). The organic layer is filtered through sodium sulphate and then concentrated using a rotary evaporator to a low volume. The extract is solvent exchanged into Methanol/water (50:50) (1 ml) and quantisation is performed using high performance liquid chromatography attached to a triple stage mass spectrometer (LCMSMS). A separate ten grams of sediment is taken for dry weight calculations.

Limits of Reporting on a dry weight basis are:

- Atrazine and metabolites 0.1 µg/kg.

- Diuron 0.1 µg/kg.

- Irgarol 0.5 µg/kg.

Each batch of samples are run with a reagent blank and a sample fortified with a known concentration of the analytes to give a concentration in the sediment of diuron 5 µg/kg , atrazine 5 µg/kg and irgarol 2 µg/kg. An internal standard, deuterated atrazine, is added to all samples, fortified sample, reagent blank and standards before LCMSMS quantification. Certified reference standards are used for instrument calibration with a standard being run every 10 samples. Where possible, a duplicate sample, is analysed every 10 samples.

The Acceptance Criteria applied by the QHFSS are:

- For normal residue analysis, spike recoveries should fall within three standard deviations of the mean when plotted on a control chart. Where no control chart is available for a new or unusual matrix, recoveries between 65-120% recovery should be obtained for sediment matrices

- There should be no interference in the reagent blank

- Results must fall within the linear range of the detector. If results fall outside the linear range, extracts must be diluted and re-analysed

- Comment: At the present time Irgarol recoveries from sediments are approximately 35%. This is reflected in the higher limit of reporting

### Sampling design - Inshore seagrass meadow boundary mapping

Mapping the edge of the seagrass meadow within 100 metres of each monitoring site is conducted in both the late dry (October) and late monsoon (April) monitoring periods at all sites identified in Table 7.1. Training and equipment (GPS) are provided to personnel involved in the edge mapping.

Mapping methodology follows standard methodology107 (Appendix D1). Edges are recorded as tracks (1 second polling) or a series of waypoints in the field using a portable Global Positioning System receiver (i.e. Garmin GPSmap 60CSx or 62s). Accuracy in the field is dependent on the portable GPS receiver (Garmin GPSmap 60CSx is <15m RMS95% (DGPS (USCG) accuracy: 3-5m, 95% typical) and how well the edge of the meadow is defined. Generally accuracy is within that of the GPS (i.e. three to five metres) and datum used is WGS84. Tracks and waypoints are downloaded from the GPS to portable computer using MapSource or BaseCamp software as soon as practicable (preferably on returning from the day’s activity) and exported as *.dxf files to ESRI ArcGIS™. Subtidal edge mapping data has yet to be plotted.

Mapping is conducted by trained and experienced scientists using ESRI ArcMap™ 9.3 (Environmental Systems Research Institute, ArcGIS™ Desktop 9.3). Boundaries of meadows are determined based on the positions of survey Tracks and/or Waypoints and the presence of seagrass. Edges are mapped using the polyline feature to create a polyline (i.e. ‘join the dots’) which is then smoothed using the B-spline algorithm. The smoothed polyline is then converted to a polygon and saved as a shapefile. Coordinate system (map datum) used for projecting shapefile is AGD94.

In certain cases seagrass meadows form very distinct edges that remain consistent over many growing seasons. However, in other cases the seagrass landscape tends to grade from dense continuous cover to no cover over a continuum that includes small patches and shoots of decreasing density. Boundary edges in patchy meadows are vulnerable to interpreter variation, but the general rule is that a boundary edge is determined where there is a gap with the distance of more than three metres (i.e. accuracy of the GPS). Final shapefiles are then overlayed with aerial photographs and base maps (AusLig™) to assist with illustration/presentation.

The expected accuracy of the map product gives some level of confidence in using the data. Using the GIS, meadow boundaries are assigned a quality value based on the type and range of mapping information available for each site and determined by the distance between waypoints and GPS position fixing error. These meadow boundary errors are used to estimate the likely range of area for each meadow mapped (see Lee Long et al. 1997108 and McKenzie1996 and 1998109,110).

Mapping at subtidal sites has been altered to suit the low visibility conditions and the requirement to map by SCUBA. From the central picket (deployment location of light and turbidity loggers) straight lines are run at an angle of 45 degrees until the seagrass meadow boundary is reached or there is a gap of greater than three metres. A GPS is attached to a flotation device at the surface of the water and fastened to the SCUBA diver to record travelling distance and transect orientation. Eight lines at 45 degrees are performed, with the first following the orientation of the monitoring transects; the others are undertaken at 45 degree angles from the first.

### Sampling design - Within seagrass canopy temperature loggers

Autonomous iBTag™ submersible temperature loggers are deployed at all sites identified in Table 7.1. The loggers record temperature (degrees Celsius) within the seagrass canopy every 30 to 90 minutes (depending on duration of deployment and logger storage capacity) and store data in an inbuilt memory which is downloaded every three to six months, depending on the site.

iBCod 22L model of iBTag™ loggers are used as they can withstand prolonged immersion in salt water to a depth of 600 metres. It is reinforced with solid titanium plates and over molded in a tough polyurethane casing that can take a lot of rough handling.

Main features of the iBCod 22L include:

- Operating temperature range: -40 to +85°C.

- Resolution of readings: 0.5°C or 0.0625°C.

- Accuracy: ±0.5°C from -10°C to +65°C.

- Sampling Rate: 1 second to 273 hours.

- Number of readings: 4,096 or 8,192 depending on configuration.

- Password protection, with separate passwords for read only and full access.

The large capacity of this logger allows the collection of 171 days of readings at 30 minute intervals.

iBCod 22L submersible temperature loggers are placed at the permanent marker at each site for three to six months (depending on monitoring frequency). Loggers are attached to the permanent station marker using cable ties, above the sediment-water interface. This location ensures that the sensors are not exposed to air unless the seagrass meadow is completely drained and places them out of sight of curious people.

Each logger has a unique serial number which is recorded within a central secure database. The logger number is recorded on the monitoring site datasheet with the time of deployment and collection. At each monitoring event (every three to six months) the iBTag™ temperature loggers are removed and replaced with a fresh logger (these are dispatched close to the monitoring visit). After collection, details of the logger number, field datasheet (with date and time) and logger are returned for downloading.

Logger deployment and data retrieval is carried out by JCU professional and technical personnel who have been trained in the applied methods. Methods and procedures documents are available to relevant staff and are collectively kept up-to-date. Changes to procedures are developed and discussed and recorded in metadata records.

### Sampling design and logistics - Seagrass meadow canopy light loggers

Autonomous light loggers are deployed at selected nearshore and offshore seagrass sites in all regions monitored (Table 7.2).

Table 7.2. Monitoring sites selected for light logger data collection in the Reef Rescue Marine Monitoring Program

| GBR Region | Catchment | Zone | Site | Latitude |  | Longitude |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Far North |  | Nearshore intertidal | Shelburne Bay | 11° | 53.251 | 142° | 54.938 |
|  |  | Offshore intertidal | Piper Reef | 12° | 15.352 | 143° | 14.020 |
|  | Normanby | Offshore intertidal | Stanley Island | 14° | 8.576 | 144° | 14.680 |
|  |  | Nearshore intertidal | Bathurst Bay | 14° | 16.062 | 144° | 13.896 |
| North | Daintree | Offshore intertidal & subtidal | Low Isles | 16° | 23.11 | 145° | 33.88 |
|  | Barron, Russell/ Mulgrave, Johnstone | Offshore intertidal & subtidal | Green Island | 16° | 45.789 | 145° | 58.31 |
|  |  | Nearshore intertidal | Yule Point | 16° | 34.159 | 145° | 30.744 |
|  | Tully/Murray | Offshore intertidal & subtidal | Dunk Island | 17° | 56.75 | 146° | 08.45 |
| Central | Burdekin | Offshore intertidal & subtidal | Picnic Bay | 19° | 10.734 | 146° | 50.468 |
|  |  | Offshore intertidal | Cockle Bay | 19° | 10.612 | 146° | 49.737 |
|  |  | Nearshore intertidal | Bushland Beach | 19° | 11.028 | 146° | 40.951 |
|  |  | Nearshore intertidal | Barratta Creek | 19° | 25.380 | 147° | 14.480 |
|  | Proserpine | Offshore intertidal | Hamilton Island | 20° | 20.802 | 148° | 58.246 |
|  |  | Nearshore intertidal | Pioneer Bay | 20° | 16.176 | 148° | 41.586 |
|  | Pioneer | Nearshore intertidal | Sarina Inlet | 21° | 23.76 | 149° | 18.2 |
| Southern | Fitzroy | Offshore intertidal | Great Keppel Island | 23° | 11.7834 | 150° | 56.3682 |
|  |  | Nearshore intertidal | Shoalwater Bay | 22° | 23.926 | 150° | 16.366 |
|  | Boyne | Nearshore intertidal | Gladstone Hbr | 23° | 46.005 | 151° | 18.052 |
|  | Burnett | Nearshore intertidal | Rodds Bay | 24° | 4.866 | 151° | 39.7584 |
|  | Mary | Nearshore intertidal | Urangan | 25° | 18.197 | 152° | 54.364 |

Submersible Odyssey™ photosynthetic irradiance loggers are placed at the permanent marker at each of the sites for three to six month periods (depending on monitoring frequency).

Odyssey™ data loggers (Odyssey, Christchurch, New Zealand) record Photosynthetically Active Radiation (400-1100nm) and store data in an inbuilt memory which is retrieved every three to six months, depending on the site. Each logger has the following technical specifications:

- Cosine corrected photosynthetic irradiance sensor 400-700 nm.

- Cosine corrected solar irradiance sensor 400-1100 nm.

- Integrated count output recorded by Odyssey data recorder.

- User defined integration period.

- Submersible to 20m water depth.

- 64k memory.

The logger is self-contained in a pressure-housing with batteries providing sufficient power for deployments of longer than six months. For field deployment, loggers are attached to a permanent station marker using cable ties; this is above the sediment-water interface at the bottom of the seagrass canopy. This location ensures that the sensors are not exposed to air unless the seagrass meadow is almost completely drained and places them out of sight of curious people. At subtidal sites, the loggers are deployed on the sediment surface (attached to a permanent marker) with the sensor at seagrass canopy height. Two loggers are deployed at subtidal sites as there is an increased chance of logger fouling, and the dual logger set-up offers a redundant data set in the instance that one logger fouls completely. Where possible, additional light loggers are deployed at subtidal sites 80 cm from the sediment surface. Data from this logger, together with data from the logger at canopy height, is used for calculation of the light attenuation co-efficient. Furthermore, another logger is deployed above the water surface at each of the subtidal monitoring stations. These additional loggers (surface and subtidal higher in the water column) allow comparison of water quality indices for some of the time.

Measurements are recorded by the logger every 30 minutes (this is a cumulative 30 minute reading). Experiments utilizing loggers with and without wipers were conducted to determine the benefits of wiper use and it was confirmed that the wipers improved the quality of the data by keeping the sensor free from fouling. Automatic wiper brushes are attached to each logger to clean the optical surface of the sensor every 30 minutes to prevent marine organisms fowling the sensor, or sediment settling on the sensor, both of which would diminish the light reading.

Each light logger has a unique serial number which is recorded within a central secure database. The logger number is recorded on the monitoring site datasheet with the time of deployment and collection. At each monitoring event (every three to six months) the light loggers are removed and replaced with a ‘fresh’ logger. At subtidal monitoring sites, the loggers are checked by SCUBA by JCU (and replaced if fouled) every six weeks due to the increased fouling rates at permanently submerged sites. After collection, details of the logger number, field datasheet (with date and time) and logger are returned to JCU for downloading.

Photographs of the light sensor and/or notes on the condition of the sensor are recorded at logger collection. If fouling is major (e.g. wiper failure), the data are truncated to included only that data before fouling began – usually one to two weeks. If fouling was minor (up to ~25% of the senor covered), back corrections to the data are made to allow for a linear rate of fouling (linear because with minor fouling it is assumed that the wiper was retarding algal growth rates, but not fully inhibiting them).

### Calibration procedures - Seagrass meadow canopy light loggers

Loggers are calibrated against a certified reference Photosynthetically Active Radiation sensor (Li-Cor™ Li-192SB Underwater Quantum Sensor) against a Li-Cor light source in controlled laboratory conditions.

The Li-192SB sensor is cosine corrected and specifications are:

- Absolute calibration: ±5% in air.

- Relative error: <±5% under most conditions.

- Sensitivity: typically 3μA per 1000μE s-1 m-2 in water.

The reference light sensor is calibrated before deployment by James Cook University (JCU). The calibration of each logger is logged within metadata and corresponds to the serial numbers attached to each logger. The calibration is performed in air and a 1.33 conversion factor is applied to the data to allow for the difference in light transmission to the sensor between air and water.111 This factor is not applied when the sensor is immersed at low tide, and emersion is estimated from actual sea level data provided by Maritime Safety Queensland.

Logger deployment and data retrieval is carried out by scientific personnel who have been trained in the applied methods. Methods and procedures documents are available to relevant staff and are collectively kept up-to-date. Changes to procedures are developed and discussed and recorded in metadata records.

### Sampling design and logistics - Turbidity loggers

ECO FLNTU loggers (Wetlabs), which measure chlorophyll, fluorescence and turbidity, are deployed at Green Island and Magnetic Island (Picnic Bay) subtidal sites. They are attached to star pickets 80cm from the sediment surface. Up to February 2011 a FLNTU logger was also deployed at Dunk Island, however this logger was lost during TC Yasi and cannot be replaced. Logger calibration and attachment procedures used by the inshore water quality monitoring sub-program (AIMS) are employed. Loggers are replaced and re-calibrated every three months during routine subtidal monitoring.  Instrumental data are validated by comparison to chlorophyll a samples and TSS samples collected at logger deployment and retrieval. See section 2.2.3 'Autonomous environmental water quality loggers' for further details on QA/QC procedures for FLNTU loggers.

## Data management

### Inshore seagrass meadow abundance, community structure and reproductive health

TropWATER (JCU) has systems in place to manage the way Reef Rescue MMP and Seagrass-Watch data is collected, organised, documented, evaluated and secured. All data is collected and collated in a standard format. Seagrass-Watch HQ (JCU) has implemented a quality assurance management system to ensure that data collected is organised and stored and able to be used easily.

All data (datasheets and photographs) received are entered onto a relational database on a secure server at James Cook University, Cairns campus. Receipt of all original data hardcopies is documented and filed within the Seagrass-Watch HQ File Management System, a formally organised and secure system. The database is routinely backed up (in multiple places). Seagrass-Watch HQ (JCU) operates as custodian of data collected and provides an evaluation and analysis of the data for reporting purposes. Access to the IT system and databases is restricted to only authorised personnel.

Seagrass-Watch HQ (JCU) performs a quality check on the data. Seagrass-Watch HQ provides validation of data and attempts to correct incidental/understandable errors where possible (e.g. blanks are entered as -1 or if monospecific meadow percentage composition = 100%) (seagrasswatch.org/data_entry.html). Validation is provided by checking observations against photographic records to ensure consistency of observers and by identification of voucher specimens submitted.

In accordance with QA/QC protocols, Seagrass-Watch HQ advises observers via an official Data Error Notification of any errors encountered/identified and provides an opportunity for correction/clarification (this may include additional training) (see example provided in Appendix D4). Any data considered unsuitable (e.g. nil response to data notification within 30 days) is quarantined or removed from the database.

### Inshore seagrass meadow boundary mapping

After field collection, data points are downloaded from the GPS into computer memory and the data exported to ESRI ArcGIS™. An administration file (*.gdb) is generated by the MapSource software that contains metadata information about the tracks, waypoints, dates and times of the measurements, and general comments. Data and metadata are stored on the TropWATER (JCU, Cairns) secure server.

### Within seagrass canopy temperature loggers

After retrieval, data are downloaded into computer memory and the data are displayed as graphs to allow visual identification of outliers. These outliers are then tagged and removed from the datasets (e.g. a temperature spike below -10°C or above 65°C). Other data adjustments are usually removal of data points from the beginning and end of the data series, e.g. when the logger was not attached to the permanent peg. An administration file is generated by the logger software that contains metadata information about the deployment site, dates and times of the start and stop of measurements, and general comments. Data and metadata are stored in a temporary Microsoft® Access database.

Loggers are then launched for the next deployment. All data are transferred into the existing TropWATER (JCU) database.

### Seagrass meadow canopy light loggers

After retrieval, data are downloaded into computer memory and the data are displayed as graphs to allow visual identification of outliers. These outliers are then tagged and removed from the datasets; such outliers however have mostly not been present. During the placement and retrieval of the logger, the site or logger may suffer a short disturbance from the technician; adjustments are made to the data to remove a small number of data points from the beginning and end of the data series to account for this.

An administration file is generated by the logger software that contains metadata information about the deployment site, dates and times of the start and stop of measurements, and general comments. Data and metadata are stored in a temporary Microsoft® Access database.

Loggers are then launched for the next deployment. All data are transferred into the existing JCU database.

JCU is also working on assigning values to the level of confidence in the data. For example, sometimes corrections are made to light data to account for minor fouling. We would like to add a code to the data that indicates that we have reduced confidence in it because we have made adjustments.

## Summary of Quality Control measures

### Inshore seagrass meadow abundance, community structure and reproductive health

- Training of field staff.

- Sampling guidelines.

- Document control.

- Analytical Quality Control measures.

- Data entry Quality Control.

### Inshore seagrass meadow boundary mapping

- Training of deployment and retrieval staff.

- Data download control.

- Training of staff using ESRI ArcGIS™ Desktop 9.3 software.

### Within seagrass canopy temperature loggers

- Training of deployment and retrieval staff.

- Use of serial numbers to provide unique identification to individual loggers.

- Data download control.

- Data entry Quality Control.

### Seagrass meadow canopy light loggers

- Use of serial numbers to provide unique identification to individual loggers.

- Training of deployment and retrieval staff.

- Calibration of loggers with certified reference light sensor.

- Data entry Quality Control.

# References

1. Great Barrier Reef Marine Park Authority 2009, Great Barrier Reef Outlook Report 2009, GBRMPA, Townsville, .

2. Wilson, S.K., Bellwood, D.R., Choat, J.H. and Furnas, M.J. 2003, Detritus in the epilithic algal matrix and its use by coral reef fishes, Oceanography and Marine Biology: An Annual Review 41: 279-309.

3. Hutchings, P.A., Haynes, D., Goudkamp, K. and McCook, L.J. 2005, Catchment to reef: water quality issues in the Great Barrier Reef Region—an overview of papers, Marine Pollution Bulletin 51(1-4): 3-8.

4. Moss, A.J., Rayment, G.E., Reilly, N. and Best, E.K. 1992, Sediment and Nutrient Exports from Queensland Coastal Catchments, A Desk Study, Dept of Environment & Heritage, Dept of Primary Industries, Queensland, viewed dd/mm/yyyy, <Nutrients Terresterial>.

5. Neil, D.T., Orpin, A.R., Ridd, P.V. and Yu, B. 2002, Sediment yield and impacts from river catchments to the Great Barrier Reef Lagoon, Marine and Freshwater Research 53(4): 733-752.

6. Furnas, M. 2003, Catchments and corals: terrestrial runoff to the Great Barrier Reef, Australian Institute of Marine Science, Townsville.

7. McCulloch, M., Fallon, S., Wyndham, T., Hendy, E., Lough, J.M. and Barnes, D. 2003, Coral record of increased sediment flux to the inner Great Barrier Reef since European settlement, Nature 421(6924): 727-730.

8. Department of the Premier and Cabinet 2008, Scientific consensus statement on water quality in the Great Barrier Reef, DPC, Brisbane, .

9. Devlin, M., Waterhouse, J., Taylor, J. and Brodie, J. 2001, Flood plumes in the Great Barrier Reef: Spatial and temporal patterns in composition and distribution, Great Barrier Reef Marine Park Authority, Townsville, viewed dd/mm/yyyy, <http://www.gbrmpa.gov.au/corp_site/info_services/publications/research_publications/rp068/index.html>.

10. Collier, C. and Waycott, M. 2009, Drivers of change to seagrass distributions and communities on the Great Barrier Reef, literature review and gaps analysis. Report to the Marine and Tropical Sciences Research Facility, Reef and Rainforest Research Centre, Cairns, viewed dd/mm/yyyy, <http://www.rrrc.org.au/publications/downloads/113-JCU-Collier-C-et-al-2009-Seagrass-Disturbance-Review.pdf>.

11. Fabricius, K.E. 2005, Effects of terrestrial runoff on the ecology of corals and coral reefs: Review and synthesis, Marine Pollution Bulletin 50(2): 125-146.

12. van Dam, J.W., Negri, A.P., Mueller, J.F. and Uthicke, S. 2012, Symbiont-specific responses in foraminifera to the herbicide diuron, Marine Pollution Bulletin in press.

13. Fabricius, K.E. 2011, Factors determining the resilience of coral reefs to eutrophication: A review and conceptual model, in Coral Reefs: An Ecosystem in Transition, eds Z. Dubinsky and N. Stambler, Springer, Dordrecht, pp. 493-508.

14. Cooper, T.F., Gilmour, J.P. and Fabricius, K.E. 2009, Bioindicators of changes in water quality on coral reefs: review and recommendations for monitoring programmes, Coral Reefs 28(3): 589-606.

15. Haynes, D.B., Brodie, J., Waterhouse, J., Bainbridge, Z., Bass, D. and Hart, B. 2007, Assessment of the water quality and ecosystem health of the Great Barrier Reef (Australia): conceptual models, Environmental Management 40(6): 993-1003.

16. Great Barrier Reef Marine Park Authority 2010, Water quality guidelines for the Great Barrier Reef Marine Park, GBRMPA, Townsville, viewed dd/mm/yyyy, <http://www.gbrmpa.gov.au/__data/assets/pdf_file/0017/4526/GBRMPA_WQualityGuidelinesGBRMP_RevEdition_2010.pdf>.

17. Australian and New Zealand Environment and Conservation Council and Agriculture and Resource Management Council of Australia and New Zealand 2000, Australian and New Zealand guidelines for fresh and marine water quality, National Water Quality Management Strategy Paper No 4, ANZECC and ARMCANZ, Canberra, .

18. ANZECC & ARMCANZ 2000 2000, National Water Quality Management Strategy, Australian Government,viewed dd/mm/yyyy, <http://www.environment.gov.au/water/policy-programs/nwqms/index.html>.

19. Booij, K., Vrana, B. and  Huckins, J.N. 2007, Theory, modelling and calibration of passive samplers used in water monitoring, in Passive sampling techniques in environmental monitoring, eds R. Greenwood, G. Millis and  B. Vrana, Elsevier Amsterdam, Amsterdam, pp. 141-169.

20. Shaw, M. and Mueller, J.F. 2009, Time Integrative Passive Sampling: how well do Chemcatchers integrate fluctuating pollutant concentrations? Environmental science & technology 43(5): 1443-1448.

21. Furnas, M. and Brodie, J. 1996, Current status of nutrient levels and other water quality parameters in the Great Barrier Reef, in Downstream effects of landuse, eds H.M. Hunter, A.G. Eyles and  G.E. Rayment, Department of Natural Resources, Brisbane, pp. 9-21.

22. Thompson, A.A. and Dolman, A.M. 2010, Coral bleaching: one disturbance too many for near-shore reefs of the Great Barrier Reef, Coral Reefs 29(3): 637-648.

23. Furnas, M., Mitchell, A., Skuza, M. and Brodie, J.E. 2005, In the other 90%: Phytoplankton responses to enhanced nutrient availability in the Great Barrier Reef lagoon, Marine Pollution Bulletin 51: 253-265.

24. Furnas, M. 2005, Water quality in the Great Barrier Reef Lagoon: A summary of current knowledge, in Status and Trends of Water Quality and Ecosystem Health in the Great Barrier Reef World Heritage Area CRC Reefs, Townsville, pp. 32-53; 3.

25. De'ath, G. and Fabricius, K.E. 2008, Water quality of the Great Barrier Reef: Distributions, effects on reef biota and trigger values for the protection of ecosystem health, Great Barrier Reef Marine Park Authority, Townsville, .

26. Alongi, D.M. and McKinnon, A.D. 2005, The cycling and fate of terrestrially-derived sediment and nutrients in the coastal zone of the Great Barrier Reef, Marine Pollution Bulletin 51: 239-253.

27. Schaffelke, B., Carleton, J., Doyle, J., Furnas, M., Gunn, K., Skuza, M., Wright, M. and Zagorskis, I. 2010, Reef Rescue Marine Monitoring Program: Final report of AIMS activities 2009/10: Inshore water quality monitoring, Australian Institute of Marine Science, Townsville, viewed dd/mm/yyyy, <http://www.rrrc.org.au/mmp/downloads/378_AIMS_final-annual-report_2009-10.pdf>.

28. Brodie, J., De'ath, G., Devlin, M., Furnas, M. and Wright, M. 2007, Spatial and temporal patterns of near-surface chlorophyllain the Great Barrier Reef lagoon, Marine and Freshwater Research 58(4): 342-353.

29. Ryle, V.D., Muller, H.R. and Gentien, P. 1981, Automated analysis of nutrients in tropical sea waters. Australian Institute of Marine Science, Townsville, .

30. Bran and Luebbe 1997, Directory of Autoanalyser Methods, Bran and Luebbe GmbH, Nordstedt, Germany, .

31. Valderrama, J.C. 1981, The simultaneous analysis of total nitrogen and total phosphorus in natural waters, Marine Chemistry 10(2): 109-122.

32. Holmes, R.M., Aminot, A., Kérouel, R., Hooker, B.A. and Peterson, B.J. 1999, A simple and precise method for measuring ammonium in marine and freshwater ecosystems, Canadian Journal of Fisheries and Aquatic Sciences 56(10): 1801-1808.

33. Furnas, M., Mitchell, A.W. and Skuza, M. 1995, Nitrogen and Phosphorus Budgets for the Central Great Barrier Reef Shelf, Great Barrier Reef Marine Park Authority, Townsville, .

34. Parsons, T.R., Maita, Y. and Lalli, C.M. 1984, A manual of chemical and biological mathods for seawater analysis, Pergamon Press, Oxford.

35. Wright, J.P. and Jones, C.G. 2006, The concept of organisms as ecosystem engineers ten years on: Progress, limitations, and challenges, Bioscience 56(3): 203-209.

36. Haynes, D. and Michalek-Wagner, K. 2000, Water quality in the Great Barrier Reef World Heritage Area: past perspectives, current issues and new research directions, Marine Pollution Bulletin 41(7): 428-434.

37. Shaw, M. and Mueller, J.F. 2005, Preliminary evaluation of the occurrence of herbicides and PAHs in the Wet Tropics region of the Great Barrier Reef, Australia, using passive samplers, Marine Pollution Bulletin 51(8-12): 876-881.

38. Schäfer, R.B., Paschke, A., Vrana, B., Mueller, R. and Liess, M. 2008, Performance of the Chemcatcher< sup>®</sup> passive sampler when used to monitor 10 polar and semi-polar pesticides in 16 Central European streams, and comparison with two other sampling methods, Water research 42(10): 2707-2717.

39. Muller, J.F., Mortimer, M.R., O'Brien, J., Komarova, T. and Carter, S. 2011, A cleaner river: Long term use of semipermeable membrane devices demonstrate that concentrations of selected organochlorines and PAHs in the Brisbane River estuary, Queensland have reduced substantially over the past decade, Marine pollution bulletin 63(5-12): 73-76.

40. Kennedy, K., Bentley, C., Paxman, C., Dunn, A., Heffernan, A., Kaserzon, S. and Mueller, J. 2010, Monitoring of organic chemicals in the Great Barrier Reef Marine Park using time integrated monitoring tools (2009-2010); final report, National Research Centre for Environmental Toxicology (EnTox), University of Queensland, Brisbane, viewed dd/mm/yyyy, <http://www.gbrmpa.gov.au/__data/assets/pdf_file/0020/46532/200910_pesticide_monitoring_report_EnTox.pdf>.

41. Kingston, J.K., Greenwood, R., Mills, G.A., Morrison, G.M. and Persson, L.B. 2000, Development of a novel passive sampling systemfor the time-averaged measurement of a range of organic pollutants inaquatic environments, J.Environ.Monit. 2(5): 487-495.

42. O'Brien, D.S., Chiswell, B. and Mueller, J.F. 2009, A novel method for the in situ calibration of flow effects on a phosphate passive sampler, J.Environ.Monit. 11(1): 212-219.

43. O'Brien, D.S., Booij, K., Hawker, D.W. and Mueller, J.F. 2011, Method for the in Situ Calibration of a Passive Phosphate Sampler in Estuarine and Marine Waters, Environmental science & technology 45(7): 2871-2877.

44. O'Brien, D.S., Bartkow, M. and Muller, J.F. 2011, Determination of deployment specific chemical uptake rates for SDB-RPD Empore disk using a passive flow monitor (PFM), Chemosphere 83(9): 1290-1295.

45. Vermeirssen, E.L.M., Bramaz, N., Hollender, J., Singer, H. and Escher, B.I. 2009, Passive sampling combined with ecotoxicological and chemical analysis of pharmaceuticals and biocides-evaluation of three Chemcatcher (TM) configurations, Water research 43(4): 903-914.

46. Stephens, B.S., Kapernick, A.P., Eaglesham, G. and Muller, J.F. 2009, Event monitoring of herbicides with naked and membrane-covered Empore disk integrative passive sampling devices, Marine pollution bulletin 58(8): 1116-1122.

47. Shaw, M., Eaglesham, G. and Muller, J.F. 2009, Uptake and release of polar compounds in SDB-RPS Empore (TM) disks; implications for their use as passive samplers, Chemosphere 75(1): 1-7.

48. Department of the Premier and Cabinet 2009, Reef Water Quality Protection Plan 2009 for the Great Barrier Reef World Heritage Area and Adjacent Catchments, Reef Water Quality Protection Plan Secretariat, DPC, Brisbane, viewed dd/mm/yyyy, <http://www.reefplan.qld.gov.au/resources/assets/reef-plan-2009.pdf>.

49. Escher, B.I., Quayle, P., Muller, R. and Schreiber, U.a.M., J.F. 2006, Passive sampling of herbicides combined with effect analysis in algae using a novel high-throughput phytotoxicity assay (Maxi-Imaging-PAM). J. Environ. Monit. 8(4): 456-464.

50. Huckins, J.N., Petty, J.D., Prest, H.F., Clark, R., Alvarez, D., Orazio, C., Lebo, J., Cranor, W. and Johnson, B. 2002a, A guide for the use of semipermeable membrane devices (SPMDs) as samplers of waterborne hydrophobic organic contaminants, API publication 4690: 1-192.

51. Booij, K., Smedes, F. and Van Weerlee, E.M. 2002, Spiking of performance reference compounds in low density polyethylene and silicone passive water samplers, Chemosphere 46(8): 1157-1161.

52. Booij, K. and Smedes, F. 2010, An improved method for estimating in situ sampling rates of nonpolar passive samplers, Environmental science & technology 44(17): 6789-6794.

53. O'Brien, D., Komarova, T. and Mueller, J.F. 2012, Determination of deployment specific chemical uptake rates for SPMD and PDMS using a passive flow monitor, Marine pollution bulletin 64(5).

54. Huckins, J.N., Manuweera, G.K., Petty, J.D., Mackay, D. and Lebo, J.A. 1993, Lipid-containing semipermeable membrane devices for monitoring organic contaminants in water, Environmental science & technology 27(12): 2489-2496.

55. Mueller, J.F., Shaw, G.R., Mortimer, M., Connell, D.W. and Sadler, R. 1999, Task BT: Bioaccumulation of Toxicants. Final Report. Report No S2R2 No. 24, South East Queensland Water Quality Strategy, Brisbane, .

56. Huckins, J.N., Petty, J.D., Lebo, J.A., Almeida, F.V., Booij, K., Alvarez, D.A., Cranor, W.L., Clark, R.C. and Mogensen, B.B. 2002b, Development of the permeability/performance reference compound approach for in situ calibration of semipermeable membrane devices, Environmental science & technology 36(1): 85-91.

57. Mueller, J.F., Manomanii, K., Mortimer, M.R. and McLachlan, M.S. 2001, Partitioning of polycyclic aromatic hydrocarbons in the polyethylene/water system, Fresenius Journal of Analytical Chemistry 371(6): 816-822.

58. Shaw, M., Tibbetts, I.R. and Müller, J.F. 2004, Monitoring PAHs in the Brisbane River and Moreton Bay, Australia, using semipermeable membrane devices and EROD activity in yellowfin bream,Acanthopagrus australis, Chemosphere 56(3): 237-246.

59. Muller, R., Tang, J.Y.M., Thier, R. and Mueller, J.F. 2007, Combining passive sampling and toxicity testing for evaluation of mixtures of polar organic chemicals in sewage treatment plant effluent, J.Environ.Monit. 9(1): 105-110.

60. Tan, B.L.L., Hawker, D.W., Muller, J.F., Leusch, F.D.L., Tremblay, L.A. and Chapman, H.F. 2007, Comprehensive study of endocrine disrupting compounds using grab and passive sampling at selected wastewater treatment plants in South East Queensland, Australia, Environment international 33(5): 654-669.

61. Shaw, C.M., Lam, P.K.S. and Muller, J.F. 2008, Photosystem II herbicide pollution in Hong Kong and its potential photosynthetic effects on corals, Marine pollution bulletin 57(6): 473-478.

62. Shaw, M., Negri, A.P., Fabricius, K. and Mueller, J.F. 2009, Predicting water toxicity: Pairing passive sampling with bioassays on the Great Barrier Reef, Aquatic Toxicology 95(2): 108-116.

63. Shaw, M., Furnas, M.J., Fabricius, K.E., Haynes, D., Carter, S., Eaglesham, G. and Muller, J.F. 2010, Monitoring pesticides in the Great Barrier Reef, Marine Pollution Bulletin 60(1): 113-122.

64. Brando, V.E. and Dekker, A.G. 2003, Satellite hyperspectral remote sensing for estimating estuarine and coastal water quality, Geoscience and Remote Sensing, IEEE Transactions on 41(6): 1378-1387.

65. Wettle, M., Brando, V.E. and Dekker, A.G. 2004, A methodology for retrieval of environmental noise equivalent spectra applied to four Hyperion scenes of the same tropical coral reef, Remote Sensing of Environment 93(1): 188-197.

66. Dekker, A., Brando, V.E., Anstee, J.M., Pinnel, N., Kuster, T., Hoogenboom, E.J., Peters, S., Pasterkamp, R., Vos, R., Olbert, C. and  Malthus, T.J.M. 2001, Chapter 11: Imaging spectrometry of water, in Imaging Spectrometry: Basic principles and prospective applications: Remote Sensing and Digital Image Processing. Vol. IV., eds F. van der Meer and S. de Jong, Dordrecht, Kluwer Academic Publishers, Boston, pp. 307-309.

67. Bricaud, A., Morel, A. and Prieur, L. 1981, Absorption by dissolved organic matter of the sea (yellow substance) in the UV and visible domains, Limnology and Oceanography 26: 43-53.

68. Schofield, O., Bergmann, T., Oliver, M.J., Irwin, A., Kirkpatrick, G., Bissett, W.P., Moline, M.A. and Orrico, C. 2004, Inversion of spectral absorption in the optically complex coastal waters of the Mid-Atlantic Bight, J.Geophys.Res 109: C12S04.

69. Oubelkheir, K., Clementson, L.A., Webster, I.T., Ford, P.W., Dekker, A.G., Radke, L.C. and Daniel, P. 2006, Using inherent optical properties to investigate biogeochemical dynamics in a tropical macrotidal coastal system, Journal of geophysical research 111(C7): C07021.

70. Pegau, W.S., Gray, D. and Zaneveld, J.R.V. 1997, Absorption and attenuation of visible and near-infrared light in water: dependence on temperature and salinity, Applied Optics 36(24): 6035-6046.

71. Zaneveld, J.R.V., Kitchen, J.C. and Moore, C.C. 1994, Scattering error correction of reflecting-tube absorption meters, in Proceedings of SPIE, eds. Anonymous , pp.44.

72. Maffione, R.A. and Dana, D.R. 1997, Instruments and methods for measuring the backward-scattering coefficient of ocean waters, Applied Optics 36(24): 6057-6067.

73. Uitz, J., Claustre, H., Morel, A. and Hooker, S.B. 2006, Vertical distribution of phytoplankton communities in open ocean: An assessment based on surface chlorophyll, J.Geophys.Res 111: C08005.

74. Kishino, M., Takahashi, M., Okami, N. and Ichimura, S. 1985, Estimation of the spectral absorption coefficients of phytoplankton in the sea, Bulletin of Marine Science 37(2): 634-642.

75. Mitchell, B.G. 1990, Algorithms for determining the absorption coefficient for aquatic particulates using the quantitative filter technique, in Proceedings of SPIE, eds. Anonymous , pp.137.

76. Tassan, S. and Ferrari, G.M. 1995, An alternative approach to absorption measurements of aquatic particles retained on filters, Limnology and Oceanography : 1358-1368.

77. Clementson, L.A., Parslow, J.S., Turnbull, A.R., McKenzie, D.C. and Rathbone, C.E. 2001, Optical properties of waters in the Australasian sector of the Southern Ocean, Journal of geophysical research 106(C12): 31611-31625.

78. Dekker, A., Brando, V., Oubelkheir, K., Wettle, M., Clementson, L., Peters, S. and van der Woerd, H. 2004, When Freshwater Meets Ocean Water: How Variable SIOPS Affect Remote Sensing Products of Estuaries, Bays and Coastal Seas, S.Ackleson and P.Bontempi.Ocean Optics XVII .

79. Dekker, A., Brando, V., Anstee, J., Marks, A., Phinn, S., Roelfsema, C. and Scarth, P. 2005, Final report–Fitzroy Estuary and Port Curtis remote sensing tasks (FE2 and PC2), Cooperative Research Centre for Coastal Zone, Estuary and Waterway Management, Brisbane .

80. Phinn, S., Roelfsema, C., Scarth, P., DEKKER, A., BRANDO, V., ANSTEE, J. and MARKS, A. 2005, An integrated remote sensing approach for adaptive management of complex coastal waters. Final Report-Moreton Bay Remote Sensing Tasks (MR2), CRC for coastal zone, Estuary & Waterway Management, .

81. Phinn, S., Dekker, A., Brando, V., Roelfsema, C. and Scarth, P. 2004, MR2: Remote Sensing for Moreton Bay, CRC for Coastal Zone, Estuary and Waterways Management, Brisbane, .

82. Wheatcroft, R.A. and Borgeld, J.C. 2000, Oceanic floodl ayers on the northern California margin: Large-scale distribution and small-scale physical properties, Continental Shelf Research 20: 2163-2190.

83. Devlin, M.J. and Brodie, J. 2005, Terrestrial discharge into the Great Barrier Reef lagoon: Nutrient behaviour in coastal waters, Marine Pollution Bulletin 51(1-4): 9-22.

84. Dennison, W.C., Orth, R.J., Moore, K.A., Stevenson, C.J., Carter, V., Kollar, S., Bergstrom, P.W. and Batiuk, R.A. 1993, Assessing water quality with submerged aquatic vegetation, Bioscience 43(2): 86-94.

85. Alvarez-Romera, J.G., Devlin, M., Teixeira da Silva, E., Petus, C., Ban, N.C., Pressey, R.L., Kool, J., Roberts, J.J., Cerdeira-Estrada, S., Wenger, A.S. and Brodie, J. 2013, A novel approach to model exposure of coastal-marine ecosystems to riverine flood plumes based on remote sensing techniques, Journal of Environmental Management 119: 194-207.

86. Petus, C., Silva, E.T., Devlin, M., Wegner, A.S. and Alvarez-Romero, J.G. 2014, Using MODIS data for mapping of water types within river plumes in the Great Barrier Reef, Australia: Towards the production of river plume risk maps for reef and seagrass ecosystems, Journal of Environmental Management 137: 163-177.

87. Devlin, M.J., McKinna, L.I.W., Alvarez-Romero, J.G., Abbott, B., Harkness, P. and Brodie, J. 2012, Mapping the pollutants in surface river plume waters in the Great Barrier Reef, Australia, Marine Pollution Bulletin 65: 224-235.

88. McCook, L.J., Wolanski, E. and  Spagnol, S. 2001, Modelling and visualizing interactions between natural disturbances and eutrophication as causes of coral reef degradation, in Oceanographic processes of coral reefs: physical and biological links in the Great Barrier Reef, ed. E. Wolanski, CRC Press, Boca Raton, Florida, USA, pp. 113-125.

89. Schaffelke, B., Thompson, A., Carleton, J., Cripps, E., Davidson, J., Doyle, J., Furnas, M., Gunn, K., Neale, S., Skuza, M., Uthicke, S., Wright, M. and Zagorskis, I. 2008, Water Quality and Ecosystem Monitoring Programme: Reef Water Quality Protection Plan: final report 2007/08, Australian Institute of Marine Science, Townsville, viewed dd/mm/yyyy, <http://www.gbrmpa.gov.au/__data/assets/pdf_file/0006/36636/Reef_Plan_MMP_August_2008_Final_Report-revision16Dec08.pdf>.

90. Thompson, A., Davidson, J., Uthicke, S., Schaffelke, B., Patel, F. and Sweatman, H. 2011, Reef Rescue Monitoring Program: Final Report of AIMS activities 2010: Project 3.7.1b inshore coral reef monitoring, Australian Institute of Marine Science, Townsville, viewed dd/mm/yyyy, <http://www.gbrmpa.gov.au/__data/assets/pdf_file/0009/47691/2010_AIMS_annual_report.pdf>.

91. Thompson, A., Schaffelke, B., De'ath, G., Cripps, E. and Sweatman, H. 2010, Water Quality and Ecosystem Monitoring Programme Reef Water Quality Protection Plan: synthesis and spatial analysis of inshore monitoring data 2005-08, Australian Institute of Marine Science, Townsville, viewed dd/mm/yyyy, <http://www.gbrmpa.gov.au/__data/assets/pdf_file/0016/42406/Reef_Plan_MMP_Stats_report_revision2_Jan2010.pdf>.

92. Sweatman, H., Thompson, A., Delean, S., Davidson, J. and Neale, S. 2007, Status of near-shore reefs of the Great Barrier Reef 2004. Report to the Marine and Tropical Sciences Research Facility, Reef and Rainforest Research Centre Limited, Cairns, .

93. Jonker, M., Johns, K. and Osborne, K. 2008, Surveys of benthic reef communities using underwater digital photography and counts of juvenile corals. Long-term Monitoring of the Great Barrier Reef. Standard Operational Procedure. No. 10. . Australian Institute of Marine Science, Townsville, viewed dd/mm/yyyy, <http://data.aims.gov.au/extpubs/attachmentDownload?docID=3013>.

94. Miller, I.R., Jonker, M. and Coleman, G. 2009, Crown-of-thorns starfish and coral surveys using the manta tow and SCUBA search techniques, viewed dd/mm/yyyy, <http://www.aims.gov.au/documents/30301/20e3bf4f-4b3b-4808-ac02-c15c2912c3f2>.

95. Yordanova, E.K. and Hohenegger, J. 2002, Taphonomy of larger foraminifera: relationships between living individuals and empty tests on flat reef slopes (Sesoko Island, Japan), Facies 46(1): 169-203.

96. Nobes, K. and Uthicke, S. 2008, Benthic foraminifera of the Great Barrier Reef: a guide to species potentially useful as water quality indicators. Report to the Marine and Tropical Sciences Research Facility, Reef and Rainforest Research Centre Limited, Cairns, .

97. Hallock, P., Lidz, B.H., Cockey-Burkhard, E.M. and Donnelly, K.B. 2003, Foraminifera as bioindicators in coral reef assessment and monitoring: the FORAM index, Environmental monitoring and assessment 81: 221-238.

98. Hallock, P. 1981, Algal symbiosis: a mathematical analysis, Marine Biology 62(4): 249-255.

99. Uthicke, S., Thompson, A. and Schaffelke, B. 2010, Effectiveness of benthic foraminiferal and coral assemblages as water quality indicators on inshore reefs of the Great Barrier Reef, Australia, Coral Reefs 29: 209-225.

100. Uthicke, S. and Nobes, K. 2008, Benthic foraminifera as a ecological indicators for water quality in the Great Barrier Reef, Estuarine, Coastal and Shelf Science 78: 763-773.

101. Uthicke, S. and Patel, F. (iin press), Standard Operational Procedures for Foraminiferan enumeration for FORAM index calculation. Report to the Marine and Tropical Sciences Research Facility. Reef and Rainforest Research Centre Limited, Cairns, .

102. McKenzie, L.J., Roder, C.A., Roelofs, A.J. and Campbell, S.J. 2003, Effects of floodwaters on the seagrasses of Hervey Bay and the Great Sandy Strait: implications for dugong, turtle and fisheries management, Gulf of Mexico Science 21(1): 139-140.

103. McKenzie, L.J., Lee Long, W.J., Coles, R.G. and Roder, C.A. 2000, Seagrass-watch: community based monitoring of seagrass resources, Biologia Marina Mediterranea 7(2): 393-396.

104. McKenzie, L.J. 2007, Relationships between seagrass communities and sediment properties along the Queensland coast. Progress report to the Marine and Tropical Sciences Research Facility, Reef and Rainforest Research Centre Limited, Cairns, .

105. Koch, E.W. 2001, Beyond light: Physical, geological and geochemical parameters as possible submersed aquatic vegetation habitat requirements, Estuaries 24: 1-17.

106. Murphy, J. and Riley, J. 1962, A modified single solution method for the determination of phosphate in natural waters, Analytica Chimica Acta 27(1): 31-36.

107. McKenzie, L.J., Finkbeiner, M.A. and  Kirkman, H. 2001, Methods for mapping seagrass distribution. Chapter 5, in Global Seagrass Research Methods, eds F.T. Short and R.G. Coles, Elsevier Science, Amsterdam, pp. 101-122.

108. Lee Long, W.J., McKenzie, L.J. and Coles, R.G. 1997, Seagrass communities in the Shoalwater Bay region, Queensland - Spring (September) 1995 and Autumn (April) 1996, Great Barrier Reef Marine Park Authority, Townsville, .

109. McKenzie, L.J., Rasheed, M.A., Lee Long, W.J. and Coles, R.G. 1996, Port of Mourilyan seagrass monitoring baseline surveys - summer (December) 1993 and winter (July) 1994, Ports Corporation of Queensland, Brisbane, .

110. McKenzie, L.J., Lee Long, W.J., Roelofs, A.J., Roder, C.A. and Coles, R.G. 1998, Port of Mourilyan seagrass monitoring: First four years summer 1993 -1996, winter 1994 - 1997, Ports Corporation of Queensland, Brisbane, .

111. Kirk, J.T.O. 1994, Light and photosynthesis in aquatic ecosystems, 2nd edn, Cambridge University Press, Cambridge, UK.